ImmunoBioScience Corp. (IBSC)                                                                                              DATA SHEET

Streptavidin conjugated with Texas Red™ dye.

Catalog number: AR-6642-01          1.0 ml

Description: Streptavidin is a 55 kDa (subunit MW 14 kDa) biotin-binding protein isolated from Streptomyces avidini. Streptavidin is superior to avidin, because it does not contain carbohydrate like avidin and has no net charge at neutral pH. Streptavidin~biotin system is routinely used in Immunohistochemistry (IHC). Extinction Coefficient 1% A280=32.0; Purity: Streptavidin used is 99% pure by HPLC; Eletrophoretically homogenous, single band, Protein content: > 95%; Activity 14.8 units/ mg, one unit bunds 1.0 microgram of d-biotin; Protease activity: 0.000018 units/mg

Isoelectric point: 7.0 +/- determined by Isoelectric focusing.

Texas Red: A max. 596 nm; E max. 620 nm

Fluorochrome / protein Absorbance ratio: A596 nm/ A280 nm=0.83

Presentation: One mg of streptavidin is conjugated with Texas red dye.

Buffer: 10 mM PO4, 150 mM NaCl, 1% BSA and 0.05% sodium azide.

Application: Immunofluorescence (IF) 1: 50-1:200

Flow cytometry 1: 100-1:500 (not tested at our lab.

Storage: 2-8oC in dark.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

Texas red is trade mark of Molecular probe.

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Texas red is a trademark of Molecular Probe, Inc. and is registered with the U.S Patent and trade mark office.

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA