ImmunoBioScience Corp. (IBSC) DATA SHEET

Peroxidase~conjugated with Biotin

Catalog number: AR-6638                     1 mg/ml

Description: The enzyme from horseradish is a glycoprotein, MW approximately 44 kDa, with hemin prosthetic group and bound Ca++. The RZ (Reinheitszahl) is the absorbance ratioA403/A275determined at 0.5-1.0 mg/ml in deionized water. It is a measure of hemin content, and not enzymatic activity.

Presentation: The conjugate is supplied in one ml of 10 mM PO4, 200 mM NaCl, pH 7.4, BSA 10 mg/ml and 0.05% Proclin 300.

Application: ELISA1:10,000-1:50,000 (20-100 ng/ml); IHC: 1:200-1:1:1,000 (1-5 µg/ml); WB (ECL) 1:10,000-1:100,000 (10-100 ng/ml); WB (chromogen) 1:500-1:5,000 (0.1-2 µg/ml).

The optimum dilution should be determined by the individual investigator.

Storage: 2-8oC

Dilution: This product can be diluted in our Immuno Automation buffer IBSC cat # AR-6561 or PBS. BSA 0.5-1% should be added in these solutions..

Precaution should be taken so that the buffer does not contain any sodium azide, which will destroy peroxidase.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA