ImmunoBioScience Corp. (IBSC)                                                                                        DATA SHEET

Streptavidin conjugated with Peroxidase (Peroxidase~Streptavidin)

Catalog number: AR-6633-01

Concentration: One mg of Streptavidin conjugated with Peroxidase.

Size: 1 ml

Presentation: Streptavidin is a 52-66 kDa (average 60 KDa) (subunit MW 14 kDa) biotin-binding protein isolated from Streptomyces avidini. Streptavidin is superior to avidin, because it does not contain carbohydrate like avidin and has no net charge at neutral pH. Streptavidin~biotin system is routinely used in Immunohistochemistry (IHC). Extinction Coefficient 1% A280=32.0.

Purity: > 99% pure by HPLC; Eletrophoretically homogenous, single band.

Protein content: > 95%; Activity 14.8 units/ mg, one unit bunds 1.0 microgram of d-biotin;

Protease activity: 0.000018 units/mg

Isoelectric point: 7.0 +/- determined by Isoelectric focusing.

Peroxidase used for conjugation is 44 kDa glycoprotein isolated from horseradish roots. The Rz (Reinhetszahl), absorbance ratio of A403/A275 is ~3.0

One mg of Streptavidin is conjugated with peroxidase, in equimolar ratio. Unconjugated Streptavidin is removed.

Presentation: The conjugate (one mg of streptavidin conjugated with peroxidase) is supplied in one ml of 10 mM PO4, 200 mM NaCl, pH 7.5, BSA 10 mg/ml and 0.05% Proclin 300.

Application: ELISA1:8,000-1:32,000 (32-125 ng/ml); IHC: 1:200-1:1:1,000 (1-5 µg/ml); WB (ECL) 1:10,000-1:100,000 (10-100 ng/ml); WB (chromogen) 1:500-1:5,000 (0.1-2 µg/ml).

The optimum dilution should be determined by the individual investigator.

Storage: 2-8oC

Dilution: This product can be diluted in our Immuno Automation buffer IBSC cat # AR-6561 or PBS.  BSA 0.5-1.0% should be added in these solutions. This product can also be diluted in our Universal antibody dilution buffer (AR-6562) without adding any carrier protein.

Caution: Peroxidase reagents are destroyed by sodium azide; therefore it should be avoided in all buffers and reagents.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS:Concentration of Hazardous Components: 0.5 mg/ml Proclin 300 (0.05%). According to the OSHA Hazard Communications Standard (CFR 1910.1200), if a mixture contains less than 1% of a hazardous chemical or 0.1% of a carcinogen, the mixture shall not be considered hazardous. However, precautions for handling potentially dangerous reagents should be practiced when using these products. To aid in determining handling procedures, we offer the following additional information. Use appropriate laboratory gear, lab coat, gloves and safety glasses. Do not ingest any laboratory products. This product is not approved for administration in human or animals.

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA