ImmunoBioScience Corp. (IBSC)                                                                                       DATA SHEET

Protein G conjugated with FITC (FITC~Protein G)

Catalog number: AR-6645            1 mg/ ml

Description: Protein G is an immunoglobulin-binding protein expressed in group C and G Streptococcal bacteria much like Protein A but with differing specificities. It is a 65-kDa (G148 protein G) and a 58 kDa (C40 protein G) cell surface protein that has found application in purifying antibodies through its binding to the Fc region. The native molecule also binds albumin, however, because serum albumin is a major contaminant of antibody sources, the albumin binding site has been removed from recombinant forms of Protein G.

Presentation: One  mg of Protein G conjugated with FITC

Buffer: 10 mM PO4, 150 mM NaCl, 1% BSA and 0.05% sodium azide.

Fluorophore: Fluorescein isothiocyanate

A max=492nm; E=520nm

Fluorophore/Protein: A492nm/A280nm=

Specificity: Protein G reacts strongly with IgG from mouse, human, bovine, goat, sheep, but poorly with guinea pig, porcine, dog and cat.

Application: Immunofluorescence (IF) 1: 50-1:200

Flow cytometry 1: 100-1:500 (not tested at our lab).

Storage: 2-8oC.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 425 367 4601; Fax: + 425 367 4817; cell (mobile) phone: + 425 314 0199

Marketing phone: + 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA