## Table 1
North Texas Municipal Water District Tawakoni WTP Consumer Confidence Report For Year 2016
Coliform Bacteria
Maximum Contaminant Level Goal | Total Coliform Maximum Contaminant Level |  | Highest No. of Positive | Fecal Coliform or E. Coli Maximum Contaminant Level | Total No. of Positive E. Coli or Fecal Coliform Samples |  | Violation | Likely Source of Contamination
0 | 5% |  | 0 | 0 | 0 | 0 | No | Naturally present in the environment.
NOTE: Reported monthly tests found no fecal coliform bacteria. Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present.
Regulated Contaminants
Disinfectants and Disinfection By- Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
Total Haloacetic Acids (HAA5) | 2016 | 19.7 | 10.0-19.7 | No goal for the total | 60 | ppb | No | By-product of drinking water chlorination.
Total Trihalomethanes (TThm) | 2016 | 29.9 | 15.9-29.9 | 23.8 | 80 | ppb | No | By-product of drinking water chlorination.
Bromate | 2016 | Levels lower than detect level | 0-0 | 5 | 10 | ppb | No | By-product of drinking water ozanation.
NOTE: Not all sample results may have been used for calculating the Highest Level Detected because some results may be part of an evaluation to determine where compliance sampling should occur in the future.
Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
Antimony | 2016 | Levels lower than detect level | 0 - 0 | 6 | 6 | ppb | No | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder; and test addition.
Arsenic | 2016 | Levels lower than detect level | 0 - 0 | 0 | 10 | ppb | No | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes.
Barium | 2016 | 0.056 | 0.056 - 0.056 | 2 | 2 | ppm | No | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits.
Beryllium | 2016 | Levels lower than detect level | 0 - 0 | 4 | 4 | ppb | No | Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries.
Cadmium | 2016 | Levels lower than detect level | 0 - 0 | 5 | 5 | ppb | No | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints.
Chromium | 2016 | 0.89 | 0 - 0.89 | 100 | 100 | ppb | No | Discharge from steel and pulp mills; erosion of natural deposits.
Fluoride | 2016 | 0.36 | 0 - 0.36 | 4 | 4 | ppm | No | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories.
Mercury | 2016 | Levels lower than detect level | 0 - 0 | 2 | 2 | ppb | No | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland.
Nitrate (measured as Nitrogen) | 2016 | 0.546 | 0.278 - 0.546 | 10 | 10 | ppm | No | Runoff from fertilizer use; leaching from septic tanks; sewage; erosion of natural deposits.
Nitrate Advisory: Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you should ask advice from your health care provider.
Selenium | 2016 | Levels lower than detect level | 0-0 | 50 | 50 | ppb | No | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines.
Thallium | 2016 | Levels lower than detect level | 0 - 0 | 0.5 | 2 | ppb | No | Discharge from electronics, glass, and leaching from ore-processing sites; drug factories.
Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
Beta/photon emitters | 2015-05-28 | Levels lower than detect level | 0 - 0 | 0 | 4 | mrem/yr | No | Decay of natural and man-made deposits.
Gross alpha excluding radon and uranium | 2015-05-28 | Levels lower than detect level | 0 - 0 | 0 | 15 | pCi/L | No | Erosion of natural deposits.
Radium-228 | 2015-05-28 | Levels lower than detect level | 0 - 0 | 0 | 5 | pCi/L | No | Erosion of natural deposits.
Synthetic organic contaminants including pesticides and herbicides | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
2, 4, 5 - TP (Silvex) | 2015 | Levels lower than detect level | 0 - 0 | 50 | 50 | ppb | No | Residue of banned herbicide.
2, 4 - D | 2015 | Levels lower than detect level | 0 - 0 | 70 | 70 | ppb | No | Runoff from herbicide used on row crops.
Alachlor | 2015 | Levels lower than detect level | 0 - 0 | 0 | 2 | ppb | No | Runoff from herbicide used on row crops.
Atrazine | 2015 | Levels lower than detect level | .12-.12 | 3 | 3 | ppb | No | Runoff from herbicide used on row crops.
Benzo (a) pyrene | 2015 | Levels lower than detect level | 0 - 0 | 0 | 200 | ppt | No | Leaching from linings of water storage tanks and distribution lines.
Carbofuran | 2015 | Levels lower than detect level | 0 - 0 | 40 | 40 | ppb | No | Leaching of soil fumigant used on rice and alfalfa.
Chlordane | 2015 | Levels lower than detect level | 0 - 0 | 0 | 2 | ppb | No | Residue of banned termiticide.
Dalapon | 2015 | Levels lower than detect level | 0 - 0 | 200 | 200 | ppb | No | Runoff from herbicide used on rights of way.
Di (2-ethylhexyl) adipate | 2015 | Levels lower than detect level | 0 - 0 | 400 | 400 | ppb | No | Discharge from chemical factories.
Di (2-ethylhexyl) phthalate | 2015 | Levels lower than detect level | 0 - 0 | 0 | 6 | ppb | No | Discharge from rubber and chemical factories.
Dibromochloropropane (DBCP) | 2015 | Levels lower than detect level | 0 - 0 | 0 | 0 | ppt | No | Runoff / leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards.
Dinoseb | 2015 | Levels lower than detect level | 0 - 0 | 7 | 7 | ppb | No | Runoff from herbicide used on soybeans and vegetables.
Endrin | 2015 | Levels lower than detect level | 0 - 0 | 2 | 2 | ppb | No | Residue of banned insecticide.
Ethylene dibromide | 2015 | Levels lower than detect level | 0 - 0 | 0 | 50 | ppt | No | Discharge from petroleium refineries.
Heptachlor | 2015 | Levels lower than detect level | 0 - 0 | 0 | 400 | ppt | No | Residue of banned termiticide.
Heptachlor epoxide | 2015 | Levels lower than detect level | 0 - 0 | 0 | 200 | ppt | No | Breakdown of heptachlor.
Hexachlorobenzene | 2015 | Levels lower than detect level | 0 - 0 | 0 | 1 | ppb | No | Discharge from metal refineries and agricultural chemical factories.
Hexachlorocyclopentadiene | 2015 | Levels lower than detect level | 0 - 0 | 50 | 50 | ppb | No | Discharge from chemical factories.
Lindane | 2015 | Levels lower than detect level | 0 - 0 | 200 | 200 | ppt | No | Runoff / leaching from insecticide used on cattle, lumber, and gardens.
Methoxychlor | 2015 | Levels lower than detect level | 0 - 0 | 40 | 40 | ppb | No | Runoff / leaching from insecticide used on fruits, vegetables, alfalfa, and livestock.
Oxamyl [Vydate] | 2015 | Levels lower than detect level | 0 - 0 | 200 | 200 | ppb | No | Runoff / leaching from insecticide used on apples, potatoes, and tomatoes.
Pentachlorophenol | 2015 | Levels lower than detect level | 0 - 0 | 0 | 1 | ppb | No | Discharge from wood preserving factories.
Simazine | 2015 | Levels lower than detect level | 0 - 0 | 4 | 4 | ppb | No | Herbicide runoff.
Toxaphene | 2015 | Levels lower than detect level | 0 - 0 | 0 | 3 | ppb | No | Runoff / leaching from insecticide used on cotton and cattle.
Volatile Organic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
1, 1, 1 - Trichloroethane | 2016 | Levels lower than detect level | 0 - 0 | 200 | 200 | ppb | No | Discharge from metal degreasing sites and other factories.
1, 1, 2 - Trichloroethane | 2016 | Levels lower than detect level | 0 - 0 | 3 | 5 | ppb | No | Discharge from industrial chemical factories.
1, 1 - Dichloroethylene | 2016 | Levels lower than detect level | 0 - 0 | 7 | 7 | ppb | No | Discharge from industrial chemical factories.
1, 2, 4 - Trichlorobenzene | 2016 | Levels lower than detect level | 0 - 0 | 70 | 70 | ppb | No | Discharge from textile-finishing factories.
1, 2 - Dichloroethane | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from industrial chemical factories.
1, 2 - Dichloropropane | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from industrial chemical factories.
Benzene | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from factories; leaching from gas storage tanks and landfills.
Carbon Tetrachloride | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from chemical plants and other industrial activities.
Chlorobenzene | 2016 | Levels lower than detect level | 0 - 0 | 100 | 100 | ppb | No | Discharge from chemical and agricultural chemical factories.
Dichloromethane | 2012 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from pharmaceutical and chemical factories.
Ethylbenzene | 2016 | Levels lower than detect level | 0 - 0 | 0 | 700 | ppb | No | Discharge from petroleum refineries.
Styrene | 2016 | Levels lower than detect level | 0 - 0 | 100 | 100 | ppb | No | Discharge from rubber and plastic factories; leaching from landfills.
Tetrachloroethylene | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from factories and dry cleaners.
Toluene | 2016 | Levels lower than detect level | 0 - 0 | 1 | 1 | ppm | No | Discharge from petroleum factories.
Trichloroethylene | 2016 | Levels lower than detect level | 0 - 0 | 0 | 5 | ppb | No | Discharge from metal degreasing sites and other factories.
Vinyl Chloride | 2016 | Levels lower than detect level | 0 - 0 | 0 | 2 | ppb | No | Leaching from PVC piping; discharge from plastics factories.
Xylenes | 2016 | Levels lower than detect level | 0 - 0 | 10 | 10 | ppm | No | Discharge from petroleum factories; discharge from chemical factories.
cis - 1, 2 - Dichloroethylene | 2016 | Levels lower than detect level | 0 - 0 | 70 | 70 | ppb | No | Discharge from industrial chemical factories.
o - Dichlorobenzene | 2016 | Levels lower than detect level | 0 - 0 | 600 | 600 | ppb | No | Discharge from industrial chemical factories.
p - Dichlorobenzene | 2016 | Levels lower than detect level | 0 - 0 | 75 | 75 | ppb | No | Discharge from industrial chemical factories.
trans - 1, 2 - Dicholoroethylene | 2016 | Levels lower than detect level | 0 - 0 | 100 | 100 | ppb | No | Discharge from industrial chemical factories.
Turbidity
|  |  | Limit (Treatment Technique) |  | Level Detected |  | Violation | Likely Source of Contamination
Highest single measurement |  |  | 1 NTU |  | 0.13 |  | No | Soil runoff.
Lowest monthly percentage (%) meeting limit |  |  | 0.3 NTU |  | 100.00% |  | No | Soil runoff.
NOTE: Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.
Maximum Residual Disinfectant Level
Total Organic Carbon
Disinfectant Type | Year | Average Level | Minimum Level | Maximum Level | MRDL | MRDLG | Units | Source of Chemical
Chlorine Residual (Chloramines) | 2016 | 1.6 | 0.5 | 4.5 | 4 | <4.0 | ppm | Disinfectant used to control microbes.
Chlorine Dioxide | 2016 | 0.005 | 0 | 0.23 | 0.8 | 0.8 | ppm | Disinfectant.
Chlorite | 2016 | 0.02 | 0 | 0.08 | 1 | N/A | ppm | Disinfectant.
| Collection Date | Highest Level Detected |  | Range of Levels Detected |  | Units |  | Likely Source of Contamination
Source Water | 2016 | 6.08 |  | 4.93-6.08 |  | ppm |  | Naturally present in the environment.
Drinking Water | 2016 | 2.74 |  | 1.80-2.74 |  | ppm |  | Naturally present in the environment.
Removal Ratio | 2016 | 69.0% |  | 48.5-69.0% |  | % removal * |  | N/A
NOTE: Total organic carbon (TOC) has no health effects. The disinfectant can combine with TOC to form disinfection by-products. Disinfection is necessary to ensure that water does not have unacceptable levels of pathogens. By-products of disinfection include trihalomethanes (THMs) and haloacetic acids (HAA) which are reported elsewhere in this report. * Removal ratio is the percent of TOC removed by the treatment process divided by the percent of TOC required by TCEQ to be removed.
Lead and Copper
Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units |  | Likely Source of Contamination
Lead | 2016 | Levels lower than detect level | Levels lower than detect level | 0.015 | 0.015 | ppm |  | Corrosion of customer plumbing. Action Level = .015
Copper | 2016 | 0.059 | 0 - 0.059 | 1.3 | 1.3 | ppm |  | By-product of drinking water disinfection. Action Level = 1.3
ADDITIONAL HEALTH INFORMATION FOR LEAD: If present, elevated levels of lead can cause serious health problems, especially for pregnant women
and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.
The NTMWD is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.
When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds.
2 minutes before using water for drinking or cooking.
If you are concerned about lead in your water, you may wish to have your water tested.
Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from
the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
Contaminants | Collection Date | Highest Level Detected |  | Range of Levels Detected |  | Units |  | Likely Source of Contamination
Chloroform | 2016 | 14.4 |  | 14.4 - 14.4 |  | ppb |  | By-product of drinking water disinfection.
Bromoform | 2016 | Levels lower than detect level |  | Levels lower than |  | ppb |  | By-product of drinking water disinfection.
Bromodichloromethane | 2016 | 6.42 |  | 6.42 - 6.42 |  | ppb |  | By-product of drinking water disinfection.
Dibromochloromethane | 2016 | 2.98 |  | 2.98 - 2.98 |  | ppb |  | By-product of drinking water disinfection.
NOTE: Bromoform, chloroform, dichlorobromomethane, and dibromochloromethane are disinfection by-products. There is no maximum contaminant level for these chemicals at the entry point to distribution.
Secondary and Other Constituents Not Regulated
Contaminants | Collection Date | Highest Level Detected |  | Range of Levels Detected |  | Units |  | Likely Source of Contamination
Bicarbonate | 2016 | 62.9 |  | 62.9 - 62.9 |  | ppm |  | Corrosion of carbonate rocks such as limestone.
Calcium | 2016 | 56.5 |  | 35.6 - 56.5 |  | ppm |  | Abundant naturally occurring element.
Chloride | 2016 | 13.4 |  | 8.54 - 13.4 |  | ppm |  | Abundant naturally occurring element; used in water purification; by-product of oil field activity.
Hardness as Ca/Mg | 2016 | 78.6 |  | 52.1 - 78.6 |  | ppm |  | Naturally occurring calcium and magnesium.
Iron | 2016 | 0.0388 |  | 0.0388 - 0.0388 |  | ppm |  | Erosion of natural deposits; iron or steel water delivery equipment or facilities.
Magnesium | 2016 | 3.17 |  | 2.21 - 3.17 |  | ppm |  | Abundant naturally occurring element.
Manganese | 2016 | 0.023 |  | 0.004 - 0.023 |  | ppm |  | Abundant naturally occurring element.
Nickel | 2016 | 0.004 |  | 0.002 - 0.004 |  | ppm |  | Erosion of natural deposits.
pH | 2016 | 8.2 |  | 7.4 - 8.2 |  | units |  | Measure of corrosivity of water.
Sodium | 2016 | 15.6 |  | 11.0 - 15.6 |  | ppm |  | Erosion of natural deposits; by-product of oil field activity.
Sulfate | 2016 | 78.5 |  | 57.1 - 78.5 |  | ppm |  | Naturally occurring; common industrial by-product; by-product of oil field activity.
Total Alkalinity as CaCO3 | 2016 | 71 |  | 55.3 - 71.0 |  | ppm |  | Naturally occurring soluble mineral salts.
Total Dissolved Solids | 2016 | 220 |  | 150 - 220 |  | ppm |  | Total dissolved mineral constituents in water.
Total Hardness as CaCO3 | 2016 | 149 |  | 97.9 - 149.0 |  | ppm |  | Naturally occurring calcium.
Zinc | 2016 | 0.006 |  | 0 - 0.006 |  | ppm |  | Moderately abundant naturally occurring element used in the metal industry.
Crypto/Giardia
Contaminants | Collection Date | Highest Level Detected |  | Range of Levels Detected |  | Units |  | Likely Source of Contamination
Crytosporidia | 2016 | 0 |  | 0 |  | (Oo)cysts/L |  | Naturally occurring in the environment
Giardia | 2016 | 0 |  | 0 |  | (Oo)cysts/L |  | Naturally occurring in the environment
NOTE: Crypto/Giardia measured in the raw water.
2016 Regulated contaminants
Lead and Copper
Definitions:
Action level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALGs allow for a margin of safety.
Action level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow
Lead and Copper | Date Sampled | MCLG | Action level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination
Copper | 2014 | 1.3 | 1.3 | 0.45 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; corrosion of household plumbing systems.
Lead | 2014 | 0.015 | 0.015 | 0.0014 | 0 | ppm | N | Corrosion of household plumbing systems; Erosion of natural deposits.
Regulated Contaminants
Disinfectants and Disinfection By-Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
Total Haloacetic Acids (HAA5) | 2016 | 12.5 | 12.5-12.5 | no goal for the total | 60 | ppb | N | By-product of drinking water disinfection.
Total Trihalomethanes (TThm) | 2016 | 15.9 | 15.9-15.9 | no goal for the total | 80 | ppb | N | By-product of drinking water disinfection.
Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination
Nitrate [measured as Nitrogen] | 2016 | 1 | 0.49-0.49 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; erosion of natural deposits.
Disinfectant Type | Year | Average Level | Lowest result of single sample | Highest result of single sample | MRDL | MRDLG | Units | Source of Chemical
Chlorine Residual (Chloramines) | 2016 | 1.6 | 0.5 | 4.5 | 4 | <4.0 | ppm | Disinfectant used to control microbes.
Information about Source Water Assessments
The TCEQ has completed a Source Water Assessment for all drinking water systems that own their source.
The report describes the susceptibility and types of constituents that may come into contact with
your drinking water source based on human activities and natural conditions, The system (s) from which we purchase our water
received the assessment report. For more information in source, water assessments and protections efforts at our system,
contact Phillip Keys.
For more information about your sources of water, please refer to the Source Water Assessment Viewer available at the following
URL: htpp://www.tceq.state.gov/gis/swaview
Further details about sources and source-water assessments are available in Drinking Water Watch at the following
URL: htpp://dww.tceq.state.tx.us/DWW/
Source Water Name |  |  |  | Type of Water |  | Report Status |  | Location
SW FROM TERRELL |  | CC FROM TX1290006 CITY OF |  | SW |  |  |  | Lakes Lavon and Tawakoni
Water Quality Test Results
Definitions: |  | The following tables contain scientific terms and measures, some of which may require explanation.
Avg: |  | Regulatory compliance with some MCLs are based on running annual average of monthly samples.
Maximum Contaminant Level or MCL:
The highest level of a contaminant that is allowed in drinking water.
MCLs are set as close to the MCLGs as feasible using the best available treatment technology
Maximum Contaminant Level Goal or MCLG:
The level of contaminant in drinking water below which there is no known or expected risk to health.
MCLGs allow for a margin of safety.
Maximum residual disinfectant level or MRDL:
The highest level of a disinfectant allowed in drinking water.
There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Maximum residual disinfectant level goal or MRDLG:
The level of a drinking water disinfectant below which there is no known or expected risk to health.
MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
MFL |  | million fibers per liter (a measure of asbestos)
na |  | not applicable
NTU |  | nephelometric turbidity units (a measure of turbidity)
pCi/L |  | picocuries per liter (a measure of radioactivity)
Water Quality Test Results
ppb | micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water.
ppm | milligrams per liter or parts per million – or one ounce in 7,350 gallons of water
ppt | parts per trillion, or nanograms per liter (ng/L)
ppq | parts per quadrillion, or picograms per liter (pg?L)