ImmunoBioScience Corp. (IBSC)                                                                                        DATA SHEET

Dual (Peroxidase and Alkaline Phosphatase) Endogenous Blocking solution, ready-to-use

Catalog number: AR-6584-01   15 ml

AR-6584-02   100 ml

Description: Endogenous peroxidase and pseudoperoxidase activity is found  in many frozen, formalin-fixed paraffin-embedded tissue sections and cell smears. Peroxidase is most commonly found in red blood cells, myoglobin in muscle cells, cytochrome in granulocytes, and monocytes, liver and kidney. The presence of endogenous peroxidase activity gives false results when using peroxidase based Immunohistochemistry technique. For frozen tissue sections eg. Peripheral blood, bone marrow, fixation should be done with acetone/methanol.

Endogenous Alkaline Phosphatase (AP) is present in number of cells and tissues including epithelium of the bladder, the lamina propia of ovary, kidney, salivary glands (1), neutrophilic segmented cells, neutrophilic band cells, neutrophilic metamyelocytes, and may also be present in leukemic cells of chronic and acute granulocytes leukemia, and some neutrophilic leukemoid reactions (2). AP is also found in brush borders of epithelial cells of small intestine (3) and placenta (4). Elias (5) has shown that endogenous AP can be inhibited by Levamisole without significantly reducing specific staining of antigenic sites.

Intended Use: Immunohistochemistry (IHC) and Immunocytchemistry (ICC) on

Cell specially blood, frozen tissues, necrotic tissues and FFPE sections when using Peroxidase based Immunohistochemistry method. We recommend that the endogenous peroxidase and Alkaline phosphatase activity should be blocked following deparaffinization and prior to antigen retriever.

Procedure:

1. Deparaffinizate the tissue as described in your protocol.

- Add few drops of endoblocking solution for 5-10 minutes at 37ºC, or 10-15 minutes at room temperature.

- Proceed with the protocol..

These are guide lines, the optimum incubation times for these reagents and reactions should be determined by the individual lab.

References:

- Ponder, BA, Wilkinson, M. J. Histochem Cytochem. 29(8)981, 1981

- Seiverd CE Hematology for Medical technologies, Seiverd CE editor, Philadelphia: Lea and Febiger, 1972

- Uchida, T etal Advances in Immunohistochemistry, De Lellis,RA editor, Masson Publishing, 185, 1985

- Groote, GD etal Clin. Chem. 29(1), 115,1983

- Elias JM, Immunohistochemical methods: endogenous AP activity. Immunopathology A practical approach to diagnostic. Chicago: Ascp press, 49, 1990

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone:  + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone:  + 1 425 314 0199

Marketing phone:  + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

Product of  USA