## Noise_Curve_File_Import
May 2017
File Import |  | Note: The recommended measurement time is 30 seconds.
Load File

## NC_2008
Noise Criteria
in accordance with ANSI/ASA 12.2-2008
| Client: |  | xxxx | [9 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
16
31.5
63
125
250
500
1000
2000
4000
8000
| Noise Criteria NC = |  |  | dB
| Frequency = |  |  | Hz
| SIL = |  |  | dB
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 16 | 31.5 | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | NC-70 | 90 | 90 | 84 | 79 | 75 | 72 | 71 | 70 | 68 | 68
|  | NC-65 | 90 | 88 | 80 | 75 | 71 | 68 | 65 | 64 | 63 | 62
|  | NC-60 | 90 | 85 | 77 | 71 | 66 | 63 | 60 | 59 | 58 | 57
|  | NC-55 | 89 | 82 | 74 | 67 | 62 | 58 | 56 | 54 | 53 | 52
|  | NC-50 | 87 | 79 | 71 | 64 | 58 | 54 | 51 | 49 | 48 | 47
|  | NC-45 | 85 | 76 | 67 | 60 | 54 | 49 | 46 | 44 | 43 | 42
|  | NC-40 | 84 | 74 | 64 | 56 | 50 | 44 | 41 | 39 | 38 | 37
|  | NC-35 | 82 | 71 | 60 | 52 | 45 | 40 | 36 | 34 | 33 | 32
|  | NC-30 | 81 | 68 | 57 | 48 | 41 | 35 | 32 | 29 | 28 | 27
|  | NC-25 | 80 | 65 | 54 | 44 | 37 | 31 | 27 | 24 | 22 | 22
|  | NC-20 | 79 | 63 | 50 | 40 | 33 | 26 | 22 | 20 | 17 | 16
|  | NC-15 | 78 | 61 | 47 | 36 | 28 | 22 | 18 | 14 | 12 | 11
NC-15
NC-20
NC-25
NC-30
NC-35
NC-40
NC-45
NC-50
NC-55
NC-60
NC-65
NC-70

## RNC_2008
Room Noise Criteria
in accordance with ANSI/ASA 12.2-2008
| Client: |  | xxxx | [10 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
16
31.5
63
125
250
500
1000
2000
4000
8000
| Room Noise Criteria RNC = |  |  |  |  | dB | [6 empty] | K_LFC = |  |  | dB
| Frequency = |  |  |  |  | Hz | [6 empty] | K_125C = |  |  | dB
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 16 | 31.5 | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | RNC-70 | 101 | 96 | 91 | 86 | 81 | 76 | 72 | 68 | 64 | 60
|  | RNC-65 | 96 | 91 | 86 | 81 | 76 | 71 | 67 | 63 | 59 | 55
|  | RNC-60 | 91 | 86 | 81 | 76 | 71 | 66 | 62 | 58 | 54 | 50
|  | RNC-55 | 86 | 81 | 76 | 71 | 66 | 61 | 57 | 53 | 49 | 45
|  | RNC-50 | 81 | 76 | 71 | 66 | 61 | 56 | 52 | 48 | 44 | 40
|  | RNC-45 | 79 | 74 | 68 | 62 | 56 | 51 | 47 | 43 | 39 | 35
|  | RNC-40 | 78 | 71 | 64 | 58 | 51 | 46 | 42 | 38 | 34 | 30
|  | RNC-35 | 76 | 69 | 61 | 54 | 46 | 41 | 37 | 33 | 29 | 25
|  | RNC-30 | 74 | 66 | 58 | 49 | 41 | 36 | 32 | 28 | 24 | 20
|  | RNC-25 | 73 | 64 | 54 | 45 | 36 | 31 | 27 | 23 | 19 | 15
|  | RNC-20 | 71 | 61 | 51 | 41 | 31 | 26 | 22 | 18 | 14 | 10
|  | RNC-15 | 69 | 59 | 48 | 37 | 26 | 21 | 17 | 13 | 9 | 5
|  | RNC-10 | 68 | 56 | 44 | 33 | 21 | 16 | 12 | 8 | 4 | 0
RNC-70
RNC-65
RNC-60
RNC-55
RNC-50
RNC-45
RNC-40
RNC-35
RNC-30
RNC-25
RNC-20
RNC-15
RNC-10

## NC_1995
Noise Criteria
in accordance with ANSI/ASA 12.2-1995
| Client: |  | xxxx | [7 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
63
125
250
500
1000
2000
4000
8000
| Noise Criteria NC = |  |  | dB
| Frequency = |  |  | Hz
| SIL = |  |  | dB
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | NC-70 | 83 | 79 | 75 | 72 | 71 | 70 | 69 | 68
|  | NC-65 | 80 | 75 | 71 | 68 | 66 | 64 | 63 | 62
|  | NC-60 | 77 | 71 | 67 | 63 | 61 | 59 | 58 | 57
|  | NC-55 | 74 | 67 | 62 | 58 | 56 | 54 | 53 | 52
|  | NC-50 | 71 | 64 | 58 | 54 | 51 | 49 | 48 | 47
|  | NC-45 | 67 | 60 | 54 | 49 | 46 | 44 | 43 | 42
|  | NC-40 | 64 | 56 | 50 | 45 | 41 | 39 | 38 | 37
|  | NC-35 | 60 | 52 | 45 | 40 | 36 | 34 | 33 | 32
|  | NC-30 | 57 | 48 | 41 | 35 | 31 | 29 | 28 | 27
|  | NC-25 | 54 | 44 | 37 | 31 | 27 | 24 | 22 | 21
|  | NC-20 | 51 | 40 | 33 | 26 | 22 | 19 | 17 | 16
|  | NC-15 | 47 | 36 | 29 | 22 | 17 | 14 | 12 | 11
NC-70
NC-65
NC-60
NC-55
NC-50
NC-45
NC-40
NC-35
NC-30
NC-25
NC-20
NC-15

## RC_1995
Room Criteria
in accordance with ANSI/ASA 12.2-1995
| Client: |  | xxxx | [9 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
16
31.5
63
125
250
500
1000
2000
4000
8000
| Room Criteria RC = |  |  | dB | [5 empty] | Spectrum classification =
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 16 | 31.5 | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | RC-25 | 55 | 55 | 45 | 40 | 35 | 30 | 25 | 20 | 15 | 10
|  | RC-30 | 55 | 55 | 50 | 45 | 40 | 35 | 30 | 25 | 20 | 15
|  | RC-35 | 60 | 60 | 55 | 50 | 45 | 40 | 35 | 30 | 25 | 20
|  | RC-40 | 65 | 65 | 60 | 55 | 50 | 45 | 40 | 35 | 30 | 25
|  | RC-45 | 70 | 70 | 65 | 60 | 55 | 50 | 45 | 40 | 35 | 30
|  | RC-50 | 75 | 75 | 70 | 65 | 60 | 55 | 50 | 45 | 40 | 35
RC-50
RC-45
RC-40
RC-35
RC-30
RC-25

## PNC_1971
Preferred Noise Criteria
in accordance with ASA 1971
| Client: |  | xxxx | [8 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
31.5
63
125
250
500
1000
2000
4000
8000
| Preferred Noise Criteria PNC = |  |  |  |  | dB
| Frequency = |  |  |  |  | Hz
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 31.5 | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | PNC-15 | 58 | 43 | 35 | 28 | 21 | 15 | 10 | 8 | 8
|  | PNC-20 | 59 | 46 | 39 | 32 | 26 | 20 | 15 | 13 | 13
|  | PNC-25 | 60 | 49 | 43 | 37 | 31 | 25 | 20 | 18 | 18
|  | PNC-30 | 61 | 52 | 46 | 41 | 35 | 30 | 25 | 23 | 23
|  | PNC-35 | 62 | 55 | 50 | 45 | 40 | 35 | 30 | 28 | 28
|  | PNC-40 | 64 | 59 | 54 | 50 | 45 | 40 | 35 | 33 | 33
|  | PNC-45 | 67 | 63 | 58 | 54 | 50 | 45 | 41 | 38 | 38
|  | PNC-50 | 70 | 66 | 62 | 58 | 54 | 50 | 46 | 43 | 43
|  | PNC-55 | 73 | 70 | 66 | 62 | 59 | 55 | 51 | 48 | 48
|  | PNC-60 | 76 | 73 | 69 | 66 | 63 | 59 | 56 | 53 | 53
|  | PNC-65 | 79 | 76 | 73 | 70 | 67 | 64 | 61 | 58 | 58
PNC-65
PNC-60
PNC-55
PNC-50
PNC-45
PNC-40
PNC-35
PNC-30
PNC-25
PNC-20
PNC-15

## NR_1996
Noise Rating
in accordance with ISO 1996
| Client: |  | xxxx | [8 empty] | Date of test: | 0
| Object: |  | xxxx
| Description: |  | xxxx
xxxx
xxxx
| Frequency | Noise Level
| f | LZeq
| Hz | dB
31.5
63
125
250
500
1000
2000
4000
8000
| Noise Rating NR = |  |  |  | dB
| Frequency = |  |  |  | Hz
| No. of test report: | [6 empty] | Name of test institute:
| Date: | [6 empty] | Signature:
|  |  | 31.5 | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000
|  | NR75 | 106 | 95 | 87 | 82 | 78 | 75 | 73 | 71 | 69
|  | NR70 | 103 | 91 | 83 | 77 | 73 | 70 | 68 | 66 | 64
|  | NR65 | 100 | 87 | 79 | 72 | 68 | 65 | 62 | 61 | 59
|  | NR60 | 96 | 83 | 74 | 68 | 63 | 60 | 57 | 55 | 54
|  | NR55 | 93 | 79 | 70 | 63 | 58 | 55 | 52 | 50 | 49
|  | NR50 | 89 | 75 | 66 | 59 | 53 | 50 | 47 | 45 | 43
|  | NR45 | 86 | 71 | 61 | 54 | 48 | 45 | 42 | 40 | 38
|  | NR40 | 83 | 67 | 57 | 49 | 44 | 40 | 37 | 35 | 33
|  | NR35 | 79 | 63 | 52 | 45 | 39 | 35 | 32 | 30 | 28
|  | NR30 | 76 | 59 | 48 | 40 | 34 | 30 | 27 | 25 | 23
|  | NR25 | 72 | 55 | 44 | 35 | 29 | 25 | 22 | 20 | 18
|  | NR20 | 69 | 51 | 39 | 31 | 24 | 20 | 17 | 14 | 13
|  | NR15 | 66 | 47 | 35 | 26 | 19 | 15 | 12 | 9 | 7
|  | NR10 | 62 | 43 | 31 | 21 | 15 | 10 | 7 | 4 | 2
|  | NR5 | 59 | 39 | 26 | 17 | 10 | 5 | 2 | -1 | -3
|  | NR0 | 55 | 35 | 22 | 12 | 5 | 0 | -4 | -6 | -8
NR-75
NR-70
NR-65
NR-60
NR-55
NR-50
NR-45
NR-40
NR-35
NR-30
NR-25
NR-20
NR-15
NR-10