## Slide 1: The South Texas Association of School Maintenance Officials By Climatec
Providing safe, comfortable and energy efficient buildings for over 40 years

## Slide 2
A leading provider of advanced building technologies
Devoted to customer satisfaction
We provide safer, more comfortable and more efficient building environments
QUICK STATS
CLIMATEC BY THE NUMBERS
40 YEARS IN BUSINESS
11 BRANCH OFFICES
10,000+ CUSTOMERS
700+ EMPLOYEES
45 LOCAL TEAM SIZE AUSTIN OFFICE
SAN ANTONIO OFFICE
McALLEN OFFICE
10 NET ZERO BUILDS
15 STADIUMS
30 DATA CENTERS
50 HOSPITALS
500 OFFICE BUILDINGS
3000 SCHOOLS
#1 INDEPENDENT
#1 ALERTON
#1 ARIZONA
#1 SO CAL
#1 TEXAS by 2020

## Slide 3: Networked Thermostats
Save you money by saving you time and energy

## Slide 4: Seven Day Programmable Thermostat
 | Seven Day Programmable Thermostat | NETWORKED
Cost | $100 to $200 | $315
Install Cost | As Thermostat | Same add Communication
Real Time Clock | Battery Back | Synchronized
Programming | Schedule | Complete
Scheduling | Individually | All at once or Individually
Remote Operation | None | Via Internet Explorer
Space Relative Humidity | Extra | Included
Supply Air Temperature | No | Included
Occupied Economy Setpoints | No | Add Motion Detector
Training | Read the Manual | Included
Demand Ventilation | Provided with AHU | Add CO2 sensor and Actuator
Aux. Lighting Contactor | No | Output Available
Aux. Exhaust Fan | No | Output Available
BACnet Interface (Lighting, OAU, Energy Metering, …) | No | Included

## Slide 5: Best Practices

## Slide 6: Best Practices
Provide bidders with
  Detailed scope
  Develop scope with bidders
Proposal
  Clearly defined scope
  Sample graphics
  Three references
  Contractor qualifications defined by contractor

## Slide 7: Best Practices
Scope Review!!!!!!

## Slide 8: Best Practices
Submittal
  Drawing Package
    Wiring Details
    Bill of Materials
  Product Data Sheets
  Sequence of operation
  Subcontractor List

## Slide 9: Best Practices
Navigation
  Navigation Tree
  User Name and Passwords for every user
  Easy access to schedules trends alarms
  Return to Home on every Page

## Slide 10: Best Practices
Graphics
  HTML5 – Access from any web browser and from any platform without the need for plug-ins or apps (Java, Adobe Flash,…)
  Capable of re-sizing to fit Window
Graphics
  Site Plan
  Floor Plan Graphics
    Outside Air Temperature and Relative Humidity
    Thermal gradient indicating temperature deviation from setpoint
    Links to Home Page

## Slide 11: Best Practices
BACnet
  Require PIC Statements
  Require BACnet BTL Certification or proof that products are in submission phase
  Provide BACnet over IP at global controller and/or field controller
  Provide BACnet MS/TP at field controller

## Slide 12: Best Practices
Programming
  Provide all programming tools
  Provide documented sequence of operation for every device
    Define operation during occupied and unoccupied times
    Define startup and shutdown
    Define scheduling and setpoints
    Define operation on the failure of a device or controller
    Define alarms and their annunciation requirements
    Define trending requirements

## Slide 13: Best Practices
Record Documents
  Updated Submittal
  Provide table of device addressing
  Provide floor plans
    Include Controller and device locations
    Include network routing
  Provide clearly defined warranty letter with agreed upon start and end dates

## Slide 14: Best Practices
Training
    Provide Site Specific Training
    Review Record documents
    Inspect accessible field controllers. Understand wiring and configurations
    Inspect field devices
    Review LAN routing
  Provide Software Training
    User definitions
    Navigation
    Alarms, escalation, annunciations, messaging…
    Trends, sinlge, multi-point, archiving…
    Schedules, standard, holiday, events,…

## Slide 15: Best Practices
After Completion
  Warranty Phase
    Quarterly inspections
    Seasonal Sequence checks
    Review Operators Log
  Yearly Maintenance Agreement
    Physically inspection of all devices and their operation
    System Review
    Sensor verification
    Sequence Checks
    Software backups
    Discounted Service and Material Rates

## Slide 16: Final Comments and Questions