ImmunoBioScience Corp. (IBSC)                                                              DATA SHEET

GLYCEROL MOUNTING Medium With DAPI and DABCO™

Catalog number: AR-6510-01 20 ml (This vial is supplied with white flat cap and extra

BLUE/NATURAL color Twist open/close cap for customer to replace it).

AR-6510-02  100 ml

Description: Glycerol with DAPI and DABCO is an aqueous mounting medium for preserving fluorescence of tissue and cell smears. This unique formula prevents rapid photobleaching of FITC, Texas Red, AMCA, Cy2, Cy3, Cy5, Alexa fluoro 488, Alexa fluoro 594, Green fluorescent protein (GFP), tetramethyly rhodamine, Redox. Fluorescence is retained during prolonged storage at 4oC in the dark.

This mounting medium is fortified with DAPI which is a counter-stain for DNA. This product is to be used in situ hybridization techniques or other methods where fluorescence of DNA staining is required. DAPI excites at 360nm and emits at 460nm, producing a blue fluorescence. RNA is also stained with DAPI.

Glycerol with antifading agent 1, 4-Diazobicyclo-(2,2,2-octane (DABCO™) is an aqueous mounting medium for preserving fluorescence of tissue and cell smears. This unique formula prevents rapid photobleaching of fluorochromes.  The fluorescence is retained during prolonged storage at 4oC in the dark.

Not recommended for phycoethyrin (PE), phycocyanin (PC) and allophycocyanin (APC)

Intended Use: Immunofluorescence, confocal microscopy.

Reagent: Ready to use mounting medium with anti-fading agent

Storage: Store 2-8oC is recommended, protect from light,

Intended Use: Immunofluorescence, confocal microscopy.

Refractive Index: 1.4617

Procedure: Dehydration of Specimen is not required.

- Bring the vial to room temperature.

- Turn the vial upside down and open the dropper to remove any air bubbles.

- Apply 1-2 drops of mounting medium directly; cover slip carefully avoiding air bubbles.

- The specimen is ready for visualization under a microscope.

- One can seal the edges of cover slip with nail polish, any organic medium or our Organo mounting medium (cat. # AR-6504).

- Method for applying Coverslip: Put 1-2 drops of Mounting medium on the specimen. After 3-4 minutes apply coverslip carefully avoiding air bubbles. Put Kimwipes on the top of coverslip, press gently to remove excess mounting medium. With 200 micropipette add organic mounting medium to seal the edges.

- For storage it is recommended that the slide be stored in the dark at 2-8oC.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

Country of origin: USA