ImmunoBioScience Corp. (IBSC) *DATA SHEET*

FITC conjugated UEA I (*Ulex europaeus)*

**Catalog number:**  LE-6884-15

**Description:** The anti-H (O**)** hemagglutinating activityof Ulex europaeushas been used widely to confirm blood group O activity. UEA I binds to many glycoproteins and glycolipids containing α –linked fucose residue. The purified lectin appears to be a dimer of two distinct polypeptide chains associated by noncovalent forces. This lectin does not react with Lea active blood group substance. The native protein has **p***I*=6.0-6.1 and exhibits a Molecular weight 60,000-68,000 during gel filtration on Sephadex column.

**Unit**: 1 ml Concentration**:** 1 mg/ml

**Fluorophore:** Affinity purified UEA I is conjugated with Fluorescein-5- isothiocyanate (FITC-isomer 1) and purified on Gel filtration column; A max. = 490 nm, E max =520 nm, Ratio of A490/A280= 1.0-1.4

.

**Intended Use**: Immunofluorescence 1:50-1:200

The optimum dilution should be determined by the individual lab.

**Storage: Storage**: 2-8°C in the dark

**Buffer:** 10 mM phosphate, 150 mM NaCl, pH 7.6, 0.1 mM Calcium chloride and 0.05% sodium azide

**Inhibiting/Eluting sugars:** 50-100 mM L-fucose

**Carbohydrate-Binding Specificity of UEA I:**  L-Fuα1,2Galβ1,4GlcNAcβ1,6R

**References:**

1. Cazal P and Lalaurie, M. Acta Haematol. 8: 73-80, 1952
2. Horejsi, , V and Kocourek, J. Biochem Biophys. Acta 336: 329-337, 1974
3. Sugii, etal. Carbohydr. Res. 99: 99-101, 1982

**Limitation and warranty:** Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

**MSDS:** This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“*In vitro* laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1425 367 4817; cell (mobile) phone: + 1425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: [www.immunobioscience.com](http://www.immunobiosci.com); E-mail: [baderbo@gmail.com](mailto:baderbo@gmail.com)

PRODUCT OF USA