ImmunoBioScience Corp. (IBSC)                                                                               DATA SHEET

Methylene Blue, Counterstain

Catalog number: AR-6525-01    15 ml

AR-6525-02    100 ml

AR-6525-50    50 ml

Description: This methylene Blue counterstain solution is designed for nuclear counterstain after completion of Immunohistochemistry staining or for routine histology.  Nuclei will be stained blue color, which will provide excellent contrast to brown (DAB, cat. # AR-8202). These chromogens with Methyl Blue has to be dehydrated with organic solvents and mounted with Organic mounting medium with our Organo Mount (AR-6504) or any other mounting medium.

Aqueous mounting mediums are not compatible with Methylene BLUE counterstain

Methylene blue should not be confused with methyl blue, another histology stain, new methylene blue, nor with the methyl violets often used as pH indicators.

Intended Use: Immunohistochemistry (IHC), histology.

Reagent: Ready to use counterstain.

Storage: Room temperature.

Procedure:

A. Immunohistochemistry:

1. After chromogen staining, wash slide 2-3X with de/di water, 2X with buffer and 2X with de/di. water

2. Apply Methylene Blue counterstain for 3-5 minutes or longer, if darker  color is required.

3. Rinse with water, followed by alcohol gradients 30 to 95%; 100%  alcohol 5-7X.

4. Clear with Xylene or clearing agent.

5. The slides can be mounted with Organic mounting mediums like Organo mount (limonene) or equivalent.

B. Histology:

- Follow the procedure as outlined for hitology

1. Deparafinize formalin-fixed paraffin-embedded (FFPE) tissue sections.

2. At the counterstain step, apply Methylene Blue counterstain for 3-5 minutes or longer if darker color is required.

3. Rinse with water, dehydrate with gradients of alcool 30-95%;  and 100% alcohol 5-7X.

4. Clear with Xylene or clearing agent.

5. The slides can be mounted with Organic mounting mediums like Organo mount (ImmunoBioscience  cat. # AR-6504) or equivalent.

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

----------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 425 367 4601; Fax: + 425 367 4817; cell (mobile) phone: + 425 314 0199

Marketing phone: + 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA