ImmunoBioScience Corp. (IBSC)                                                                               DATA SHEET

Probe Hematoxylin, aqueous

Catalog number: AR-6521-03 (250 ml)

Description: This uniquely formulated Probe hematoxylin is an excellent counterstain for in situ DNA hybridization procedure. Probe hematoxylin produces clean blue color of nuclei on formalin-fixed paraffin-embedded (FFPE) tissue sections and frozen sections and is stable for 2-3 years when kept in the dark. Probe hematoxylin will produce a blue nuclear counterstain which is lighter than conventional hematoxylin counterstain. The counterstain can be used with HRP chromogens, AEC, DAB and alkaline phosphatase chromogens, fast red, BCIP/INT and super fast red (ImmunoBioScience). Sides stained with this hematoxylin can be mounted with aqueous or organic mounting mediums.

Intended Use: Ready to use counterstain for in situ hybridization.

Storage: Room temperature.

Procedure:1. After chromogen staining, wash slide 2-3X with de/di water, 2X with

2. Apply Probe hematoxylin for 2-3 minutes; wash with tap water 5-7X.

3.  Soak the slides in Immuno Automation buffer (ImmunoBioScience AR-6561), PBS or any buffer with pH 7.4-8 for 2-3 minutes. Hematoxylin changes color from purple red to blue.

4. Wash slide 2-3X with de/di water.

5. The slides can be mounted with aqueous mounting medium (ImmunoHistoMount (AR-6503) or equivalent) for chromogens like AEC, DAB, Fast red, BCIP/INT, or Super Fast red. DAB and Super Fast can be mounted with Organic mounting mediums like Organo mount / limonene (AR-6504) or equivalent after dehydrating the tissue with alcohols and organic solvents.

---------------------------------------------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat, gloves and  safety glasses. Do not ingest any laboratory products. This product is not approved for administration in human or animals.

----------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: 425 367 4601; Fax: 425 367 4817; cell (mobile) phone:  425 314 0199

Marketing phone:  650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA