ImmunoBioScience Corp. (IBSC)                                                                               DATA SHEET

Nuclear Fast Red (NFR) Counter Stain

Catalog number: AR-6524-01    15 ml

AR-6524-02     100 ml

Description: This Nuclear Fast Red stain (NFR) is designed for nuclear staining; when DAB/Cobalt or DAB/Nickel chromogens are used; hematoxylin cannot be used with these chromogens. NFR can also be used with BCIP/NBT.       Nuclear Fast Red can be mounted with AQUEOUS mounting medium (our ImmunoHistoMount AR-6503) or ORGANIC mounting medium (our Organo mount AR-6504) or any other mounting mediums. This counter stain is not compatible with Fluoroshield (AR-6500) mounting medium.

Intended Use: Immunohistochemistry/Immunocytochemistry

Reagent: Ready to use counter stain.

Storage: Room temperature.

Procedure:

- After chromogen staining, rinse slide with distilled or deionized water 3-5X.

- Add nuclear fast red for 2-3 minutes at room temperature.

- Remove NFR, rinse slide several times with deionized or distilled water.

- This counterstain can be mounted with Aqueous or organic mounting medium.

- For aqueous mounting medium, rinse slides with distilled or deionized water and follow the directions for aqueous mounting medium. For organic mounting medium, dehydrate the slide with increasing gradient of alcohol, followed by xylene or substitute clearing agent. Follow the directions for organic mounting medium.

- The slide is ready to be visualized.

--------------------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: Avoid skin and eye contact with all laboratory products. Use appropriate gear, lab. coat, gloves and safety glasses. Do not ingest any laboratory products. This product is not approved for administration in human or animals.

--------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA