GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT RULES

ADOPTED: Feb. 13, 2003

EFFECTIVE: Feb. 13, 2003

First Revision:  January 20, 2004

Second Revision:  August 17, 2004

Third Revision:  March 21, 2006

Fourth Revision:  August 4, 2008

Fifth Revision:  October 19, 2009

Sixth Revision:  August 2, 2010

Seventh Revision:  April 16, 2012

Eighth Revision:  October 21, 2013

Ninth Revision:  June 16, 2014

Tenth Revision:  February 16, 2015

Eleventh Revision: July 18, 2016

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT RULES

Table of Contents

RULE 1 DEFINITIONS

RULE 2 PURPOSE OF RULES

2.1 Use and Effect of Rules

2.2 Amending Of Rules

2.3 Headings and Captions

2.4 Severability

2.5 General Rules

2.6 Change of Permit

RULE 3 BOARD

3.1 Purpose of Board

3.2 Board Structure, Officers

3.3 Meetings

3.4 Committees

RULE 4

RULE 5 DISTRICT STAFF

5.1 District Employees

RULE 6 DISTRICT

6.1 Minutes and Records of the District

RULE 7 OTHER DISTRICT ACTIONS AND DUTIES

7.1 District Management Plan

RULE 8 TRANSFER OF GROUNDWATER OUT OF THE DISTRICT

8.1 Permit Required

8.2 Applicability

8.3 Application

8.4 Hearing and Permit Issuance

RULE 9 TRANSPORTATION OF WATER WITHIN THE DISTRICT

RULE 10 ENFORCEMENT OF RULES

RULE 11 REGISTRATION/PERMITS

11.1 Registration of New Wells

11.2 Requirement of Driller’s Log, Casing, Pump Data, and Drilling Notification

11.3 Time During which a Drilling Permit or Registration Shall Remain Valid

RULE 12 PERMITS

12.1 Historic Groundwater Use

12.2 General Permitting Policies and Procedures for Non-exempt Wells

12.3 Operating Permit Required

12.4 Operating Permit Provisions

12.5 Operating Permit Limitations

12.6 Production Limitations

12.7 Well Spacing Requirements

12.8 Exclusions and Exemptions

12.9 Mitigation

12.10 Geothermal Loops

RULE 13 REWORKING AND REPLACING A WELL

13.1 Procedures

RULE 14 WELL LOCATION AND COMPLETION

14.1 Responsibility

14.2 Location of Domestic and Livestock (or Exempt) Wells

14.3 Standards for Water Wells Drillers and Water Well Pump Installers

RULE 15 WASTE AND BENEFICIAL USE

15.1 Waste Means Any One or More of the Following

15.2 Waste Prevention

15.3 Uses for a Beneficial Purpose

RULE 16 FEES

RULE 17 - DESIRED FUTURE CONDITIONS (DFC)

RULE 18 HEARING

18.1 Types of Hearing

18.2 Notice

18.3 General Procedures

18.4 Uncontested Permit Hearings Procedures

18.5 Contested Permit Hearings Procedures

18.6 Conclusion of the Permit Hearing

18.7 Rule-Making Hearings Procedures

18.8 Final Decision; Appeal

RULE 19 INVESTIGATIONS AND ENFORCEMENT

19.1 Notice and Access to Property

19.2 Conduct of Investigation

19.3 Sealing of Wells

Letter to Water Well Drillers Working in Goliad County

Goliad County Groundwater Conservation District Drought Contingency Plan

Map of Goliad County GCD Zones

FORMS

Form 2014-06-0001 – New Water Well Registration

Form 2014-06-0002 – Oil and Gas Transfer of Exploration Water Well to Landowner

Form 2014-06-0003 – Transfer of Ownership

Form 2014-06-0004 – Notice To Purchaser

Form 2014-06-0005 – Water Well Drilling Permit Application (Non-Exempt Water Well)

Form 2015-03-0001- Drilling Permit

Form 2014-06-0006 – Water Well Operating Permit Application (Non-Exempt Water Well)

Form 2015-03-0002 - Operating Permit

Form 2014-06-0007 – Mitigation Rule 12.9 Worksheet

Form 2014-06-0008 – Transport Permit Application

Form 2015-04-0001 - Transport Permit

Goliad County Groundwater

Conservation District

RULES OF GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT IN TEXAS ARE HEREBY PUBLISHED, AS OF February 6, 2003. Revised: January 20, 2004; August 17, 2004; March 21, 2006; August 4, 2008; October 19, 2009; August 2, 2010; and April 16, 2012

In accordance with Section 59 of Article XVI of the Texas Constitution, H.B. No. 3651 effective September 1, 2001, and Chapter 36 of the Texas Water Code, as amended, the following rules are hereby ratified and adopted as the rules of the Goliad County Groundwater Conservation District, in Texas, by its Board.

The rules, regulations, and modes of procedure herein contained are and have been adopted for the purpose of simplifying procedure, avoiding delays, saving expense, and facilitating the administration of the groundwater laws of the State and the rules of this district.  To the end that these objectives be attained, these rules shall be so construed.

These rules may be used as guides in the exercise of discretion, where discretion is vested.  However, under no circumstances, and in no particular case shall they, or any of them, be construed as a limitation or restriction upon the exercise of any discretion, where such exists; nor shall they in any event be construed to deprive the Board of an exercise of powers, duties, and jurisdiction conferred by law, nor to limit or restrict the amount and character of data or information which may be required for the proper administration of the law.

RULE 1 DEFINITIONS

A. The “Board” shall mean the Board of Directors of the Goliad County Groundwater Conservation District, in Texas, consisting of duly appointed and henceforth elected members, as provided in Chapter 36, Texas Water Code, as amended and HB 3651.

B. “District” shall mean the Goliad County Groundwater Conservation District in Texas, created under Section 59, Article XVI Texas Constitution, maintaining its principal office in Goliad, Texas.  Where applications, reports and other papers are required to be filed with or sent to “the District,” this means the District office in Goliad, Texas.

C. “Permitted well” shall mean a well subject to the District’s drilling permit requirements, which includes any artificial excavation constructed to produce, or which produces, more than 25,000 gallons of water per day.

D. “Registered well” shall mean and include any artificial excavation to produce, or that is producing, water for any purpose that is not subject to the District’s drilling permit requirements.

E. “Monitoring well” shall mean a well installed to measure some property, usually water levels, and quality, of the groundwater or aquifer, which it enters that does not produce groundwater for the purpose of water supply.

F. “Director” means a member of the Board.  To be eligible to serve as a temporary, initial, or regular director of the district, a person must be a resident of Goliad County and must be at least 18 years of age.  Each director must qualify to serve as director in the manner provided by Section 36.055 of the Texas Water Code.

G. “Exploratory hole” shall mean any hole drilled to a depth greater than the top of any stratum containing groundwater, as “groundwater” as is defined in Chapter 36, Texas Water Code, as amended, for the purpose of securing geological or other information, which may be obtained by penetrating the earth with a drill bit, and includes what is commonly referred to in the industry as “water well test holes”, “slim hole test” or “seismograph test holes” and the like.

H. “Water” for the purposes of these rules is synonymous with groundwater or underground water.

I. “Owner” shall mean and include any person that has the right to produce water from the land, by ownership, contract, lease, easement, or any other estate in the land.

J. “Person” shall mean any individual, partnership, firm, state agency, political subdivision, corporation, or other legal entity.

K. The word “waste” as used herein shall include, but is not limited to; those defined by the Legislature in Chapter 36, Texas Water Code, latest amendment.  Waste includes:

1. Withdrawal of groundwater from a groundwater reservoir at a rate, and in an amount that causes, or threatens to cause, intrusion into the reservoir of water unsuitable for agricultural, gardening, domestic, or stock raising purposes; or, that threatens to deplete the historic supply.

2. The flowing or producing of wells from a groundwater reservoir if, the water produced is not used for a beneficial purpose;

3. Escape of groundwater from a groundwater reservoir to any other reservoir that does not contain groundwater;

4. Pollution or harmful alteration of groundwater in a groundwater reservoir by salt water, other deleterious matter admitted from another stratum, or from the surface of the ground; or, release of deleterious material into a drinking water supply aquifer.

5. Willfully or negligently causing, suffering, or permitting groundwater to escape into any river, creek, natural watercourse, depression, lake, reservoir, drain, sewer, street, highway, road, or road ditch, or onto any land other than that of the owner of the well; or unless such discharge is authorized by permit, rule or order by the Commission under Chapter 26; or

6. Groundwater pumped for irrigation that escapes as irrigation tailwater onto land other than that of the owner of the well, unless the occupant of the land receiving the discharge has granted permission.

L. An “authorized well site” shall be:

1. The location of a proposed well identified by GPS coordinates on an application duly filed, until such application is denied, or

2. The location of a proposed well identified by GPS coordinates on a valid permit.  (An authorized well site is not a permit to drill.)

M. “General Manager” is the General Manager of the Goliad County Groundwater Conservation District.  The General Manager may be a member of the board.

N. “Acre-foot” means the amount of water necessary to cover one acre of land one foot deep, or 325,851 gallons of water.

O. “Agricultural crop” means food or fiber commodities grown for resale or commercial purposes that provide food, clothing, or animal feed.

P. “Drilling Permit” means a permit for water well issued or to be issued by the District allowing a water well to be drilled.

Q. “Groundwater” means water percolating beneath the earth’s surface within the District but does not include water produced with oil in the production of oil and gas.

R. “Landowner” means the person who bears ownership of the land surface.

S. “New Well Application” means an application for a permit or registration for a water well that has not yet been drilled.

T.  “Open Meeting Law” means Chapter 551, Texas Government Code.

U. “Operating Permit” means a permit issued by the District for a water well that is capable of pumping more than 25,000 gallons per day, allowing groundwater to be withdrawn from a water well for a designated period and at a maximum rate.

V. “Public Information Act” means Chapter 552, Texas Government Code.

W. “Rules” means the rules of the District compiled in this document and as may be supplemented or amended from time to time.

X. “Water meter” means a water flow-measuring device that can accurately record the amount of groundwater produced during a measured time.

Y. “Well” means any facility, device, or method used to withdraw groundwater from the groundwater supply within the District.

Z. “District act” means an act relating to the creation, administration, powers, duties, operation and financing of the Goliad County Groundwater Conservation District (H.B. 3651 effective September 1, 2001).

AA. “Existing well” means any well in the district that was drilled or properly completed on or before the adoption of the Goliad County Groundwater Conversation District Management Plan, Feb. 6, 2003.

RULE 2 PURPOSE OF RULES

These rules are adopted to achieve the provisions of the District Management Plan and accomplish its purposes.

These rules are intended to provide for the conservation, preservation, protection, and recharge of groundwater and aquifers within Goliad County.  It is of utmost importance to maintain sustainable drinking water supplies for municipal, domestic, and livestock use.

RULE 2.1 USE AND EFFECT OF RULES

The District uses these rules as guides in the exercise of the powers conferred by law and in the accomplishment of the purposes of the District Management Plan.  They may not be construed as a limitation or restriction on the exercise of any discretion nor be construed to deprive the District or Board of the exercise of any powers, duties or jurisdiction conferred by law, nor be construed to limit or restrict the amount and character of data or information that may be required to be collected for the proper administration of the District Management Plan.

RULE 2.2 AMENDING OF RULES

The Board may, following notice and hearing, amend these rules or adopt new rules from time to time.

RULE 2.3 HEADINGS AND CAPTIONS

The section and other headings and captions contained in these rules are for reference purposes only.  They do not affect the meaning or interpretation of these rules in any way.

RULE 2.4 SEVERABILITY

If any one or more of the provisions contained in these rules are for any reason held to be invalid, illegal, or unenforceable in any respect, the invalidity, illegality, or unenforceability may not affect any other rules or provisions of these rules, and these rules must be construed as if such invalid, illegal or unenforceable rules or provision had never been contained in these rules.

RULE 2.5 GENERAL RULES

A. Computing Time: In computing any period of time prescribed or allowed by these rules, by order of the Board, or by any applicable statute, the day of the act, event or default from which the designated period of time begins to run, is not to be included, but the last day of the period so computed is to be included, unless it be a Saturday, Sunday, or legal holiday, in which event the period runs until the end of the next day which is neither a Saturday, Sunday, nor legal holiday.

B. Time Limit: Applications, requests, or other papers or documents required or permitted to be filed under these rules, or by law, must be received for filing at the Board’s office at Goliad, Texas, within the time limits, if any, for such filing.  The date of receipt and not the date of posting is determinative.

C. Show Cause Orders and Complaints: The Board, either on its own motion, or upon receipt of sufficient written protest or complaint, may at any time, after due notice to all interested parties, cite any person operating within the District to appear before it in a public hearing and require him to show cause why a suit should not be initiated against him in a district court, for failure to comply with the orders or rules of the Board or the relevant statutes of the State or for failure to abide by the terms and provisions of the permit of operating authority itself. The matter of evidence, and all other matters of procedure at any such hearing, will be conducted in accordance with these rules of procedure and practice.

D. All Goliad County wells and well owners shall comply with all applicable rules, orders, regulations, requirements, resolutions, policies, directives, standards, guidelines, or any other regulatory measures implemented by the District.

RULE 2.6 CHANGE OF PERMIT

A. A Permittee may apply for a transfer of ownership of any permit or registration granted by the District, and such transfer may be approved as a ministerial act upon filing the required information.  However, a transfer of ownership shall be approved as a ministerial act only if the transfer is to change the ownership of the permit and no other changes to the permit are requested.  This transfer of ownership rule shall apply only where there is a change of ownership or operation of the property on which the well is located and there is no change in location where the water is used.

B. Any permittee requesting a change from the purpose or in the same location stated in a permit or registration shall apply to the Board for continuation of the permit for the proposed changed use at the same or reduced rate of production.  The application for change of use shall be in the same form, and governed by the same standards, as the original water permit application.  The Board may request any additional relevant information the District considers necessary, to analyze the request for the amendment.

C.  Any permit application requesting an increased use on an existing permit requires notice, public hearing and Board approval.  A fee adjustment is required if the pumping rate increases to a new category.

RULE 3.1 PURPOSE OF BOARD

The Board was created to determine policy and regulate the withdrawal of groundwater within the boundaries of the District for conserving, preserving, protecting, and recharging the groundwater within the district, and to exercise its rights, powers, and duties in a way that will accomplish the purposes of the District Act effectively and expeditiously.  The Board’s responsibilities include, but are not limited to adoption and enforcement of reasonable rules and other orders.

RULE 3.2 BOARD STRUCTURE, OFFICERS

The Board consists of seven members qualified as required by the District Act.  The Board will elect one of its members to serve as President, to preside over Board meetings and proceedings; one to serve as Vice President to preside in the absence of the President; and one to serve as Secretary/Treasurer to keep a true and complete account of all meetings and proceedings of the Board.  The Board may elect officers annually, but must elect officers at the first meeting following the November election for directors of each even numbered year.  Except for temporary or initial director of the District, a director serves a four-year term.  Beginning in the second year following the confirmation election, an election shall be held on the first uniform election date in November every two years to select the appropriate number of directors to the board.  At the first election, directors for places 2, 4, and 6 shall be elected, and at the next election, directors for places 1, 3, 5, and 7 shall be elected.

RULE 3.3 MEETINGS

The Board will hold regular meetings as the Board may establish from time to time.  At the request of the President, or by written request of at least three members, the Board may hold special meetings.  All Board meetings will be held according to the Texas Open Meetings Law.

RULE 3.4 COMMITTEES

The President may establish committees for formulation of policy recommendations to the Board, and appoint the chair and membership of the committees.  Committee members serve at the pleasure of the President.  Committees shall not consist of more than three Board members and may include outside representation.

RULE 4

Reserved for future use

RULE 5 DISTRICT STAFF

RULE 5 .1 DISTRICT EMPLOYEES

- The Board of Directors, known as the Board, will employ a person to manage the District as the General Manager. The Board will set qualifications for the General Manager position and select the manager from qualified applicants. The Board will determine the duties and functions of the General Manager. The General Manager will have no powers, responsibility, authority or duties than those determined and bestowed on the General Manager by the Board. The Board will determine the compensation and allowances for the General Manager position and shall conduct yearly evaluations at a time so determined by the Board. The General Manager shall report to the President of the Board. The General Manager will participate in the selection and employing of additional employee(s) for the District. The

General Manager will have the authority to supervise additional employee(s) as determined by the Board. The General Manager will assist in determining the duties and evaluating the performance of the additional employee(s) of the District. The General Manager will report on the activities and duties of the office of the General Manager to the Board at regular called and special called meetings. The General Manager will be responsible for compiling and setting the Agenda for each meeting and will prepare a monthly financial report to be presented to the Board at a regular meeting of the Board. The General Manager will maintain the District’s office and supervise District employee(s) as set forth by the Board.

- The Board may from time to time employ additional personnel as necessary for the proper handling and performance of the business of the District. The duties of the additional employee(s) will be determined by the Board with the participation of the General Manager. Additional employee(s) may be employed on a part-time basis for a specific project or performance of a specific duty as determined by the Board.  The Board may designate an employee’s title or position by the duties performed or services provided, i.e.: Field Agent. The terms and conditions of employment for each employee will be described in the policies of the District.

RULE 6 DISTRICT

RULE 6 .1 MINUTES AND RECORDS OF THE DISTRICT

All documents, reports, records, and minutes of the District are available for public inspection, and copying.  Upon written application by any person, the District will furnish copies of its public records.  A copying charge will be established by the District.

RULE 7 OTHER DISTRICT ACTIONS AND DUTIES

RULE 7.1 DISTRICT MANAGEMENT PLAN

The District Management Plan specifies the acts, procedures, performance, and avoidance necessary to prevent waste of groundwater, provide for the protection, preservation and conservation of groundwater and prevent the adverse drawdown of the water table of the Gulf Coast Aquifer.  The District shall use the Rules of the District to implement the Management Plan.  The Board will review the Management Plan at least every tenth year.  If the Board considers a new plan necessary or desirable, based on evidence presented at hearing, a new plan will be adopted.  A plan, once adopted, remains in effect until the adoption of a new plan.

RULE 8 TRANSFER OF GROUNDWATER OUT OF THE DISTRICT

RULE 8 .1 PERMIT REQUIRED

Groundwater produced from within the District may not be transported outside the District’s boundaries unless the board has issued the well owner a transport permit.

RULE 8.2 APPLICABILITY

A groundwater transport permit is not required for transportation if the groundwater is to be used on property that straddles the district boundary line.
All in County utilities meeting the following requirements may be exempt from the requirement for a groundwater transport permit:

1. 95% of the total monthly volume of the water utility must be supplied within the district boundaries;

2. The monthly volume of water transported out of the district shall not exceed 5% of the utility’s corresponding monthly demand.

RULE 8 .3 APPLICATION:  TRANSPORT PERMIT

An application for a transport permit must be filed in the District office and must include the following information:

1. The name and mailing address of the owner and/or operator of the transportation facility.

2.  A statement of the nature and purpose of the proposed use and the amount of water to be used for each purpose.

3.  A water-conservation plan and a drought contingency plan.

4.  The legal description of the location of the well(s) and transportation facilities.

5.  Proof of notification of all landowners adjacent to the property where the well or wells are located and all well owners within one-half mile of any of the proposed production wells.

6.  A technical description of the transport facilities.

7.  The permit number of the well or wells used to produce water to be transported.

8.  The name and address of the water right owners(s).

9.  The time schedule for construction and/or operation of the facility.

10. Any additional information required by the Board to process the permit.

11. The availability of water within the district and in the proposed receiving area during the period for which the

water supply is requested.

12. The Applicant must show an analysis projecting the effect of the proposed transfer of water based on

aquifer conditions, depletion, subsidence or effects on existing permit holders or other groundwater users within

the district.

13.  A comprehensive mitigation plan addressing Rule 12.9 mitigation.

RULE 8 .4 HEARING AND PERMIT ISSUANCE

A.    Applications for transport permits are subject to the hearing procedures provided by these rules.

B.    In determining whether to issue a permit to transfer groundwater out of the District, the Board shall consider;

1. Availability of water in the District and in the proposed receiving area; during the period for which the water supply is requested;

2. Availability of feasible and practicable alternative supplies to the applicant;

3. The amount and purposes of use for which water is needed in the proposed receiving area;

4. The projected effect of the proposed transfer on aquifer conditions, depletion, subsidence, or effects on existing permit holders or other groundwater users within the District;

5. The indirect costs and economic and social impacts associated with the proposed transfer of water from the    District;

6. The establishing of an export fee;

7.  The approved regional and state water plan, and the certified District Management Plan;

8. Other facts and considerations considered necessary by the District’s Board for protection of the public health and welfare and conservation and management of natural resources in the District.

9. The amount of groundwater required for future economic development within the boundaries of Goliad County Groundwater Conservation District.

C. Under no circumstances shall a transport permit be issued for an amount of groundwater that jeopardizes future economic development within the boundaries of Goliad County Groundwater Conservation District.

D. The transport permit shall specify the amount of water that may be transferred out of the District and the period for which the water may be transferred, in accordance with Section 36.122 of the Texas Water Code.

E.  Permit conditions.  The transport permit, in addition to the application information and considerations, shall include the following terms and conditions:

1.  The date that the permit is to expire if no transportation facility is constructed;

2. A requirement that the water will be put to a beneficial use at all times;

3. Conditions and restrictions, if any, placed on the rate and amount of water transported;

4. The period for which the groundwater production is permitted;

5. The export fee negotiated between the District and the producer/transporter.

F. The District shall impose a reasonable application fee and export fee for transport permits.  Such fees shall comply with the requirements in Section 36.122(e).

G.  The term for the initial transport permit shall be three years.  If construction of a conveyance system is begun before the expiration of the initial 3 year permit, the term will be extended to a 30 year term from initial permit issuance.

H.  The District may, every three years, review the amount of water that may be transferred out of the District under a permit and may limit the amount of water that may be transferred out of the District under permit and may limit the amount of water which may be transferred, after a consideration of the factors set forth in Rule 8 B & C and all relevant current data for conservation of groundwater resources in the District.  At any time during the term of a transport permit, the District may revise or amend the permit if the use of water unreasonably affects existing groundwater and surface water resources or existing Permit Holders.

RULE 9 – TRANSPORTATION OF WATER WITHIN THE DISTRICT

A.  Registration required.

1. Every person who produces water from permitted wells located, within the District, when all or any part of such water is transported for use, off the property from which the water is produced, but within District, must register the production under this Rule.  The term “property from which water is produced,” as used in this subsection, shall be construed to mean water rights owned by an entity within a continuous perimeter boundary situated within the District.  Transportation of water requiring registration under this Rule includes transportation by pipeline, vehicle, channel, ditch, watercourse or other natural or artificial facilities, or any combination of such facilities.

B.  Registration application:

1. The registration provided for herein must be filed with the District, in the form or forms promulgated by the District hereunder, and such registration must be obtained from the District, prior to the proposed transporting of water, all in accordance with the provisions of this Rule.

2. An application for the transportation of water for which a registration is required under this Rule must:

a.  be in writing;

b.   contain the name, post-office address and place of residence or principal office of the applicant;

c.   identify the actual or anticipated number, location, pump size and production capacity of the wells from which the water to be transported is produced or to be produced;

d.   describe as specifically as feasible the anticipated proposed transportation facilities;

e.   state the nature and purposes of the proposed use and the anticipated amount of water to be used for each purpose;

f.   state the anticipated time within which any proposed construction or alteration is to begin;

g.   state the presently anticipated duration required for the proposed use of the water;

h.   provide information showing the anticipated effect of the proposed transportation on the quantity and quality of water available for future use, both inside and outside the District;

i.   identify any other presently-owned sources of water, the availability of which is both technically feasible and economically reasonable for the entity, that could be reasonably used for the stated purposes, including quality and quantity of such alternate sources;

j.   identify any other liquids, the availability of which is both technically feasible and economically reasonable for the entity, that could be reasonably substituted for the fresh ground water and possible sources of such liquid, including quantity and quality;

k.   provide information showing what water conservation measures the entity has adopted, what water conservation goals the entity has established, and what measures and time frames are necessary to achieve the entity’s established water conservation goals; and

l.   if the water is to be resold to others, provide a description of the entity’s service area, entity’s metering and leak detection and repair program for its water storage, delivery and distribution system, entity’s drought or emergency water management plan, and information on each customer’s water demands, including population and customer data, water use data, water supply system data, wastewater data, water conservation measures and goals, and the means for implementation and enforcement.

3. The application must be accompanied by a map or plat drawn on a scale that adequately details the proposed project, showing substantially:

a.   the location of the existing or proposed well(s);

b.   the location of the existing or proposed meter(s) for compliance to section (k) of this Rule;

c.   the location of the existing proposed water transporting facilities; and

d.   the location of the proposed or increased use or uses.

4. The General Manager shall determine whether the application, maps, and other materials comply with the requirements of this rule and may require amendment of the application, maps, other.

5. Official Fire Departments in the district are exempt from this rule.  An annual report of estimated groundwater usage is beneficial to assist the District in water management.

RULE 10 ENFORCEMENT OF RULES

- All Rules duly adopted, promulgated, and published by this District shall be enforced as provided for under Chapter 36, Texas Water Code and subsequent changes thereto.

- If it appears that, a person has violated, is violating; or is threatening to violate any provision of the District Rules the Board of Directors may institute and conduct a suit in the name of the District for enforcement of Rules through the provisions of Chapter 36.102 Texas Water Code.

- Violation of any District Rule shall be subject to a civil penalty not to exceed $10,000 per day per violation and each day of a continuing violation constitutes a separate violation.  GCGCD will use the following guidelines in implementing official action concerning violations of GCGCD Rules and operating permits:

- First offense- an official letter from GCGCD with statement to be signed and returned to District with acknowledgement of :  receipt of letter, noted violation, and understanding of District rules and penalties.

- Hearing at regular Board meeting at which time the following penalties shall be considered:

Second offense – Applicable operational penalties and a fine up to $1,000.  An official letter of notification is to be sent to the State.

Third offense – Applicable operational penalties and a fine up to $5,000.  An official letter of notification is to be sent to the State.  In the case of a violation by a water well driller, this would be a loss of the privilege to drill water wells in Goliad County.

Fourth offense –  Applicable operational penalties and a fine up to $10,000.

The District may enforce this chapter, and its Rules, by injunction, mandatory injunction, or other appropriate remedy, in a court of competent jurisdiction.

- The Board may set reasonable civil penalties for breach of any Rule of the District which penalty shall not exceed the jurisdiction of a justice court, as provided by Section 27.031, Government Code.

- A penalty under this section is in addition to any other penalty provided by the law of this state and may be enforced by complaints filed in a court of competent jurisdiction in Goliad County, Texas.

- If the District prevails in any suit to enforce its Rules, it may, in the same action, recover reasonable fees for attorneys, expert witnesses, and other costs incurred by the District before the court.  The amount of the attorney’s fees shall be fixed by the court.

H.  In the event that the violator of a District Rule refuses to pay a monetary fine or comply with other provisions of the fine imposed by the District, the District may deny the violator of future privileges provided by the District Rules until the conditions of the fine have been remedied.

RULE 11 REGISTRATION/ PERMITS

RULE 11 .1 REGISTRATION OF NEW WELLS

A. It is a violation of these Rules for a well owner, well operator, or water well driller to drill any well without the water well registration form being filed with and approved by the District.  This includes the GPS location determined by a representative of the District.

B. All new wells must be registered by the well owner, well operator, or water well driller prior to being drilled.  The District staff will review the registration and make a preliminary determination on whether the well meets the exclusions or exemptions provided in Rule 12.8.  Providing the preliminary determination is ruled the well is excluded or exempt, the registrant may begin drilling immediately upon receiving the approved registration.  After an exempt well is completed and in operation, information required under Rule 11.2 must be provided to the District within 30 calendar days.

RULE 11.2 REQUIREMENT OF DRILLING NOTIFICATION, DRILLER’S LOG, CASING, AND PUMP DATA

Complete records shall be kept, and reports thereof made to the District, concerning the drilling, equipping and completion of all wells drilled.  Such records shall include an accurate driller’s log, any electric logs that have been made, and any additional data concerning the description of the well, its discharge, and its equipment as may be required by the Board.  Such reports shall be filed with the District Board at its office in Goliad, Texas, within 30 days after completion of the well.  The driller is to notify the District office 24 hours prior to commencing of drilling and is to allow non contact observation of the drilling and casing of the well by District representative(s).

RULE 11.3 TIME DURING WHICH A DRILLING PERMIT OR REGISTRATION SHALL REMAIN VALID

Except as provided in the Rules, any drilling permit or registration granted shall expire if the work is not completed within 60 days from the date of approval by the Board.  It shall thereafter be void.  The Board, for good cause, may extend the life of such permit for an additional 60 days if an application for such extension shall have been made to the Board during the first 60-day period.   When it is made known to the Board that a proposed project will take more time to complete, the Board, upon receiving written application, may grant such time, as is reasonably necessary to complete such project.  Well locating fees are not refundable.

RULE 11.4 REGISTRATION OF GRANDFATHERED WELLS

- Registration of wells that are grandfathered under Rule 12.8(g) is voluntary.  The Board recommends that all Grandfathered wells be registered so that these wells can be protected and that their Grandfathered status can be guaranteed.

- If a well that qualifies to be grandfathered is not registered by Feb. 6, 2004, the owner must show proof of ownership of a well or wells, prior to this date, to receive Grandfathered status after that date for the purpose of establishing historical use.  Proof can be well drillers logs, a drilling receipt, third party confirmation of existence of wells, or dated document showing ownership and existence of wells prior to February 6, 2003.

- All Grandfathered wells are subject to verification by the Board.

RULE 12 GROUNDWATER USE

RULE 12.1 HISTORIC GROUNDWATER USE

A. A historic use well is a well that is “grandfathered” under the provisions of Rule 12.8(g), is registered under the provisions of Rule 11.4, and continues to be used for the same purpose(s) and quantity for which it was used prior to receiving grandfathered status. A historic use well applies only to wells that are producing groundwater for use within the District. A historic use well maintains an exempt status as long as it meets these requirements.

B. The District will review all registered grandfathered wells that exist on the date that this rule is adopted to identify those wells that are capable of producing more than 25,000 gallons per day. The District will verify the well data with the owner and after verification will issue a Historic Use Allocation Certificate (HUAC). The purpose of a HUAC is to assist the District in accurately determining the amount of groundwater being used (allocated) in the District.  In determining the amount of groundwater used, drought conditions need to be considered.  Allocation of available groundwater is most critical during drought conditions.

C. The HUAC shall include the number of the grandfathered well registration, the name of the landowner, and the description of the tract of land on which the well or well system is located.

- The HUAC shall include the following information to the extent that the information is available to the user through the exercise of reasonable and diligent efforts:

- The use(s) of the water for which the well was drilled.

- Annual average estimated groundwater production history of the well.

3. The maximum annual production of the well or well system, and in what year(s).

- The HUAC is issued to the property owner and heirs for the use(s) designated. The HUAC is transferable to a new property owner only if the use(s) is (are) the same as that of the previous owner.

- There is no known historic long term export of groundwater from the District. A HUAC is intended for in District use of groundwater only and is not applicable to any export of groundwater from the District.  Any identification in the future of historic use of groundwater that is not covered under this rule will be addressed by the Board in a fair and equitable manner.

- Historic use wells that have not been registered at the time of adoption of this rule must follow the procedure outlined in Rule 11.4(b) to establish grandfathered status before being eligible to receive a HUAC.

- Registration for a HUAC is voluntary.  The sign up period to issue a HUAC for wells that are registered at the time this rule is adopted is until December 31, 2007.  The sign up period for a HUAC for additional grandfathered wells established under Rule 12.1(g) is six (6) months or December 31. 2007.

I. Change in use of a HUAC well and/or increased use over its production history invalidates the HUAC and subjects this groundwater use to permitting.

RULE 12 .2 GENERAL PERMITTING POLICIES AND PROCEDURES

A. Drilling Permit Requirement - The well owner, well operator, or any other person acting on behalf of the well owner, must file a completed well registration for a water well drilling permit before a well may be drilled.  No person shall hereafter begin to drill a well, or perforate an existing well, or increase the size of a well, or a pump therein, so that the well could reasonably be expected to produce in excess of 25,000 gallons of water per day, without having first applied to the District and received a permit to do so, unless the drilling and operation of the well is exempt by law or by these Rules.  An applicant may commence the drilling of a well when his application has been approved and a permit issued by the District Board of Directors.  A permit issued by the District Board of Directors shall not be a guaranty of the availability of water.

1.  An application for a well drilling permit is subject to spacing and production limitations.

2.  Even though exempt by law from permitting under Chapter 36.117 of the Texas Water Code and amendments thereto all new wells must be registered with the District on a form provided by the District prior to the drilling of the well.  See Appendix A.  All such wells shall be equipped and maintained in accordance with these Rules as to drilling, installation of casing, completion, pipe and fittings to prevent the escape of groundwater from a groundwater reservoir to any reservoir not containing groundwater and to prevent the pollution or harmful alteration of the character of the water in any groundwater reservoir.  The District will designate the registration number for each exempt well located within the District Boundaries.

B. Operating Permit Requirement - Within 30 days after a well is drilled, the well owner or well operator must file a completed operating permit application, if not previously issued, prior to operating the well.  The operating permit must be approved by the Board of Directors and remain permitted until an operating permit is no longer required for the well/well system.  See Appendix.

C.  Permit Applications - Each Original application for a water well drilling permit, operating permit, and permit renewal requires a separate application.  Application forms will be provided by the District and furnished to the applicant upon request.  The application for a permit must be in writing and sworn.  See Appendix.

D.  Notice of Permit Hearing - Once the District has received a completed original application for a water well drilling permit and/or operating permit, the General Manager, or Board will issue written notice indicating a date and time for a hearing on the application in accordance with these rules.  The District may schedule as many applications at one hearing as deemed necessary.

E.  Decision and Issuance of Permit.  In deciding whether or not to issue a permit, and in setting the terms of the permit, the Board must consider the District Rules and whether:

1. The application conforms to the requirements prescribed by Chapter 36 and is accompanied by the prescribed fee;

2. The proposed use of water unreasonably affects existing groundwater and surface water resources or existing permit holders;

3. The proposed use of water is dedicated to any beneficial use;

4. The proposed use of water is consistent with the District’s certified Water Management Plan;

5. The applicant has agreed to avoid waste and achieve water conservation; and

6. The applicant has agreed that reasonable diligence will be used to protect groundwater quality and that the applicant will follow well plugging guidelines at the time of well closure.

F. Operating Permits.  On approval of an application, the District shall issue an Operating Permit to the applicant.  The permittee’s right to produce shall be limited to the extent and purposes stated in the permit.  The permit shall be valid for a period of 3 years, at which time the permit may be renewed.  Operating permits are site specific, and a permitted groundwater production allowance is restricted to production from the permitted well.  A permit shall not be transferable except as provide in Rule 12.4.  Any change in use as stated on the permit will require a new application to GCGCD and a new permit fee as per schedule.

G. Effect of Acceptance of Permit.  Acceptance of the permit by the person to whom it is issued constitutes acknowledgment of an agreement to comply with all of the terms, provisions, conditions, limitations, and restrictions contained in the permit.

H. An operating permit shall be considered for renewal if the permittee has been in compliance with the conditions of the permit and the District rules.  After review of the permit and any public input related to the permitted well, the Board, at a scheduled meeting may grant a three year permit renewal.  A permit renewal can be granted only for the original or reduced pumping allocation. After review of public input, the Board may choose to subject the operating permit renewal to a public hearing.  A new operating permit fee would not be applicable.

I.  The Board may issue a drilling permit and operating permit at the same hearing.  The Board reserves the right to defer a decision on the operating permit until after the well has been drilled and well data has been provided. The operating permit fee is payable at the time the operating permit application is filed.  If the well is not drilled and the operating fee was paid prior to drilling, the operating fee will be refunded.  If the well is drilled and the operating fee was paid prior to drilling, the operating fee will be refunded only if the drilling operation was unsuccessful and the hole is properly plugged.

RULE 12.3 OPERATING PERMIT REQUIRED

Within 30 days of completion of drilling a new non-exempt well, the owner or operator of the well shall file with the District, on forms provided by the District, an application for a Water Well Operating Permit.  The application shall reference the drilling permit number assigned to that well by the District. The initial operating permit application for a 3 year permit shall be reviewed and approved by the Board of Directors after public hearing prior to operation of the well. The approved permit shall be reviewed every three years and Board renewal approval is required in order to continue operation of the well.

RULE 12.4 OPERATING PERMIT PROVISIONS

All permits are granted subject to these rules, orders of the Board, and the laws of the State of Texas.  In addition to any special provisions or other requirements incorporated into the permit, each permit issued must contain the following standard permit provision:

A. This permit is granted in accordance with the provisions of the Rules of the District, and acceptance of this permit constitutes an acknowledgment and agreement that the permittee will comply with the Rules of the District.

B. This permit confers only the right to operate the permit under the provisions of Rule 12.6.   To protect the permit holder from the illegal use by a new landowner, within 10 days after the date of sale, the operating permit holder must notify the District in writing the name and contact information of the new owner.  Any person who becomes the owner of a currently permitted well must, within 20 calendar days from the date of the change in ownership, file a transfer of ownership application to affect a transfer of the permit.

C.  Production from non-exempt wells except those covered under Rule 12.4 (E) shall be reported annually by the operator on a form provided by the District.  If reports are not returned on time, penalties as described in Rule 10 of the GCGCD Rules will be applied and renewal of permit may be denied.

D.  The operation of the well for the authorized withdrawal must be conducted in a non-wasteful manner.

E.  Production from all non-exempt wells for water sales in or outside of the District must be metered by the owner or operator using a device or method that is within plus or minus 2% of accuracy.  Measured or estimated water use shall be reported to the District monthly.  Water use may be verified by District.  Water sales may be verified by the District.

F. The well site must be accessible to District representatives for inspection, and the permittee agrees to cooperate fully in any reasonable inspection of the well and well site by the District representatives.

G. The application pursuant to which this permit has been issued is incorporated in this permit, and this permit is granted based on and contingent upon the accuracy of the information supplied in that application.  A finding that false information has been supplied is grounds for immediate revocation of the permit.

H.  Violation of this permit’s terms, conditions, requirements, or special provisions, including pumping amounts in excess of authorized withdrawal, is punishable by civil penalties as provided by the District Rules.

RULE 12.5 OPERATING PERMIT LIMITATIONS

A.  Maximum Authorized Withdrawal. It is a violation of these rules to pump any amount of water over the authorized permit amount.

B.   Operating Permit Required. It is a violation of these rules to pump a well while awaiting approval by the Board of Directors.

RULE 12.6 PRODUCTION LIMITATIONS

A. To fulfill its obligation for conservation and protection of groundwater for all in County users, Goliad County Groundwater Conservation District shall maintain rules to manage the Gulf Coast Aquifer on a sustainable basis.  Water level data will also be used to consider compliance with GMA 15 Desired Future Conditions (DFC) criteria.  To that end Goliad County Groundwater Conservation District shall work with other Groundwater Conservation Districts in the management area to achieve that common goal.

B. Individual permits shall specify allowable pumping rates subject to curtailed rates in the event that monitored water levels drop below levels designated in the permit.  The maximum allowable drawdown is 10 feet at the permit boundary.

GCGCD will maintain a water level monitoring program and use this data in determining approval of setting allowable pumping.

C. Subject to pumping limits imposed due to water level decline, in no event may a well or well system be operated such that the total annual production exceeds ½ (one half) acre foot of water per acre, per year, owned or operated, within the same section.

D. A well or well system may only be permitted to be drilled and equipped for the production of a cumulative total of ten (10) gallons per minute (GPM) per contiguous acre owned or operated.

E. Due to the complexity and variable nature of the Gulf Coast Aquifer in Goliad County, the maximum allowable well size is based on the location in the county.  Refer to the section map in the appendix dividing the county into 3 sections:  the north zone, the central zone (San Antonio River Basin), and the south zone.

FOR ALL REGISTERED AND PERMITTED WELLS IN GOLIAD COUNTY GCD

| ZONE | MAXIMUM PUMPING | MAXIMUM AF/Y | MINIMUM DEPTH TO SCREEN |
| --- | --- | --- | --- |
| NORTH- EVANGELINE | 17 gpm | 27 | none |
|  | 100gpm | 35 | 200' |
|  | 100 gpm | 50 | 300' |
|  | 200 gpm | 200 | 400' |
| BELOW EVANGELINE | 800gpm | unlimited | varies |
| SOUTH - CHICOT | 17 gpm | 27 | none |
|  | 100 gpm | 35 | 200' |
|  | 100 gpm | 50 | 300' |
| SOUTH - EVANGELINE | 600gpm | 200 | 400' |
| BELOW EVANGELINE | 800gpm | unlimited | varies |

These values are for single well systems and may be reduced for multiple well applications based on water quality and drawdown data.  Wells screened in multiple aquifers can be permitted for greater capacities as determined by the Board at the operating permit hearing and approval.

In order to assure protection of upper aquifer zones and to avoid water channeling between the casing and a drilled hole, an industry approved seal is to be installed above the first screen depth allowed.

F. In-County utilities that supply water to the public may use part of the acreage within their service area to meet the production acreage requirement if the well is located or to be located within their service area.

RULE 12.7 WELL SPACING REQUIREMENTS

A. For exempt domestic wells incapable of producing more than 25,000 GPD, a new well may not be drilled within 135 feet from the property line or water rights line of any adjoining landowner or the boundary line of a water rights owner.  The minimum distance from the property line shall always be a minimum of 50 feet for those whose applications do not meet the 135 foot rule.

B. Minimum distance from any existing or proposed septic system whether on owner’s property or adjacent property, must meet county standards.

C. The spacing for permitted wells is established by the permitted flow in GPM and the cumulative rate established in Rule 12.6.  The minimum distance from the property line of any non-participating adjoining landowners is one-half the minimum well spacing distance.  Example: Multiple wells producing 500 GPM, 500 GPM = 807 acre feet per year = 1,614 acres owned, leased per well; 500 GPM divided by 10 GPM per contiguous acre = 50 acres per well spacing = 1,476 feet between wells.

D. All subdivisions platted after Jan. 1, 2003 shall meet district well spacing rules.

E. In determining the minimum distance from the property line for a new well, the District may grant a variance to the standard rules provided that the minimum water rights acreage requirement is met.  The District shall apply reasonable judgment in applying this rule when the shape of the property or other obstacles would create a hardship to the well owner to meet the standard rules.  The minimum distance of 50’ from the property line referred to in 12.7(A) shall apply.  To determine minimum distance to property line: Permit requested gpm/10gpm=acres per well spacing X 43,560 (sq.ft. in an acre)= total square feet.  √ of total square feet=distance required between wells if multiple wells.  If single well/2 = distance to property lines.

RULE 12.8 EXCLUSIONS AND EXEMPTIONS

The permit requirements in Rule 12.2 do not apply to:

A. A well drilled or equipped such that it is incapable of producing more than 25,000 gallons of groundwater per day for domestic use such as for drinking water, cooking, and washing; provided that the minimum acreage is 1.7 acres.

B. A well used for providing water for livestock or poultry on a tract of land larger than ten (10) acres that is either drilled, completed, or equipped so that it is incapable of producing more than 25,000 gallons of groundwater a day;

C. A well used solely for domestic use on a tract of land less than 1.7 acres provided that the maximum pumping capability is adjusted on the basis of 10 gallons per minute per acre, i.e. a tract of 1.1 acres has a maximum pumping capacity of 11 gallons per minute and the minimum spacing requirements are met.

D. Irrigating a garden or orchard, if the produce of the garden or orchard is to be consumed by the individual, family or household;

E. The drilling of the water well used solely to supply water for a rig that is actively engaged in drilling or exploration operations for an oil or gas well permitted by the Railroad Commission of Texas provided that the person holding the permit is responsible for drilling and operation the water well and the well is located on the same lease of field associated with the drilling rig. (See Appendix 20.F) This exemption does not apply to the use of groundwater for the purpose of fracturing an oil or gas well or for the use of groundwater in any application during the production of an oil or gas well.  Groundwater use for fracturing an oil or gas well or groundwater used in any way for the production of an oil or gas well is subject to the permitting rules of the District.  If the landowner requests, no well shall be screened in the same aquifer zone or higher zone than the landowners domestic and livestock supply wells.  (Note:  needs to be added to registration forms).

F. The drilling of a water well authorized under a permit issued by the Railroad Commission of Texas under Chapter 134, Natural Resources Code, or for production from such a well to the extent the withdrawal is required for mining activities regardless of any subsequent use of the water;

- All wells drilled prior to adoption of the management plan approved Feb. 6, 2003 shall be “grandfathered”, provided that the use of water is within the District.

H.Water produced by an exempt well may not be sold.

- Rule 12.8 shall be in compliance with Chapter 36, State Water Code 36.117

- All exempt wells are subject to the minimum screen depth limits outlined in Rule 12.6.E

RULE 12.9 MITIGATION

In order to ensure no significant effects on existing groundwater and/or surface water resources, the District shall require the completion of an evaluation sheet for potential mitigation.  The purpose of this evaluation is to determine the possible effects of the application upon the registered or permitted well owners that could be potentially affected by the application.  This evaluation must address the eight issues listed below.

This evaluation sheet is to accompany and be part of the drilling/operating permit application hearing by the Board.  Based on the provided data such as location of the well(s) in the District, proposed depth and completion zones, permitted acreage, proximity to adjacent landowners and natural features such as springs, the Board will determine for each application any applicable mitigation requirements.  The evaluation shall include, but not be limited to the following:

1. The actions and procedures to be taken by the holder of the drilling and production permit in the event that pumping causes the water level in a registered or permitted well to drop to an unacceptable level as defined in the permit.

2. The actions and procedures to be taken by the holder of the drilling and production permit in the event that the pumping from the permitted well causes the water to become objectionable or renders the water unusable to the registered or permitted well owner as defined in the permit.

3. The actions and procedures to be taken by the holder of the drilling and production permit in the event that pumping causes the well casing or equipment to be damaged so that the recorded quality or quantity of water cannot be produced by the registered or permitted well owner.

4. The actions and procedures to be taken by the holder of the drilling and production permit in the event that pumping causes springs or artesian wells used for beneficial purpose to stop flowing.

5. The plan shall also include measures to be taken in cases where the reduction of artesian pressure causes an emergency to arise, which may threaten human or animal health, safety, or welfare.

6. The plan shall also contain a specifically enumerated time schedule for the execution of the mitigation plan as agreed to by the producer and the Board.

7. In the issuance of an operating permit, the Board may require of the operating permit holder the establishment of an escrow fund to protect existing users as required by Texas Water Code Chapter 36.113 and Chapter 36.1131.  This escrow fund is to be deposited with the District.  The administration and disbursement of this escrow fund is at the sole discretion of the Board.

8.  The actions and procedures to be taken in the event that groundwater engagement contaminates a user’s drinking water supply.

RULE 12.10 GEOTHERMAL LOOPS

- Definition:  Closed Loop Geothermal Well, TDLR Chapter 76.10 (10), “A vertical closed system well used to      circulate water, and other fluids or gases through the earth as a heat source or heat sink”.

  - Application and fee must be submitted to the Goliad County Groundwater Conservation District (GCGCD) office before drilling may begin.  The District will charge a one-time administrative fee of $200 for the drilling application for the borehole and /or a series of boreholes.  A drilling log shall be filed with the State of Texas and GCGCD.  A file will be maintained in the GCGCD district offices of the drilling and equipping.

  - The closed loop geothermal system shall be designed and installed by an accredited installer.  The design shall be submitted to GCGCD prior to approving the application. The installer shall notify the district prior to installation.

  - A licenses water well driller shall drill the boreholes.  The driller shall notify the district prior to drilling.

  - A GCGCD representative shall be allowed on the property to inspect the drilling of the borehole, installation and sealing of the closed loop piping.

  - Construction of the borehole will follow TDLR regulation described in Technical Standards Chapter 76.1000 (b) (5) of the TDLR rules.  “The annular space of a closed loop geothermal well used to circulate water or other fluids shall be backfilled to the total depth with impervious Bentonite or similar material…”

  - Spacing:  Any borehole shall be located a minimum horizontal distance of fifty (50) feet from any watertight sewage and liquid-waste collection facility, and a minimum horizontal distance of 100 feet from the nearest property line.

- Definition:  Open Loop Geothermal Well – Groundwater drawn from an aquifer through one well, passed through the heat pump’s heat exchanger, and discharged to the same aquifer through a second well at a distance from the first.

  - An open loop geothermal heat sink system into the Chicot or Evangeline Aquifers is prohibited.

  - Groundwater is not to be used to pump into a surface pond for the purpose of serving as a cooling pond.  There are limited groundwater supplies and evaporation from a surface cooling water application is categorized as a waste of groundwater.

RULE 13 REWORKING AND REPLACING A WELL

RULE 13.1 PROCEDURES

A. An existing well may be reworked, re-drilled, or re-equipped in a manner that will not change the existing well status.

B.  A permit must be applied for and the Board will consider approving the permit, if a party wishes to increase the rate of production of an existing well to the point of increasing the size of the column pipe and gpm by reworking, re-equipping such well.

- A permit or well registration must be applied for and granted by the Board if a party wishes to replace an existing permitted well with a replacement well.

D. A replacement well, in order to be considered such, must be drilled within 30 feet of the existing well and shall not be drilled nearer the property line than 50 feet provided the original well was “grandfathered” by registration prior to February 6, 2004.  The District may allow a greater distance of 30 feet from the existing well if there is good cause such as providing better safety or providing a greater distance from a potential pollution source.  A well drill after February 6, 2004 cannot be considered as a replacement well if the well to be replaced was not registered prior to February 6, 2004.  In this case, the newly drilled well will be classified as a new well.  For a well to be considered a replacement well, the well that is replaced must be plugged or capped and not be used.  .  A replacement well must be registered whether it is permitted or not.

RULE 14 WELL LOCATION AND COMPLETION

RULE 14.1 RESPONSIBILITY

After an application for a well permit has been granted, the well, if drilled, must be drilled within 30 feet of the location specified in the permit, meet other spacing requirements and not elsewhere.  If the well should be commenced or drilled at a different location, the drilling or operation of such well may be enjoined by the Board pursuant to Chapter 36, Texas Water Code.  As described in the Texas Water Well Drillers’ Rules, all well drillers, and persons having a well drilled, deepened, or otherwise altered shall adhere to the provisions of the rule prescribing the location of wells and proper completion.

RULE 14.2 LOCATION OF DOMESTIC AND LIVESTOCK (OR EXEMPT) WELLS

A. A well must be located the minimum horizontal distance from any sewage facility or waste collection facility in compliance with regulations specified by Goliad County, GCGCD and Texas Department of Licensing and Regulation rules.  GCGCD uses TDLR distance of 50’ from a watertight sewage facility and liquid waste collection facility. The minimum distance required from the septic system drain field or spray area will be 100’.

B. A well must be located a minimum horizontal distance of 150 feet from any contamination, such as existing or proposed livestock or poultry yards, privies.

C. A well must be located at a site not generally subject to flooding; provided, however, that if a well must be placed in a flood prone area, it must be completed with a watertight sanitary well seal and steel casing extending a minimum of 24 inches above the known flood level.

D. No well may be located within five-hundred (500) feet of a sewage treatment plant, solid waste disposal site, or land irrigated by sewage plant effluent, or within three-hundred (300) feet of a sewage wet well, sewage pumping station, or a drainage ditch that contains industrial waste discharges or wastes from sewage treatment systems.

E.  Special cementing is allowed when approved by the Goliad County or TDLR inspector for compliance with septic system installations regulations.

RULE 14.3 STANDARDS FOR WATER WELL DRILLERS AND WATER WELL PUMP INSTALLERS

All water wells drilled or re-completed for others in the District must be performed by a licensed driller in accordance with Chapter 340 TCEQ.   All water wells drilled and water well pumps installed must be in accordance with Chapter 238 TCEQ.  For added protection from contamination of groundwater a minimum of 20’ of casing from the surface down is to be cemented with a minimum of 4 to 1 sand to cement ratio material.

RULE 15 WASTE AND BENEFICIAL USE

RULE 15.1 WASTE

A.  Underground water shall not be produced within, or used within or outside the District in such a manner as to constitute waste as defined in Rule 1K.

B.  Pumping groundwater into a surface earthen tank that does not hold water is considered waste.

C.  The use of groundwater when alternative water supplies are available may be considered waste.

D.  The use of groundwater for cooling when alternative methods are available may be considered waste.

E.  Any person producing or using groundwater shall use every possible precaution in accordance with reasonable methods to stop and prevent waste of such water.

RULE 15.2 USE FOR A BENEFICIAL PURPOSE

A. Agricultural, gardening, domestic, stock raising, municipal, mining, manufacturing, industrial, commercial, recreational, or pleasure purposes.  The use of groundwater to pump into a surface stock tank is permitted for a beneficial use but is limited to 50 percent of the depth of the stock tank.  The stock tank can be of larger dimension.

B. Exploring for, producing, handling, or treating oil, gas, sulphur, or other minerals.

C. Any other purpose that is useful and beneficial to the user.

D.  Beneficial use of groundwater is subject to meeting conditions defined in Rule 1 “Waste”.

E.  Beneficial use is subject to the provisions of Rule 12.9 “Mitigation”.

F.  Beneficial use is limited to the provisions of Rule 12.6 “Production Limitations”.

G.  When groundwater is considered for a beneficial purpose other than for drinking water, alternative water supplies       should be utilized first.

H.  When groundwater is used for a beneficial purpose, recovery and reuse in the area of withdrawal should be implemented when feasible.

RULE 16 FEES

| Registration of Grandfathered Wells, Replacement Wells and Wells existing prior to 2-4-03. |  | No charge |
| --- | --- | --- |
| Registration of New Exempt Wells and Wells for Oil and Gas Exploration-Drilling permit for nonexempt well (applied to operating permit if applicable). Registration fees for “after the fact” registrations are double the regular registration fee. |  | As set by Board |
| Operating Permit of a Non Exempt Well with a capacity up to: | 17 gpm 100 gpm 120 gpm 140 gpm 160 gpm 180 gpm 200 gpm 220 gpm 240 gpm 260 gpm 280 gpm | $50.00 $ 100.00 $ 120.00 $ 140.00 $ 160.00 $ 180.00 $ 200.00 $ 220.00 $ 240.00 $ 260.00 $ 280.00 |
|  | 300 gpm 320 gpm 340 gpm 360 gpm 380 gpm 400 gpm 420 gpm 430 gpm 440 gpm 460 gpm 480 gpm | $ 300.00 $ 320.00 $ 340.00 $ 360.00 $ 380.00 $ 400.00 $ 420.00 $ 430.00 $ 440.00 $ 460.00 $ 480.00 |
|  | 500 gpm 520 gpm 530 gpm 540 gpm 560 gpm 580 gpm 600 gpm 620 gpm 640 gpm 660 gpm 680 gpm | $ 500.00 $ 520.00 $ 530.00 $ 540.00 $ 560.00 $ 580.00 $ 600.00 $ 620.00 $ 640.00 $ 660.00 $ 680.00 |
|  | 700 gpm 720 gpm 740 gpm 760 gpm 780 gpm 800 gpm | $ 700.00 $ 720.00 $ 740.00 $ 760.00 $ 780.00 $ 800.00 |

RULE 17  - DESIRED FUTURE CONDITIONS (DFC)

GCGCD is a member of GMA 15 and is required, along with the other member of GMA 15, to adopt a DFC to manage the groundwater resources.
GCGCD has also adopted that GCGCD will manage groundwater availability from the Gulf Coast Aquifer on a sustainable basis to the extent possible.

GCGCD utilizes various tools to manage groundwater availability, including modeling, water level data, and water quality data.  Rules will be implemented on a local or district-wide basis, as required.  Empirical data will take precedence over modeled data.

The current DFC applies.

RULE 18 HEARINGS

RULE 18.1 TYPES OF HEARINGS

The District conducts two general types of hearing: hearings involving permit matters, in which the rights, duties, or privileges of a party are determined after an opportunity for an adjudicative hearing, and rulemaking hearings involving matters of general applicability that implement, interpret, or prescribe the law or District policy, or that describe the procedure or practice requirements of the District.

RULE 18.2 NOTICE OF HEARINGS

A. Rule Making Hearings shall be noticed and conducted according to Chapter 36.101 of the Texas Water Code and any future revisions to Code.

B. Permit Hearings: Permit Applications, Amendments, and Revocations: The District may hold hearings on original permit applications, applications for permit renewals or amendments and permit revocations or suspensions.  Notice of permit hearings will be given in accordance with Chapter 36.401 – 419 of the Texas Water Code and any future revisions to Code.

RULE 18.3 GENERAL PROCEDURES

Presiding Officer: In hearings before the Board, the President of the Board or a Board member selected by the President of the Board shall be the presiding officer.

- Authority of Presiding Officer: The presiding officer may conduct the hearing or other proceeding in the manner the presiding officer deems most appropriate for that particular proceeding.  The presiding officer has the authority to:

1. Set hearing dates, other than the initial hearing date for permit matters set in accordance with Rule 18.1;

2. Convene the hearing at the time and place specified in the notice for public hearing;

3. Establish the jurisdiction of the District concerning the subject matter under consideration;

4. Rule on motions and on the admissibility of evidence and amendments to pleadings;

5. Designate and align parties and establish the order for presentation of evidence;

6. Administer oaths to all persons presenting testimony;

7. Examine witnesses;

8. Issue subpoenas when required to compel the attendance of witnesses or the production of papers and documents;

9. Compel discovery under these Rules;

10. Ensure that information and testimony are introduced as conveniently and expeditiously as possible, without prejudicing the rights of any party to the proceeding;

11. Conduct public hearings in an orderly manner, in accordance with these Rules;

12. Recess any hearing from time to time and place to place;

13. Reopen the record of a hearing for additional evidence, when necessary to make the record more complete; and

14. Exercise any other appropriate powers necessary or convenient, to effectively carry out the responsibilities of presiding officer.

- Registration Forms: Each individual, attending a hearing or other proceeding of the District, must submit a form providing the person’s name and address, whether the person plans to testify; and any other information becomes relevant to the hearing or other proceeding.

- Appearance: Representative Capacity: Any interested person may appear in person, or may be represented by counsel, engineer, or other representative, provided the representative is fully authorized to speak and act for the principal.  Such person or representative may present evidence, exhibits, or testimony, or make an oral presentation in accordance with the procedures applicable to the particular proceeding.  A person appearing in a representative capacity may be required to prove proper authority.

- Alignment of Parties: Number of Representatives Heard: Participants in a proceeding may be aligned according to the nature of the proceeding and their relationship to it.  The presiding officer may require the participants of an aligned class to select one or more persons to represent them in the proceeding, or on any particular matter or ruling, and may limit the number of representatives heard, but must allow at least one representative of an aligned class to be heard in the proceeding, or on any particular matter or ruling.

- Appearance by Applicant or Movant: The applicant, movant or party requesting the hearing, or a representative, should be present at the hearing.  Failure to appear may be grounds for withholding consideration of a matter and dismissal without prejudice, or may require the rescheduling or continuance of the hearing, if the presiding officer deems it necessary in order to fully develop the record.

- Reporting: Hearings and other proceedings will be recorded on audiocassette tape or, at the discretion of the presiding officer, may be recorded by a certified shorthand reporter.  The District does not prepare transcriptions of hearings recorded on audiocassette tape on District equipment for the public, but will arrange for a party at interest to have access to the recording.  Subject to availability of space, any party at interest may, at its own expense, arrange for a reporter to transcribe or record the hearing.  The cost of reporting or transcribing a permit hearing may be assessed in accordance with Rule 18.5(b).  If a proceeding, other than a permit hearing, is recorded by a reporter and a copy of the transcript of testimony is ordered by any person, the testimony will be transcribed and the original transcript filed with the papers of the proceeding at the expense of the person requesting the transcript of testimony.  Copies of the transcript of testimony of any hearing, or other proceeding thus reported, may be purchased from the reporter.

- Continuance: The presiding officer may continue hearings from time to time and from place to place without the necessity of publishing, serving, mailing or otherwise issuing a new notice.  If a hearing or other proceeding is continued and a time and place for the hearing to reconvene are not publicly announced at the hearing by the presiding officer before it is recessed, a notice of any further setting of the hearing or other proceeding must be delivered, at a reasonable time, to all parties and any other person the presiding officer deems appropriate, but it is not necessary to post at the county courthouses or publish a newspaper notice of the new setting.

- Filing of Documents; Time Limit: Applications, motions, exceptions, communications, requests, briefs, or other papers and documents required to be filed under these Rules, or by law, must be received in hand at the District’s office within the time limit, if any, set by these Rules, or by the presiding officer for filing.  Mailing within the time period is insufficient, if the submissions are not actually received by the District within the time limit.

- Affidavit: Whenever the making of an affidavit by a party to a hearing or other proceeding is necessary, it may be made by the party or the party’s representative or counsel.  This Rule does not dispense with the necessity of an affidavit being made by a party, when expressly required by statute.

- Broadening the Issues: No person will be allowed to appear in any hearing or other proceeding that, in the opinion of the presiding officer, is for the sole purpose of unduly broadening the issues to be considered in the hearing or other proceeding.

- Conduct and Decorum: Every person, party, representative, witness, and other participant in a proceeding must conform to ethical standards of conduct and will exhibit courtesy and respect for all other participants.  No person may engage in any activity during a proceeding that interferes with the orderly conduct of District business.  If, in the judgment of the presiding officer, a person is acting in violation of this provision, the presiding officer will first warn the person to refrain from engaging in such conduct.  Upon further violation by the same person, the presiding officer may exclude that person from the proceeding for such time and under such conditions, as the presiding officer deems necessary.

18.4 UNCONTESTED PERMIT HEARINGS PROCEDURES

A. Informal Hearings: Permit hearings may be conducted informally when, in the judgment of the presiding officer, the conduct of a proceeding under informal procedures will result in a savings of time or cost to the parties, lead to a negotiated or agreed settlement of facts or issues in controversy, not prejudice the rights of any party, and is not objected to by any party.

B. Agreement of Parties: If all parties reach a negotiated or agreed settlement, that settles the facts or issues in controversy, the proceeding will be considered an uncontested case and the presiding officer will summarize the evidence, including findings of fact and conclusions of law based on the existing record and any other evidence submitted by the parties at the hearing.

C. Decision to Proceed as Uncontested or Contested Case: If the parties do not reach a negotiated or agreed settlement of the facts and issues in controversy, or if any party contests a staff recommendation, and the presiding officer determines these issues will require extensive discovery proceedings or hearings, the presiding officer may declare the case to be contested and convene a pre-hearing conference as set forth in Rule 18.5.  The presiding officer may also recommend issuance of a temporary permit, for a period not to exceed 4 months, with any special provisions the presiding officer deems necessary, for the purpose of completing the contested case process.  Any case not declared a contested case under this provision would be an uncontested case.

18.5 CONTESTED PERMIT HEARINGS PROCEDURES

A. Pre-hearing Conference: A pre-hearing conference may be held to consider any matter that may expedite the hearing or otherwise facilitate the hearing process.

1. Matters that may be considered at a prehearing conference include, but are not limited to:

a. designation of parties;

b. formulation and simplification of issues;

c. necessity or desirability of amending applications or other pleadings;

d. possibility of making admissions or stipulations;

e. scheduling discovery;

f. identification of and specification of the number of witnesses;

g. filing and exchange of prepared testimony and exhibits; and

h. procedure at the hearing

2. Notice: A pre-hearing conference may be held at a date, time and place stated in the notice given in accordance with Rule 18.2 or at the date, time, and place for hearing stated in the notice of public hearing, and may be continued from time to time and place to place, at the discretion of the presiding officer.

3. Conference Action: Action taken at a pre-hearing conference may be reduced to writing and made a part of the record, or may be stated on the record at the close of the conference.

B. Assessing Reporting and Transcription Costs: Upon the timely request of any party, or at the discretion of the presiding officer, the presiding officer may assess reporting and transcription costs to one or more of the parties.  The presiding officer will consider the following factors in assessing reporting and transcription costs:

1. The party who requested the transcript;

2. The financial ability of the party to pay the costs;

3. The extent to which the party participated in the hearing;

4. The relative benefits to the various parties of having a transcript;

5. The budgetary constraints of a governmental entity participating in the proceedings;

6. Any other factor that is relevant to a just and reasonable assessment of costs.

In any proceeding where the assessment of reporting or transcription costs is an issue, the presiding officer will provide the parties an opportunity to present evidence and argument on the issue.  A recommendation regarding the assessment of costs will be included in the presiding officer’s report to the Board.

C. Designation of Parties: Parties to a hearing may be designated on the first day of hearing, or at such other time as the presiding officer determines.  The General Manager and any person specifically named in a matter are automatically designated parties.  Persons other than the General Manager or a person specifically named must, in order to be admitted as a party, appear at the proceeding in person or by representative, and seek to be designated by demonstrating a justiciable interest in the matter.  After parties are designated, no other person may be admitted as a party unless, in the judgment of the presiding officer, there is good cause and the hearing will not be unreasonably delayed.

D. Rights of Designated Parties: Subject to the direction and orders of the presiding officer, parties have the right to conduct discovery, present a direct case, cross-examine witnesses, make oral and written arguments, obtain copies of all documents filed in the proceeding, receive copies of all notices issued by the District concerning the proceeding, and otherwise fully participate in the proceeding.

E. Persons Not Designated Parties: At the discretion of the presiding officer, persons not designated as parties to a proceeding may submit comments or statements, orally or in writing.  Comments or statements submitted by non-parties may be included in the record, but may not be considered by the presiding officer as evidence.

F. Furnishing Copies of Pleadings: after parties have been designated, the author must provide a copy of every pleading, request, motion, or reply filed in the proceeding to every other party or the party’s representative.  A certification of this fact must accompany the original instrument when filed with the District.  Failure to provide copies may be grounds for withholding consideration of the pleading or the matters set forth therein.

G. Agreements to be in Writing: No agreement between parties or their representatives affecting any pending matter will be considered by the presiding officer unless it is in writing, signed, and filed as part of the record, or unless it is announced at the hearing and entered of record.

H. Discovery: Discovery will be conducted upon such terms and conditions, and at such times and places, as directed by the presiding officer.  Unless specifically modified by these Rules or by order of the presiding officer, discovery will be governed by, and subject to the limitations set forth in, the Texas Rules of Civil Procedure.  In addition to the forms of discovery authorized under the Texas Rules of Civil Procedure, the parties may exchange informal requests for information, either by agreement or by order of the presiding officer.

I. Ex Parte Communications: Neither the Presiding Officer nor the Board may communicate, directly or indirectly, in connection with any issue of fact or law with any agency, person, party, or their representatives, except on notice and opportunity for all parties to participate.  This provision does not prevent communications with District staff not directly involved in the hearing in order to utilize the special skills and knowledge of the District in evaluating the evidence and does not apply to proceedings other than a contested permit hearing.

J. Compelling Testimony; and Swearing Witnesses: The presiding officer may compel any person to testify who is necessary, helpful, or appropriate to the hearing.  The presiding officer shall administer the oath in a manner calculated to impress the witness with the importance and solemnity of the promise to adhere to the truth.

K. Evidence: Except as modified by these Rules, the Texas Rules of Civil Evidence govern the admissibility and introduction of evidence; however, evidence not admissible under the Texas Rules of Civil Evidence may be admitted if it is of the type commonly relied upon by reasonably prudent persons in the conduct of their affairs.  In addition, evidence may be stipulated by agreement of all parties.

L. Written Testimony: When a proceeding will be expedited and the interests of the parties not substantially prejudiced, testimony may be received in written form.  The written testimony of a witness, in either narrative or question and answer form, may be admitted into evidence upon the witness being sworn and identifying the testimony as a true and accurate record of what the testimony would be if given orally.  The witness will be subject to clarifying questions and to cross-examination, and the prepared testimony will be subject to objection.

M. Requirements for Exhibits: Exhibits of a documentary character must be of a size that will not unduly encumber the files and records of the District.  All exhibits must be numbered and, except for maps and drawings, may not exceed 8-1/2 by 11 inches in size.

N. Abstracts of Documents: When documents are numerous, the presiding officer may receive in evidence only those that are representative and may require the abstracting of relevant data from the documents and the presentation of the abstracts in the form of an exhibit.  Parties have the right to examine the documents from which the abstracts are made.

O. Introduction and Copies of Exhibits: Each exhibit offered shall be tendered for identification and placed in the record.  Copies must be furnished to the presiding officer and to each of the parties, unless the presiding officer rules otherwise.

P. Excluding Exhibits: In the event an exhibit has been identified, objected to, and excluded, it may be withdrawn by the offering party.  If withdrawn, the exhibit will be returned and the offering party waives all objections to the exclusion of the exhibit.  If not withdrawn, the exhibit shall be included in the record for the purpose of preserving the objection to excluding the exhibit.

Q. Official Notice: The presiding officer may take official notice of all facts judicially cognizable.  In addition, official notice may be taken of generally recognized facts within the area of the District’s specialized knowledge.

R. Documents in District Files: Extrinsic evidence of authenticity is not required as a condition precedent to admissibility of documents maintained in the files and records of the District.

S. Oral Argument: At the discretion of the presiding officer, oral arguments may be heard at the conclusion of the presentation of evidence.  Reasonable time limits may be prescribed.  The presiding officer may require or accept written briefs in lieu of, or in addition to, oral arguments.  When the matter is presented to the Board for final decision, the Board may hear further oral arguments.

18.6 CONCLUSION OF THE PERMIT HEARING

A. Hearings before the Board

1. Closing the Record: At the conclusion of the presentation of evidence and any oral argument the presiding officer may either close the record or keep it open and allow the submission of additional evidence, exhibits, briefs, or proposed findings and conclusions from one or more of the parties.  No additional evidence, exhibits, briefs, or proposed findings and conclusions may be filed unless permitted or requested by the presiding officer.

2. Time for Board Action on Certain Permit Matters: In the case of hearings before the Board involving original permit applications, or applications for permit renewals or amendments, the Board must act by issuing a written order, within 35 calendar days after the close of the hearing record.

B. Hearings before a Hearing Examiner:

The board may refer contested case hearings to a hearing examiner.  If a hearing examiner conducts the hearing, a brief written summary of the hearing and recommendation of the action shall be prepared by the hearing examiner and provided to the Board for its consideration and decision.  A copy of the hearing examiner’s report shall be provided to all parties.  The hearing shall be considered to have concluded when the parties have had an opportunity to present their written or oral comments on the hearing officer’s report to the Board and upon the close of the hearing record.

18.7 RULE-MAKING HEARINGS PROCEDURES

A. General Procedures: The presiding officer will conduct the rulemaking hearing in the manner the presiding officer deems most appropriate to obtain all relevant information pertaining to the subject of the hearing as conveniently, inexpensively, and expeditiously as possible.

B. Submission of Documents: Any interested person may submit written statements, protests or comments, briefs, affidavits, exhibits, technical reports, or other documents relating to the subject of the hearing.  Such documents must be submitted no later than the time of the hearing, as stated in the notice of hearing given in accordance with Rule 18.2; provided, however, that the presiding officer may grant additional time for the submission of documents.

C. Oral Presentations: Any person desiring to testify on the subject of the hearing must so indicate on the registration form provided at the hearing.  The presiding officer will establish the order of testimony and may limit the number of times a person may speak, the time for oral presentations, and the time for raising questions.  In addition, the presiding officer may limit or exclude cumulative, irrelevant, or unduly repetitious presentations.

D. Conclusion of the Hearing; Closing the Record; Presiding Officer’s Report: At the conclusion of the testimony, and after the receipt of all documents, the presiding officer may either close the record, or keep it open to allow the submission of additional information.  If the hearing is before the Board, the Board shall adopt the rule, reject the rule, or reopen the matter for further consideration.

18.8 FINAL DECISION; APPEAL

A. Board Action: After the record is closed and the matter is submitted to the Board, the Board may then take the matter under advisement, continue it from day to day, reopen or rest the matter, refuse the action sought or grant the same in whole or part, or take any other appropriate action.  The Board action takes effect at the conclusion of the meeting and is not affected by a motion for rehearing.

B. Requests for Rehearing: Any decision of the Board on a matter may be appealed by requesting a rehearing before the Board within 20 calendar days of the Board’s decision.  Such a rehearing request must be filed at the District Office, in writing, and must state clear and concise grounds for the request.  Such a rehearing request is mandatory, with respect to any decision or action of the Board, before any appeal to State District Court.  The Board’s decision is final, if no request for rehearing is made within the specified time, or upon the Board’s denial of the request for rehearing, or upon rendering a decision after rehearing.  If the rehearing request is granted by the Board, the date of the rehearing will be within 45 calendar days thereafter, unless otherwise agreed to by the parties to the proceeding.  The failure of the Board to grant or deny the request for rehearing, within 90 calendar days of submission, will be deemed to be a denial of the request by operation of law.

RULE 19 INVESTIGATIONS AND ENFORCEMENT

RULE 19.1 NOTICES AND ACCESS TO PROPERTY

Board members and District agents and employees are entitled to access to all property within the District to carry out technical and other investigations necessary to the implementation of the District Rules.  Prior to entering upon property for the purpose of conducting an investigation, the person seeking access must give notice in writing or in person or by telephone to the owner, lessee, or operator, agent, or employee of the well owner or lessee, as determined by information contained in the application or other information on file with the District.  Notice is not required if prior permission is granted to enter without notice.  Inhibiting or prohibiting access to any Board Member or District agents or employees who are attempting to conduct an investigation under the District Rules constitutes a violation and subjects the person who is inhibiting or prohibiting access, as well as any other person who authorizes or allows such action, to the penalties set forth in the Texas Water Code Chapter 36.102.

RULE 19.2 CONDUCT OF INVESTIGATION

Investigations or inspections that require entrance upon property must be conducted at reasonable times, and must be consistent with the establishment’s rules and regulations concerning safety, internal security, and fire protection.  The persons conducting such investigations must identify themselves and present credentials upon request of the owners, lessee, operator, or person in charge of the well.

RULE 19.3 SEALING OF WELLS

Following due process, the District may, upon orders from the judge of the courts, seal wells that are prohibited from withdrawing groundwater within the District by the District Rules to ensure that a well is not operated in violation of the District Rules.  A well may be sealed when:

1. No application has been made for a permit to drill a new water well which is not excluded or exempted; or

2. No application has been made for an operating permit to withdraw groundwater from an existing well that is not excluded or exempted from the requirement that a permit be obtained in order to lawfully withdraw groundwater; or

3. The Board has denied, canceled or revoked a drilling permit or an operating permit.

The well may be sealed by physical means, and tagged to indicate that the well has been sealed by the District, and other appropriate action may be taken as necessary to preclude operation of the well or to identify unauthorized operation of the well.  Tampering with, altering, damaging, or removing the seal of a sealed well, or in any other way violating the integrity of the seal, or pumping of groundwater from a well that has been sealed constitutes a violation of these rules and subjects the person performing that action, as well as any well owner or primary operator who authorizes or allows that action, to such penalties as provided by the District Rules.

GOLIAD COUNTY GROUNDWATER

CONSERVATION DISTRICT

DROUGHT CONTINGENCY PLAN

Adopted October 5, 2009

In order to conserve, preserve and protect the groundwater resources of Goliad County during drought conditions, the Board of Directors of the Goliad County Groundwater Conservation District has established the following Drought contingency Plan.

SECTION I: DEFINITION OF TERMS

For the purposes of this Plan, the following definitions shall apply in the use of groundwater:

Aesthetic water use: water use for ornamental or decorative purposes such as fountains, reflecting pools, and water gardens.

Agricultural water use: as defined under Chapter 36.001(20), (21), Texas Water Code, latest amendment.

Commercial and institutional water use: water use which is integral to the operations of commercial and non-profit establishments and governmental entities including but not limited to retail establishments, hotels and motels, restaurants, and office buildings.

Conservation: those practices, techniques, and technologies that reduce the consumption of water, reduce the loss or waste of water, improve the efficiency in the use of water or increase the recycling and reuse of water so that a supply is conserved and made available for future or alternative uses.

Domestic water use: water use for personal needs or for household or sanitary purposes such as drinking, bathing, heating, cooking, sanitation, cleaning a residence, business, industry, or institution.

Drought: A meteorological period of serious moisture (precipitation) deficiency and a resultant reduction in spring flow, stream flow, and groundwater level drop generally accompanied by an increase in demand.

Drought Indices: those indicators selected for the purposes of this plan to initiate (trigger) drought stages.

Exempt well: A domestic or livestock well equipped to produce less than 25,000 gallons of groundwater per day.

Industrial water use: the use of water in processes designed to convert materials of lower value into forms having greater usability and value.

Landscape irrigation use: water used for the irrigation and maintenance of landscaped area whether publicly or privately owned, including residential and commercial lawns, gardens, athletic fields, golf courses, parks, cemeteries, rights-of-way and medians

Non-essential water use: water uses that are non-essential, nor required for the protection of public health, safety, and welfare, including:

- irrigation of landscape areas, including parks, athletic fields, cemeteries and golf courses, except as otherwise provided by this Plan;

- use of water to wash any motor vehicle, motorbike, boat, trailer, airplane or other vehicle;

- use of water to wash down any sidewalks, walkways, driveways, parking lots, tennis courts, or other hard-surfaced areas except for the protection of public health, safety and welfare;

- use of water to wash down buildings or structures for purposes other than immediate fire protection or for the protection of public health, safety and welfare;

- use of water to fill, refill, or add to any indoor or outdoor swimming pools or Jacuzzi-type pools;

- failure to repair a controllable leak(s) within a reasonable period after having been given notice directing the repair of such a leak(s); and

- use of water from hydrants for construction purposes or any other purposes other than fighting fires.

Non-Exempt well: a well capable of producing greater than 25,000 gallons of groundwater per day,

Permitted well: see Non-exempt well as defined herein.

Public Water System: as defined under 30 TAC Subchapter D Paragraph 290.38(41), latest revision.

Registered Well: See Exempt well as defined herein.

Trigger Conditions: Conditions that occur that will determine if a drought condition exists, such as lack of rainfall for a certain period of time, The Palmer Drought Index indicates that the area is suffering from drought conditions, GCGCD monitor wells regarding static levels, etc.

Waste of Water: the use of groundwater for non-essential purposes as defined herein when Drought Stages 2-4 are in effect except as specifically allowed by this Plan.

SECTION II: PLANNING ACTIONS

The General Manager of the District will meet with city personnel in Goliad and the Goliad Water Supply Corporation to review those entities drought contingency plans to insure compatibility with the District Plan.  This review should be conducted on an annual basis, or the time period may be extended to no more than three years.  The District will work with the above entities in revising drought contingency plans as the need occurs.

The District’s Plan will be reviewed on an annual basis to insure that it meets the needs of the District.  Additions, deletions and/or corrections will be presented to the Board by the General Manager and will be acted upon at the following General Meeting of the Board.

SECTION III: TRIGGERING CITERIA FOR INITIATION AND TERMINATION OF DROUGHT STAGES

The District Board or the Board’s designee shall monitor the defined drought trigger indices and shall determine when conditions warrant initiation or termination of each stage of the Plan.  The Plan consists of four levels of drought and groundwater production restrictions as defined herein.  The palmer Drought Severity Index, http://www.txwin.net/monitoring/ meteorological/Drought/pdsi.htm, which is an index based on regional meteorological and hydrological data such as rainfall, temperature and soil moisture content along with the District’s water level monitoring program will be used as the primary triggering criteria for the initiation and termination of this plan.

SECTION IV: EVENT ACTIONS

After review by the Board of Directors of presented materials, and upon determining such drought conditions exist, the General Manager of the District will be charged with the following:

A.  Within 48 hours of the Board decision that a drought condition exist, the General Manager will notify each community within the District that the Board has declared a drought condition and that each water supply entity should initiate its drought contingency plan.

B.  The General Manager will contact the local media within the district and advise them that a drought condition exist and that they (the media) should expect to receive educational notices and articles concerning the need to conserve the groundwater supply within the District.

C.  The General Manager will provide articles to the newspapers within the District regarding the need to conserve groundwater and/or tips for groundwater conservation until such time as the Board declares that the drought period has ended.

D.  The General Manager and Board will investigate any wasted or unauthorized use of groundwater and will report back to the Board to determine if action is needed to prevent the continuation of the waste or unauthorized use of said water.

SECTION V: DROUGHT STAGE RESPONSE

The President of the Board, or his/her designee, shall monitor the defined drought trigger indices and shall determine when conditions warrant initiation or termination of each stage of the Plan.  Public notification by the District of the initiation or termination of drought stages shall be by means of notice posted in a newspaper of general circulation and by direct mailing and/or emails to owners/ operators of non-exempt wells.

- Restrictions on Exempt Wells – The Plan may place production restrictions on Exempt (Registered) wells.  The district encourages voluntary compliance during each drought stage through compliance with the restrictions defined within the various stages as outlined in this Plan.  Such voluntary compliance will contribute to the achievement of the desired level of conservation and reduce the impact of drought conditions and restrictions.  However, nothing in this section excludes the district from exercising authority under District Rules Waste of Water.

- Restriction on Non-exempt Wells – The District has the authority to monitor and manage the production from all Non-exempt (Permitted) wells.   These include non-exempt wells used as Public Water Supply (PWS) wells to provide for domestic use and all such wells used to support agricultural, industrial, commercial, institutional and other non-domestic uses.  This Plan may place restrictions on the production from such wells as a function of drought stage.

DROUGHT SEVERITY LEVELS

PALMER DROUGHT SEVERITY INDEX (PDSI)

Mild Drought:  -1 or less

Moderate Drought:  -2 or less

Severe Drought:  -3 or less

Extreme Drought:  -4 or less

DROUGHT STAGES:

Stage 1 Mild Drought

Stage 2 Moderate Drought

Stage 3 Severe Drought

Stage 4 Extreme Drought

Stage 1 – Mild Drought Conditions

All Exempt and non-exempt well owners/operators and users of groundwater will be encouraged to voluntarily restrict the use of water.  In the case of public water supply wells, owner/operators will be asked to initiate their drought management plans.  News articles will be submitted as outlined in Section V of this document to inform the general public and exempt well owners that the district has declared a Stage 1 Drought for the County and asking for voluntary conservation.

Stage 2 – Moderate Drought conditions

All Non-exempt well owner/operators and public supply users of groundwater shall be notified through news articles that the District has gone to Stage 2 of the District’s plan and are asked to reduce total monthly pumpage by ten percent (10%) and practice conservation measures.  News articles will be submitted as outlined in Section V of this document to inform the general public, public supply entities, and exempt well owners that the district has gone to Stage 2 of the plan and ask people to restrict unnecessary pumping and practice conservation measures.

Stage 3 – Severe Drought conditions

All non-exempt well owners/ operators and users of groundwater shall be notified in writing that the District has gone to Stage 3 of the District’s plan and are asked to reduce total monthly pumpage by twenty percent (20%) and practice conservation measures.  News articles will be submitted as outlined in Section V of this document to inform the general public, public supply entities and exempt well owners that the District has gone to Stage 3 of the plan and ask people to restrict unnecessary pumping and practice conservation measures.

Stage 4 – Extreme Drought Conditions

All non-exempt well owner/operators and public supply users of groundwater shall be notified in writing that the District has gone to Stage 4 of the District’s plan and will be asked to reduce total monthly pumpage by thirty percent (30%) and practice conservation measures.  News articles will be submitted as outlined in Section V of this document to inform the general public, public supply entities and exempt well owners that the District has gone to Stage 4 of the plan and ask people to restrict unnecessary pumping and practice conservation measures.  The District will advise that the District has the authority under its rules to seek administrative penalties against individuals for wasting water.

SECTION VI: TERMINATION NOTIFICATION

Termination of the drought measures when the Board determines that the trigger conditions which initiated the drought conditions have subsided.  The public will be notified of the termination in the same manner they were informed of the initiation. GCGCD Form 2014-06-0001 (page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

NEW WATER WELL REGISTRATION

(This form can also be used for Replacement and Grandfathered Wells)

Instructions: Complete all questions to the best of your knowledge.

After January 1, 2003, all new wells are to have a copy of the Drillers well report attached to this

registration upon completion and returned to office.

(This form will be attached to a copy of the Well Driller's report that is sent to the State of Texas and will

be retained in our office) 							DATE: _________________

LANDOWNER________________________________________________PHONE________________

EMAIL ADDRESS (if applicable)___________________________________________________

MAILING ADDRESS ___________________________________________________________

Physical Address of well__________________________________________________________

This well is located on the property of:_______________________________________________

Number of contiguous acres of water rights owned at well site____________________________

This well is _______miles(dir.)________________of Goliad on road number________________

Use of well:_______Domestic ____Livestock______Irrigation, ______Public Supply

_______Industrial_______Monitor ______Oil & Gas Exploration

______ Oil & Gas Production (Requires Permit) __________API#_______

_____ Other(specify) _______________________________________________________

Name of Driller __________________Grid#_____ Registration Expiration Date: _________________

(60 days from location date)

Casing Size ______in.: Type of Pump_______________________ GPM_____HP ______

Remarks_____________________________________________________________________________

____________________________________________________________________________________

I CERTIFY THAT THE FOREGOING STATEMENTS ARE TRUE AND CORRECT TO THE BEST

OF MY ABILITY.

___________________________________________________ Date ________________

Signature of Landowner

**********************************DISTRICT USE ONLY******************************

Well Registration no. ____________________ Exempt __________ Non-exempt __________

Water Well Drilling Permit# ___________Water Well Operating Permit #____________

Latitude __________________ North Longitude _____________ West

GPS: _____________________ North ______________________ West

Distance from property lines: _____________ North ______________ South __________ East __________ West

GCGCD Signature:_______________________________________ Date ______________

GCGCD Form 2014-06-0001 (page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

NEW WATER WELL REGISTRATION

(This form can also be used for Replacement and Grandfathered Wells)

GCGCD WELL REGISTRATION GUIDELINES

General Note: All wells drilled for others must be by licensed drillers.

For a current list of drillers, please visit our website at www.goliadcogcd.org

GRANDFATHERED WELL

• A well drilled prior to February 6, 2003 provided that the use of water is within the District.

• Registration is voluntary and is to be done by February 6, 2004. After February 6, 2004, proof of

ownership prior to February 6, 2003 is required to receive grandfathered status.

REPLACEMENT WELL

• Cannot change the existing well use or capacity.

• A replacement well for an existing well must be drilled within 30 feet of the existing well but not

nearer the property line than 50 feet provided that the original well was grandfathered.

• Replacement of an existing permitted well requires a new permit.

EXEMPT WELL

• Must be registered prior to drilling of the new well.

• A well for domestic use incapable of producing more than 25,000 gallons per day.

• A well on 10 acres or more used to water livestock or poultry and incapable of producing more

than 25,000 gallons per day.

• A well to be used solely to supply water for a rig that is actively engaged in oil or gas exploration.

• A new exempt well must be 135 feet from the property line.

• See Rule 14.2 for well location in relation to sewage systems and other contamination.

* There are exemptions to these rules, please speak to a GCGCD representative with any questions.

NON-EXEMPT WELL

• Must have a drilling permit followed by an operating permit.

• Well spacing is based on permitted flow.

• Maximum well production is dependent on zone location of well within County.

GCGCD Form 2014-06-0002
GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716/ FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

Oil and Gas Transfer of Exploration Water Well To Landowner

This form to be filled out by Oil Company when Exploration Water Well is transferred to landowner and returned to GCGCD within 30 days of transfer.

Oil Company Name: _________________________________________________

Address : __________________________________________________________

_________________________________________________________

Telephone Number: ________________________

Date of Transfer: _____________________________________________

Landowners Name: _________________________________________________

Address of Landowner: _________________________________________

_________________________________________

Telephone Number of Landowner: ________________________________

Physical Location of Well:  ______________________________________

Road Name where well is located  _______________________________________

Company/Person Contacting GCGCD for Original Well Registration:

______________________________________________________________

GCGCD Well Registration Number: __________________________________API# _______________

Signature: ___________________________________________ Date:_________________________

GCGCD Form 2014-06-0003

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

APPLICATION FOR AMENDED WATERWELL PERMIT OR REGISTRATION

(TRANSFER OF OWNERSHIP)

Instructions:  Submit this form for each individual well.  Send an application for each well to be permitted or registered to the above address as soon as possible to stay within the 10 or 20 day deadline allotted to transfer ownership.

Rule 2.6 of the GCGCD Rules allows for the transfer of ownership a ministerial act upon filing the required information. But if a change of usage is requested, the request shall require Board action.

Rule 12.4.B states the time allowed to affect a transfer of a permitted well after you buy or sell property in Goliad County.

Please complete the areas highlighted below and return a copy to our office.  Thank you.

GCGCD WELL # OR PERMIT # _________________________________________________________

FORMER PERMITTEE OR WELL OWNER _______________________________________________

PHYSICAL ADDRESS OF PROPERTY ___________________________________________________

NEW OWNER ________________________________________________________________________

MAILING ADDRESS __________________________________________________________________

CITY ____________________ STATE _________ ZIP CODE ________________

TELEPHONE # _________________________________

EMAIL ADDRESS (if applicable)_________________________________________

DATE OF OWNERSHIP CHANGE _______________________________

ACREAGE ___________________________________

DATE APPLICATION FILED WITH DISTRICT ____________________________

Use of Well, Pump size: _______________________________________

GPS Location of Well __________________________________________

COMMENTS: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_________________________________________________                                ____________________

Please sign and return by mail, fax or email						Date

I CERTIFY THAT THE FOREGOING STATEMENTS ARE TRUE AND CORRECT TO THE BEST OF MY ABILITY.

GCGCD Form 2014-06-0004 (Page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT

(GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

NOTICE TO PURCHASER

The undersigned purchaser hereby acknowledges receipt of the forgoing notice prior to closing of the purchase of the real property described in such notice.  The purchaser is to contact the Goliad County Groundwater Conservation District at 361-645-1716 or P. O. Box 562 Goliad, TX 77963-0562 within 30 days after closing to transfer or register the water wells on this property.

TO PURCHASER SHOWN BELOW:

The real property described below, which you are about to purchase, is located in the GOLIAD

COUNTY GROUNDWATER CONSERVATION DISTRICT, Goliad County, Texas.  The District has taxing authority separate from any other taxing authority, and may, subject to voter approval, issue an unlimited amount of bonds.  As of this date, the most recent rate of taxes levied by the district on real property located in the District is _____on each $100 assessed valuation.  The total amount of bonds that has been approved by the voters and which have been or may, at this date, be issued is__________.  The purpose of the Goliad County Groundwater Conservation District, as required by the Texas Water Code, Chapter 36, is to provide for  conserving, preserving, and protecting the groundwater and prevention of waste of the groundwater resources, over which it has jurisdictional authority, for the benefit of the people that the District serves.  The legal description of the property(”A”) which you are acquiring is as follows:

See Exhibit “A” attached hereto and made a part hereof for all purposes pertinent.

Seller’s Printed Name______________________________________________________

Seller’s Signature__________________________________________________________

Seller’s Printed Name_______________________________________________________

Seller’s Signature__________________________________________________________

Seller’s Mailing Address ____________________________________________________

Seller’s Physical Address in Goliad County _____________________________________

GCGCD Form 2014-06-0004 (Page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT

(GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

NOTICE TO PURCHASER

Purchaser’s Printed Name______________________________________________________

Purchaser’s Signature__________________________________________________________

Purchaser’s Printed Name______________________________________________________

Purchaser’s Signature__________________________________________________________

Purchaser’s Mailing Address ____________________________________________________

Date: ________________________________

After execution of this document please return a copy to:

GCGCD

P. O. Box 562
Goliad, TX 77963-0562 
Fax: 361-645-1772
Email: gcgcd@goliadcogcd.org

GCGCD Form 2014-06-0005 (page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL DRILLING PERMIT APPLICATION (Non-Exempt Water Well)

Instructions: Complete all questions. Please print or type. An incomplete application is grounds

for refusal. Read Rule 12 of GCGCD Rules before completing.

Date of Application: __________________

Place an "X" in the appropriate space.

____ Drill New 	_____Equip New 	_______Rework/Re-equip/Alter

I. Owner ___________________________________ Phone __________________

Email (if applicable): ______________________________________

Mailing Address: ________________________________________________

Physical Address of Well: ________________________________________________

Operator ___________________________________ Phone ___________________

Email (if applicable): ________________________________________

Mailing Address:_______________________________________________________________________

Well Location: Latitude __________________North Longitude _____________________West

Description of well location on property: (Use Non-Parallel Lines)

This well is located:

________ feet from the North property line

________ feet from the South property line

________ feet from the East property line

________ feet from the West property line

II. Name of Driller ____________________________ Texas Water Well Drillers License No. _________________

Proposed Depth of Well____________________ Aquifer _________________________

Date Drilling Scheduled to Begin________________ Proposed Pump size to be installed in HP ______

Maximum Rate of Production in GPM _________

Number of contiguous acres owned by landowner or water right holder upon which the well is to be

located ______________.

GCGCD Form 2014-06-0005 (Page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL DRILLING PERMIT APPLICATION (Non-Exempt Water Well)

List other wells producing from same strata located on such property as to well number and distance

from proposed well location _______________________________________________________

______________________________________________________________________________

______________________________________________________________________________

List all surrounding landowners whose property adjoins your property with addresses and telephone

numbers______________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

I agree that this well will be drilled within thirty (30) feet of the location specified, and that I will furnish

the District the complete Well Registration form and Driller's Log (well report provided by driller), and

any mechanical log that might be made, within 60 days of completion of this well. I agree to abide by the

rules of the Goliad County Groundwater Conservation District, The District Management Plan, and orders

of the Board of Directors. Furthermore, I agree not to produce this well without a valid operating permit,

and not to exceed the production allowance of the Operating Permit. All the information provided in and

with this application is true and correct to the best of my knowledge.

Failure to comply with the rules, management plan and orders of the Board of Directors is subject to

penalties established by the Board of Directors of the GCGCD and Rule 10 of the Goliad County

Groundwater Conservation District Rules and Chapter 36 of the Texas Water Code.

I also understand that a representative of the Landowner/ Operator of this well will be in attendance at the

public hearing to be held for this application.

I will be sent notice of the hearing date and time in advance of the hearing.

Signature of Water Rights Owner _________________________________ Date:_______________

Percentage of water rights owned:____________________

Signature of Landowner (if different)______________________________ Date:_______________

I CERTIFY THAT THE FOREGOING STATEMENTS ARE TRUE AND CORRECT TO THE BEST

OF MY ABILITY.

GCGCD Form 2014-06-0005 Page 3

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL DRILLING PERMIT APPLICATION (Non-Exempt Water Well)

***********************************District Use Only***********************************

Deposit Received _____________ Check ____________ Check No. ___________ Cash _______

Permit Number ____________ Valid Until __________ Field Inspection _____ Mapped ________

G.C.G.C.D. Well No. _______________________

Confirmation of contact with adjoining landowners:

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

This permit is approved, subject to the rules of the Goliad County Groundwater Conservation District

_________________________________________ 			__________________

Signature of GCGCD personnel and Title				Date

NON-EXEMPT WELL

• Must have a drilling permit followed by an operating permit.

• Well spacing is based on permitted flow.

• Maximum well production is dependent on zone location of well within County.

• To be equipped with a pump more than 1 hp/18 GPM - Domestic/Livestock/wildlife/Irrigation

• This form is also for RV Parks with 1hp/18 GPM or less

GCGCD Form 2015-03-0001
GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)
118 S. Market St. | P.O. BOX 562
GOLIAD, TEXAS 77963
Phone: 361-645-1716 FAX:  361-645-1772
Email: gcgcd@goliadcogcd.org
Website:  www.goliadcogcd.org

WATER WELL DRILLING PERMIT (Non-Exempt Water Well)

This document is to be completed by GCGCD upon the approval the Drilling Application by the

Board of Directors.

Date Approved by Board: ____________________

GCGCD Permit Number: ____________________________________

Landowner Name: ______________________________________________

Contact Phone: ________________________________________________________

Mailing Address: _______________________________________________

Email (if applicable): ____________________________________________

Water Well Driller: _____________________________________________

Date Well Completed: ___________________________________________

Proposed Well Depth: ________________ Proposed Screen Information: ____________________

Well GPS: _______________________ Lat. 	_______________________________ Long.

Special Previsions/Comments: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________		__________________

GCGCD Signature 					Date

All information listed on the Application is used to complete this Permit.

GCGCD Form 2014-06-0006 (page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL OPERATING PERMIT APPLICATION (Non-Exempt Water Well)

INSTRUCTIONS: Complete all questions. Please type or print. An incomplete permit is grounds for

denial of permit.

Date of Application: ________________________

I. Owner ___________________________________________ Phone___________________

Email (if applicable) __________________________________

Mailing Address____________________________________________________________________

Operator ___________________________________________ Phone __________________

Email (if applicable) __________________________________

Physical Address of Well: _________________________________________________________________________

Aquifer _______________________ Total Depth ________ft.

Screened or Perforated Interval __________________ ft.

Pump will be set at _______________________________depth

Head pressure (if known) _______________________lbs.

Well Location: Latitude _______________________ North Longitude _______________________West

Distance to Property Lines from well:  N_______________S__________E___________W__________

Total GPM Capable of Being Produced by this Pump ________

Normal Rate of Production ___________ GPM

Make and Model of Pump _____________________________ Horse Power ______________

Percent of efficiency of pump _________

Proposed Well Use: ______ Domestic ______ Irrigation ______ Public supply ______ Livestock

______ Industrial ______ Injection _____ Oil and Gas Production ______ Other (Please Specify Below)

________________________________________________________________________________

________________________________________________________________________________

GCGCD Form 2014-06-0006 (page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL OPERATING PERMIT APPLICATION (Non-Exempt Water Well)

Comments and special provisions of permit:

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

Names, addresses and telephone numbers of adjoining landowners:

________________________________________________________________________________

________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

II. ANNUAL PRODUCTION (Subject to Pumping limits due to water level decline)

a. Number of contiguous acres owned or leased on which water is to be produced: ______________ acres

b. Volume of water per acre, per year requested: ____________ acre-feet or _________________ gallons

c. Total annual production (a x b): _______________________ acre-feet or _________________ gallons

III. The permitting process will include a review of the permit as defined in Adopted Rules of GCGCD

I have read and agree to abide by these rules.

Landowner Signature:_______________________________________ Date:__________________

Water Rights Holder Signature________________________________ Date:__________________

IV. I have received and understand the GCGCD Drought Contingency Plan and how it applies to

nonexempt wells in Goliad County.

Landowner Signature:_______________________________________Date:__________________

Water Rights Holder Signature: _______________________________Date:__________________

Percentage of water rights held: ____________________

GCGCD Form 2014-06-0006 (page 3)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL OPERATING PERMIT APPLICATION (Non-Exempt Water Well)

V. The above information is true to the best of my knowledge and I understand that signing this

application does not mean approval of this operating permit.

Landowner Signature:_______________________________________Date:__________________

VI. PRODUCTION TERMS AND AGREEMENT: I agree to abide by the terms of the District Rules, the

District Management Plan, and orders of the Board of Directors. I agree to report to the District, on

or before the 31st day of January of each year, the total volume of water produced in the prior year,

and not to exceed the stated annual rate of production. Furthermore, I agree to abide by the terms

of this permit, and understand that failure to do so will result in civil penalties and/or revocation of this

permit.

I understand that if this property is sold, I have 10 days to notify the District of the sale and name and

contact information for the new owner (Rule 12.4 B).

I also understand that it is my responsibility to notify the District of any change of address from the one

on the application. If the District tries to contact me by mail and is unsuccessful because of change, it

will be as though contact has been made and any action the District takes may proceed.

Failure to comply with the rules, management plan and orders of the Board of Directors is subject to

penalties established by the Board of Directors of the GCGCD and rule 10 of the Goliad County

Groundwater Conservation District Rules and Chapter 36 of the Texas Water Code.

I also understand that a representative of the Landowner/ Operator of this well will be in attendance at the

public hearing to be held for this application. I will be sent notice of the hearing date and time in advance

of the hearing.

Landowner Signature:_______________________________________Date:__________________

Water Rights Holder Signature: ______________________________ Date: __________________

VII. MITIGATION: If your permit qualifies for implementation of Rule 12.9 of the GCGCD Rules, a

mitigation plan will be submitted that addresses all the issues outlined in that rule (current adoption).

I CERTIFY THAT THE FOREGOING STATEMENTS ARE TRUE AND CORRECT TO THE BEST

OF MY ABILITY.

GCGCD Form 2014-06-0006 (page 4)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX: 361-645-1772

Email: gcgcd@goliadcogcd.org

Website: www.goliadcogcd.org

WATER WELL OPERATING PERMIT APPLICATION (Non-Exempt Water Well)

*********************************DISTRICT USE ONLY*******************************

Deposit Received Date:__________ Check # ______________ Cash _____ Amount __________

This permit is Approved For: ____________________ acre-feet or ___________________ gallons of

water per year (Subject to Pumping limits due to water level decline)

Field Inspection ______________________________ Mapped ________

Date Received ___________________________

This permit is accepted, subject to the rules of the Goliad County Groundwater Conservation District

Permit Number __________________________ This permit shall remain valid until ________________

G.C.G.C.D. Well No. ____________________________ Date : ___________________________

Additional comments or provisions:

_______________________________________________________________________________

_______________________________________________________________________________

Confirmation of contact with adjoining landowners:

_______________________________________________________________________________

_______________________________________________________________________________

_______________________________________________________________________________

___________________________________				___________________
Signature of Director – Title						Date

Form 2015-03-0002

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)
118 S. Market St. | P.O. BOX 562
GOLIAD, TEXAS 77963
Phone: 361-645-1716 FAX:  361-645-1772
Email: gcgcd@goliadcogcd.org 
Website: www.goliadcogcd.org

WATER WELL OPERATING PERMIT (Non-Exempt Water Well)

This document is to be completed by GCGCD upon the approval of the Operating Application by the Board of Directors.

Date Approved by Board: _______________		Renewal Date: _____________________

GCGCD Permit Well Number: ____________________

Landowner/Operator Name: _________________________________________________________

Phone: _____________________________

Mailing Address: _________________________________________

Physical Address of well: _______________________________________________

Email (if applicable): __________________________________________________

Well GPS: _____________________________________

Acre-Feet per year: _______________	Gallons per year: _________________________

Special Previsions/Comments: ______________________________________________________________________________________________________________________________________________________________________________

Fees: ___________________________

______________________________________		__________________

GCGCD Signature 					Date

All information listed on the Application is used to complete this Permit.

GCGCD Form 2014-06-0007 (Page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

MITIGATION RULE 12.9 WORKSHEET

To be attached and made part of the permit:

WELL REGISTRATION NUMBER_________________________

OPERATING PERMIT NUMBER__________________________

Permit applicant _____________________________________________________

Groundwater Use _____________________________________________________

Permit pumping request _______________________GPM

Permit pumping request _________________________acre feet per year

Permit acreage _________________________

Well location minimum distance from property line ______________________

Minimum depth of well _________________________________

Proposed location GPS ________________________N_____________________W (Rule 11.1)

Each permit will be evaluated on proximity to boundary line, pumping rate, annual pumping volume, and depth of well for determining mitigation requirements.

Further evaluation required?  Yes ___ No ___ (If Yes, please answer the following questions.)

1.  Effect on water level on adjoining properties.  Rule 12.6B provides for a maximum drawdown at the permit boundary line of 10 feet.  For export of water out of county Rule 8 is applicable.

List known wells and approximate location on adjoining properties:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Applicant lists any wells on applicant property that can be used to monitor water level:

__________________________________________________________________________________________________________________________________________________________________________

Form 2014-06-0007 (Page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

List wells on adjacent properties that can be used to monitor water level:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Applicant/GCGCD Board action

____________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

2.  Effect of water quality on adjoining properties wells listed in item 1.

Applicant/GCGCD Board action _____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

3.  Mechanical damage to adjoining properties wells.

GCGCD Board to use data from items 1 and 2 to determine requirements

____________________________________________________________________________________

____________________________________________________________________________________

4.  Effect on springs or artesian wells.

List all known springs and artesian wells on adjoining properties and applicant property

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

5.  Reduction of artesian pressure effects. Applicant/GCGCD Board action _____________________________________________________________________________________

_____________________________________________________________________________________

GCGCD Form 2014-06-0007 (page 3)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

6.  Time schedule for implementation of requirements in items 1-5

_____________________________________________________________________________________                                     _____________________________________________________________________________________

_____________________________________________________________________________________

7.  Establishment of an escrow fund.  GCGCD Board action ____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

8.  Contamination of groundwater by applicant.  GCGCD Board action ____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

Signatures:

Applicant _________________________________________Date: __________________

GCGCD ___________________________________________Date: _________________

GCGCD Form 2014-06-0008 (page 1)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

Instructions:  Please type or print legibly.  This application is to be used for authorization to transport water produced from a non-exempt well off the property from which the water is produced, for use within the District.  Rule 9 of the District Rules govern the issuance of transportation permits.  Rule 12.2 – 12.9 of the District Rules governs the issuance of permits for wells.  In addition to this permit, the well or wells producing water to be transported under this permit must have valid operating permits issued in accordance with the provisions of Rules 9 & 12 of the District Rules.

DATE: __________________________

- Applicant

The applicant for this authorization is the well:  (check all that are applicable)

______Owner _____Operator _____Property Owner

- Application Purpose

Application is hereby made to the Goliad County Groundwater Conservation District for authorization to transport a quantity of water produced from a groundwater well located with the District for use outside of the District. Rule 9 (a) (1) of the GCGCD Rules states “Every person who produces water from permitted wells located, within the District, when all or any part of such water is transported for use, or for intended use, off the property from which the water is produced, but within the District, must register the production under this Rule, unless the production is covered by a permit under Rule 8.  The term ‘property from which water is produced’, as used in this subsection, shall be construed to mean water rights owned by an entity within a continuous perimeter boundary situated within the district.  Transportation of water requiring registration under this Rule includes transportation by pipeline, vehicle, channel, ditch, watercourse or other natural or artificial facilities, or any combination of such facilities.”

- Applicant information

Applicant: _________________________________________________________

Mailing Address: ____________________________________________________

City: __________________________State: __________Zip: ________________

Telephone Number: __________________________________

Fax Number: ________________________________________

E-mail address: ______________________________________

Contact Person: ____________________________________________________
(If different from applicant or if applicant is a business, corporation, governmental entity, estate, trust, etc.)

Contact Telephone Number: __________________________________________

Contact Fax Number: _______________________________________________

Contact E-mail Address: _____________________________________________

GCGCD Form 2014-06-0008 (page 2)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

Water Rights Owner Information if different from applicant:

Name: ___________________________________________________________

Mailing Address: ___________________________________________________

City: _________________________ State: ___________ Zip: _______________

Telephone Number: _____________________________________

Fax Number: __________________________________________

E-Mail address: ________________________________________

- Proposed Use of Water Produced

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Attach a statement of the nature and the purpose of the proposed use or uses and the amount of the transported water to be used for each purpose if more space is required.

- Well Information

Submit this information for each well to be used to produce water to be transported under this permit to a destination outside the District for use outside the boundaries of the District.

Goliad County Groundwater Conservation District well number; ________________

Location of Well:  Address: ______________________________________________

City: ___________________ State: ______________ Zip: ________________

Latitude: _____________________North  Longitude: __________________West

Status of well as of application date:

________ Operating Well (Date drilled ______________________)

________ Well Completed but not operating (Date Drilled ______________)

________ Well Drilling permit and Well Operating Permit awaiting approval

Annual permitted production of well is ______________________gallons.

Acreage where well is located ____________________________

Physical address of well location ________________________________________________

GCGCD Form 2014-06-0008 (page 3)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

Time schedule for completion of construction and/or operation of facility: __________________________________________________________________________________________________________________________________________________________________

Pump Size and Capacity: ________________________________________________

Make and Model of Pump: ______________________________________________

Anticipated duration required for he proposed use of the water: __________________

If water is to be used for injection water within Goliad County please attach quality testing results as per District policy.

This information for additional wells is to be submitted, in the above format, as an attachment to this application.

- Quantity transported

Authorization to transport the following quantity of water annually for use outside the District is requested:

__________________________________________________Gallons

A transportation permit is issued for a period of time in accordance with Texas Water Code, Section 36.122(h) (2) and (i).  A technical description of the facilities to be used for transportation of water and a time schedule for any construction thereof must be attached so that the district may determine the transportation permit term. A log provided by the District of all water sales must be filed monthly with the District.

- Receiving location

Describe the location or locations that will receive water transported out of the District under this permit.  Please include a description of the entity’s service area, metering and leak detection, and repair program for its water storage, delivery and distribution system, drought or emergency water management plan and information on each customer’s water demand, water conservation measure and goals, and the means for implementation and enforcement.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

If additional space is needed, please attach additional sheets as necessary to fully document the recipient location for water transported out of the district under this permit.

GCGCD Form 2014-06-0008 (page 4)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

- Water Availability

Discuss the availability of water in the district and in the proposed receiving area during the period for which the water supply is requested.  Attach a separate sheet if more space is required.

____________________________________________________________________________________________________________________________________________________________________________________________

Could any other liquids which are both technically feasible and economically reasonable for you to substitute for the fresh groundwater be used for this purpose? Yes or No

If yes, describe the possible sources of such liquid, including quantity and quality.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Projected Aquifer Effects

Discuss the projected effect of the proposed transfer on aquifer conditions, depletion, subsidence, or existing permit holder or other groundwater users within the District.  Attach a separate sheet if more space is required.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Documentation, Attachments and Fees

The following documentation, attachments and fee payments must accompany this application when it is submitted for consideration by the District.

  - Plat or map showing location of the property and location on property of well(s) for which application is submitted showing location of existing or proposed well(s), location of the existing or proposed meter(s) for compliance to section d. of this item, the location of the existing proposed water transporting facilities and the location of the proposed or increased use or uses.

  - If the owner and /or the operator of well(s) are different from the property                                  owner, provide written documentation from the property owner authorizing construction and operation of well(s).

  - The applicant’s water conservation plan and if any subsequent user of the water is a municipality or entity providing retail water services, the water conservation plan of that municipality or entity shall also be provided.  In lieu of a water conservation plan, a declaration that the applicant and/or a subsequent user if any subsequent user is a municipality or entity providing retail water services will comply with the District Management Plan as stated below.

  - The applicant’s Drought Contingency Plan and a copy of any subsequent user’s Drought Contingency Plan or a declaration that the applicant or a subsequent user will comply with District rules, policies and Board actions in drought conditions as stated below.

GCGCD Form 2014-06-0008 (page 5)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

  - Copies of any contracts between the applicant and any users if they are someone other than the applicant.

  - Plat or map showing all landowners adjacent to and within ½ mile of any proposed production wells along with names and contact information ( mailing addresses or email addresses) of landowners and proof of notification of these landowners of the intent to transport water from this site.

- Certification

I, the undersigned applicant, hereby agree and certify that:

a.    in using the well(s), I will avoid waste, achieve water conservation,

protect groundwater quality and the water produced from the well(s) will

be for a beneficial use;

- I will comply with all District and State well plugging and capping

Guidelines in effect at the time of well closure;

c.	 I agree to abide by the terms of the District Rules, the District

Management Plan and orders of the District board of Directors currently

in effect and as they may be modified, changed and amended from time

to time;

- I hereby certify that the information contained herein is true and correct

to the best of my knowledge and belief.

*Signature: ______________________________________Date: _________________

Printed Name: ____________________________________ Title: _________________

STATE OF TEXAS COUNTY OF _________________________________

*If the applicant is an individual, the application may be signed by that individual or his duly appointed agent.  If signed by an agent, the agent must include or attach evidence documenting his or her authority to represent the applicant.

If the applicant is a partnership, the applicant’s name should be followed by the words “a Partnership”, the application must be signed by at least one of the general partners who are authorized to bind all of the partners, and a copy of the partnership agreement shall be attached to this application.

If the applicant is a corporation or governmental entity, the application must be signed by a duly authorized official of the applicant.  A copy of the resolution or other documentation evidencing authorization to make the application shall be attached to this application.

If the application is made of an a\estate, trust or guardianship the application shall be signed by the duly appointed guardian, trustee, or representative, and a copy of an instrument evidencing the existence of the entity must be attached to the application.

GCGCD Form 2014-06-0008 (page 6)

GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)

118 S. Market St. | P.O. BOX 562

GOLIAD, TEXAS 77963

Phone: 361-645-1716 FAX:  361-645-1772

Email: gcgcd@goliadcogcd.org

Website:  www.goliadcogcd.org

TRANSPORT PERMIT APPLICATION

*********************************For District Use Only*********************************

Date of hearing: _________________________ Date approved: _________________

Conditions: ___________________________________________________________________

_____________________________________________________________________________

Expiration Date of Permit for construction:__________________

Explanation of beneficial use: ___________________________________________________________

Rate and amount of water transported:___________________________________________________

Expiration date of production permit: ____________________________________________________

General Manager shall determine whether the application, maps, and other materials comply with the requirements of the District rules and may require amendment of the application, maps, etc.

Signature of District Representative and Title: ___________________________________________

Date:  __________________________________

GCGCD Form 2015-04-0001
GOLIAD COUNTY GROUNDWATER CONSERVATION DISTRICT (GCGCD)
118 S. Market St. | P.O. BOX 562
GOLIAD, TEXAS 77963
Phone: 361-645-1716 FAX:  361-645-1772
Email: gcgcd@goliadcogcd.org
Website:  www.goliadcogcd.org

TRANSPORT PERMIT (Non-Exempt Water Well)

This document is to be completed by GCGCD upon the approval the Transport Application by the

Board of Directors.

Date Approved by Board: _________________________

GCGCD Permit Number: ____________________

Landowner Name: ________________________________________

Operator Name: __________________________________________

Contact Name: ___________________________________________

Contact Phone: _______________ ___________________________

Mailing Address: _________________________________________

Email (if applicable): ______________________________________

Date Well Completed: _____________________________________

Well GPS: _______________________________________________

Quantity Transported: ________________________

Special Previsions/Comments:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________		__________________

GCGCD Signature 					Date

All information listed on the Application is used to complete this Permit.