**LAWRENCE WATER SUPPLY CORPORATION 2021 DRINKING WATER QUALITY REPORT**

**(CONSUMER CONFIDENCE REPORT FOR PWS 1290018)**

# TO OUR MEMBERS

This report is intended to provide you with important information about your drinking water and the efforts made by the water system to provide safe drinking water. The data contained in this report is for the period of January 1 to December 31, 2021. Lawrence WSC is Purchased Surface Water from the City of Terrell. For more information regarding this report, contact Janine Burnett, Office Manager at 972-563-7422.

# SOURCES OF DRINKING WATER

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.

Contaminants that may be present in source water include:

* Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
* Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
* Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
* Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by- products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
* Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Contaminants may be found in drinking water that may cause taste, color, or odor problems. These types of problems are not necessarily causes for health concerns. For more information on taste, odor, or color of drinking water, please contact the system's business office.

# CRYPTOSPORIDIUM

You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water. Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers. Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at [http://www.epa.gov/safewater/lead.](http://www.epa.gov/safewater/lead)

# SOURCE WATER ASSESSMENT

The TCEQ has completed a Source Water Assessment for all drinking water systems that own their sources. The report describes the susceptibility and types of constituents that may come into contact with your drinking water source based on human activities and natural conditions. The system(s) from which we purchase our water received the assessment report. Lawrence WSC is Purchased Surface Water from the City of Terrell 1290006. For more information on source water assessments and protection efforts at our system, contact 972-563-7422.

For more information about your sources of water, please refer to the Source Water Assessment Viewer available at the following URL: <http://www.tceq.texas.gov/gis/swaview>

Further details about sources and source-water assessments are available in Drinking Water Watch at the following URL: <http://dww2.tceq.texas.gov/DWW/>

# PUBLIC PARTICIPATION OPPORTUNITIES

The public is welcomed to attend the Lawrence Water Supply Corporation Board Meeting held at 5632 CR 237A, Terrell, Texas 75160. Please check the website [www.lawrencewsc.com](http://www.lawrencewsc.com/) for meeting dates, times, and agendas.

# DEFINITIONS

**Action Level:** The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

**Action Level Goal (ALG):** The level of a contaminant in drinking water below which there is no known or expected risk to health. ALGs allow for a margin of safety.

**Avg:** Regulatory compliance with some MCLs are based on running annual average of monthly samples. **Maximum Contaminant Level or MCL:** The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

**Maximum Contaminant Level Goal or MCLG:** The level of a contaminant in drinking water below which

there is no known or expected risk to health. MCLGs allow for a margin of safety.

**Maximum residual disinfectant level or MRDL:** The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

**Maximum residual disinfectant level goal or MRDLG:** The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of

disinfectants to control microbial contaminants. **MFL:** million fibers per liter (a measure of asbestos) **na:** not applicable.

**NTU:** nephelometric turbidity units (a measure of turbidity)

**pCi/L:** picocuries per liter (a measure of radioactivity)

**ppb:** micrograms per liter or parts per billion - or one ounce in 7,350,000 gallons of water. **ppm:** milligrams per liter or parts per million - or one ounce in 7,350 gallons of water. **ppt:** parts per trillion, or nanograms per liter (ng/L)

**ppq:** parts per quadrillion, or picograms per liter (pg/L)

# 2021 WATER QUALITY TEST RESULTS

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LEAD AND COPPER | | | | | | | | |
| **Lead and Copper** | **Date Sampled** | **MCLG** | **Action Level (AL)** | **90th Percentile** | **# Sites Over AL** | **Units** | **Violation (Y/N)** | **Likely Source of Contamination** |
| **Copper** | 2021 | 1.3 | 1.3 | 0.348 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| REGULATED CONTAMINANTS | | | | | | | | |
| **Disinfectants and Disinfection By- Products** | **Collection Date** | **Highest Level Detected** | **Range of Levels Detected** | **MCLG** | **MCL** | **Units** | **Violation (Y/N)** | **Likely Source of Contamination** |
| Haloacetic Acids (HAA5) | 2021 | 19 | 12.9-23.3 | No goal for the total | 60 | ppb | N | By-product of drinking water disinfection. |
| Total Trihalomethanes (TTHM) | 2021 | 28 | 18.2 – 36.8 | No goal for the total | 80 | ppb | N | By-product of drinking water disinfection. |
| **The value in the Highest Level or Averaged Detected column is the highest average of all HAA5 and TTHM sample results collected at a location over a year.** | | | | | | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| INORGANIC CONTAMINANTS | | | | | | | | |
| **Contaminant** | **Collection Date** | **Highest Level**  **Detected** | **Range of Levels**  **Detected** | **MCLG** | **MC L** | **Units** | **Violation (Y/N)** | **Likely Source of Contamination** |
| Nitrate [measured as Nitrogen] | 2021 | 0.452 | 0.178 –  0.452 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHLORINE RESIDUAL | | | | | | | | | |
| **Disinfectant** | **Year** | **Average**  **Level** | **Minimum**  **Level** | **Maximum**  **Level** | **MRDL** | **MRDLG** | **Unit of**  **Measure** | **Violation**  **(Y/N)** | **Likely Source of**  **Contamination** |
| Chloramines | 2021 | 2.61 | .58 | 3.5 | 4.0 | <4.0 | Mg/L | N | Water additive used to control microbes. |

|  |  |  |  |
| --- | --- | --- | --- |
| VIOLATIONS: CHLORINE | | | |
| **Some people who use water containing chlorine in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort.** | | | |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Disinfectant Level Quarterly Operating Report (DLQOR) | 07/01/21 | 09/30/21 | We failed to submit timely evidence of testing our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

|  |  |  |  |
| --- | --- | --- | --- |
| VIOLATIONS: PUBLIC NOTIFICATION RULE | | | |
| **The Public Notification Rule helps to ensure that consumers will always know if there is a problem with their drinking water. These notices immediately alert consumers if there is a serious problem with their drinking water (e.g., a boil water emergency).** | | | |
| **Violation Type** | **Violation Begin** | **Violation End** | **Violation Explanation** |
| Public Notice Rule linked to violation | 05/01/21  and 07/04/21 | 2021 | We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations. |