## Slide 1: January CVFPB Meeting California Central Valley Flood Control Association Informational Briefing on January 2023 Storm Damage

## Slide 2: City of Sacramento Erosion and Sloughing Sites Along SREL Dowstream of the American River

## Slide 6: Reclamation District 1600 Sites

## Slide 13: Reclamation District 108 Sites

## Slide 20: Reclamation District 551 Sites

## Slide 21
RD 551, Pearson District, erosion on Sacramento River, directly downstream of MA 9

## Slide 22
DEADHORSE ISLAND
Seepage, Slips, Emergency Rock Slope Protection
RD 2111
TWITCHELL ISLAND
RD 1601
Mokelumne River at Benson’s Ferry peaked over Flood Stage
NORTH DELTA OVERVIEW
TYLER ISLAND
RD 563
Pre-positioned materials for Muscle Wall, Fallen Trees, Emergency Patrolling
Seepage, Slumping, Levee Crown Road Damage, Wave Runup
M O K E L U M N E
Notes: Cosumnes/Mokelumne was high (thankfully releases from Comanche were low)
San Joaquin River remained low, allowing flows to convey through the pinch point without catastrophic damage

## Slide 23
DEADHORSE ISLAND
Rock Slope Protection,
Slumping, Seepage
RD 2111

## Slide 24
TWITCHELL
ISLAND
Wave Run Up, Slumping that Damaged Levee Crown Road
RD 1601

## Slide 25
TYLER
ISLAND
Pre-Staged Material for Muscle Wall in Anticipation of High Water, Felled Trees, Seepage
RD 563