ImmunoBioScience Corp. (IBSC)                                                                                           DATA SHEET CARCINOEMBRYONIC ANTIGEN (CEA), Polyclonal rabbit anti-human

Catalog number: RP-4005-01   0.5 ml       Concentrated            IgG 2 mg/ml

RP-4005-02    1.0 ml       Concentrated           IgG 2mg/ml

RP-4005-04    7.0 ml       Prediluted for IHC   IgG 8 µg/ml

Description: CEA is highly glycosylated 180 kDa glycoprotein involved in cell adhesion. It is normally produced during fetal development and then re expressed in increased amounts in colorectal, gastric, pancreatic, lung and breast carcinomas. CEA measurement is mainly used as tumor marker to identify recurrence after surgical resection.

Buffer: Protein A purified total immunoglobulin IgG in10 mM PO4, 200 mM NaCl, pH 7.4, 1 % BSA, 0.05% sodium azide.

Host: Rabbit

Reagent: Concentrated or prediluted antibody.

Storage:  2-8oC.

Epitope: Not determined

Species reactivity: Human, others not tested.

Immunogen: Human CEA purified from colon carcinoma.

Positive control: Human colon cancer

Cellular localization: Luminal membrane and Cytoplasmic

Application: Immunohistochemistry (IHC) for formalin-fixed paraffin embedded (FFPE) tissue sections and frozen sections. Dilute 1:100-1:200 using polymer or streptavidin ~biotin system for 30 mins at room temperature. The optimum dilution should be determined by the individual lab.

Specificity and Reactivity: This antibody recognizes CEA n several tumor tissues.

References:

1. Gold P, Freeman SO J exp. Med.121: 439 (1965)

2. Hammarstrom S, Semin Cancer Biol. 9: 67-81 (1999)

--------------------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601, Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA