ImmunoBioScience Corp. (IBSC)                                                                                                 DATA SHEET

PHOSPHOTYROSINE  Polyclonal rabbit anti-human

Catalog number: RP-4026-01    0.5 ml       Concentration:        IgG    2 mg/ml

RP-4026-02    1.0 ml       Concentration         IgG    2 mg/ml

Description: Tyrosine phosphorylation is one of the major means of cell signaling transduction and enzymatic activity regulation. The advent of anti-phospho-tyrosine antibodies is one of significant events in signal transduction research. Before the availability of anti-phosphotyrosine antibodies, tyrosyl phospyhorylation of proteins and enzymes was investigated through hazardous and time-consuming radioactive experiments. Anti-phosphotyrosine antibodies are commonly used in western blots after the targeted proteins have been immunoprecipitated to measure the tyrosyl phosphorylation of the proteins. Anti-phosphotyrosine antibodies are also directly used on cell lysate to examine the overall change of tyrosine phosphorylation level in response to various treatments. This antibody detects free and conjugated phosphotyrosine as well as, phosphotyrosine in modified cellular proteins. It does not cross-react with nonphosphorylated tyrosine, phosphothreonine, phosphoserine, AMP, or ATP. Certain proteins known to contain phosphorylated tyrosine may not be detected by this antibody due to steric hindrance.

Buffer Protein A purified total IgG in 10 mM tris-HCl buffer, 150 mM NaCl, and pH 7.4, and 0.05% % sodium azide

Host: Rabbit

Intended Use: ELISA, dot blot, Western blotting (not tested in our lab)

Storage:  2-8°C

Immunogen: Phosphotyrosine conjugated with R-PE.

Positive control: ELIS~BSA was used for ELISA and dot blots.

Cellular localization:

Species reactivity: ELISA (capture antibody) 1:10,000-1:50,000;

The titer was determined by binding Phosphotyrosine conjugated BSA antigen on ELISA plate (100 ng/well). Bind antibody to antigen, which can be detected by peroxidase secondary antibody and TMB chromogen substrate system.

The optimum dilution should be determined by the individual lab.

CAUTION: Buffersand proteins which contain phosphate should be avoided  with this antibody.

General References:

References

.1.  Schlessinger, J., Cell, 103, 211-225 (2000).

2. Blume-Jensen, P., and Hunter, T., Nature, 411,355-365 (2001).

. 3. Yarden, Y., and Sliwkovsky, M.X., Nat. Rev. Mol.Cell Biol., 2, 127-137 (2001).

. 4. Schlaepfer,, D.D. and Hunter, T., Trends Cell Biol.,8, 151-157 (1998).

. Hubbard, S.R., et al., J. Biol. Chem., 273, 11987-11990 (1998).

. Zou, X., and Calame, K., J. Biol. Chem., 274,18141-18144 (1999).

-----------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA