ImmunoBioScience Corp. (IBSC)                                                                                  DATA SHEET

Vimentin, Polyclonal rabbit anti-human

Catalog number: RP-4002-01    0.5 ml       Concentrated          IgG   3 mg/ml

RP-4002-02    1.0 ml       Concentrated           IgG   3mg/ml

RP-4002-04    7.0 ml       Prediluted for IHC   Ig   ~ 10µg/ml

Description: Vimentin is 57 kDa intermediate filament proteins in mesenchymal cells. It is attached to the nucleus, endoplasmic reticulum and mitochondria either laterally or terminally. Vimentin is important in the differential diagnosis of undifferentiated neoplasm.

Buffer: Total immunoglobulin purified on Protein A column in10 mM PO4, 200 mM NaCl, pH 7.4, 1% BSA, 0.05% sodium azide.

Host: Rabbit

Reagent: Conc. antibody or prediluted for IHC

Storage:  2-8oC.

Immunogen: 14 amino acid peptide from C terminal.

Molecular weight of Vimentin: 57-60 kDa

Positive control: Sarcomas, melanomas, Hela cells

Cellular localization: Cytoplasmic

Species reactivity: Human, others not tested

Application: Immunohistochemistry (IHC) 1:50-1:100 using polymer system or streptavidin-biotin system. Formalin-fixed paraffin-embedded (FFPE) tissue sections and cell smears do not require antigen retrieval. The optimum dilution should be determined by the individual lab

-------------------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any lab. products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone: + 1 425 314 0199

Marketing phone: + 1 650 343 IBSC (4272); e-mail:anitaIBSC@aol.com

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA