ImmunoBioScience Corp. (IBSC)                                                                                              DATA SHEET

17-α-HYDROXY PROGESTERONE, Polyclonal rabbit anti-human

Catalog number: RP-4030-001   0.1 ml

RP-4030-02     1.0 ml

Description: 17-Hydroxyprogesterone is a natural progestin, and in pregnancy increases in the third trimester primarily due to fetal adrenal production. This hormone is primarily produced in the adrenal glands and to some degree in the gonads, specifically the corpus luteum of the ovary. Normal levels are 3-90 ng/dl in children and in women, 15-70 ng/dl prior to ovulation, and 35-290 ng/dl during the luteal phase

Buffer: Immunized serum is supplied with 0.1% sodium azide.

Host: Rabbit

Intended Use: Microwell or Blood Spot EIA

Storage:  2-8°C, for long term storage, aliquot as needed and store at -20ºC. Repeated freezing

And thawing should be avoided.

Immunogen: 17 α-hydroxyprogesterone-3-CMO-BSA

NOTE: Antibodies to BSA have been removed from this product.

Species reactivity: Human, and all species that contain this steroid.

Application: Titer for Serum EIA 1:150,000

Titer for Neonatal blood Spot EIA: 1:100,000

The optimum titer should be determined by the testing method used for EIA.

Characterization of Data: Cross reactivity is determined by the method of Guy Abraham. Ratio of concentrations of unlabeled steroid and compound X that displaces 50% of labeled steroid from the anti-serum.

Cross Reactivity of X=100 (Conc. steroid)/(Conc.X)

Steroids                           % Cross Reaction                  Steroids                             % Cross Reaction

C-21 Steroids                                                                                     C-19 Steroids

17 α –Hydroxyprogesterone                    100                           Androstenedione                                                 0.002

Pregnenolone                                           0.008                       Testosterone                                                        0.004

17-OH-Pregnenolone                               0.626                        5 α Dihydrotestosterone                                    <0.001

17-OH-Pregnenolone-SO4                       0.586                        Dehydroepiandrosterone (DHEA)                     <0.001

Progesterone                                             0.340                        Dehydroepeiandrosterone SO4 (DHEA SO4)   <0.001

Desoxycorticosterone                               0.018

11-Desoxycortisol                                    0.586                                C-18 Steroids

21-Desoxycortisol                                    1.690                          Estradiol 17 β                                                   <0.001

Corticosterone                                          0.003                          Estradiol 17                                                      <0.001

Aldeosterone                                           <0.001                         Esterone (E1)                                                    <0.001

Cortisol                                                     0.003                          Estriol                                                               <0.001

Refrences: Guy Abraham J. Clin. Endocrinology and Metab. 29: 866-870, 1969

----------------------------------------------------------------------------------------------------------------------------------------

Limitation and warranty: Our warranty is limited to the actual price paid for the product. We are not liable for any property damage, personnel injury, time, effort or economic loss due to our product.

MSDS: This product contains 0.05 % sodium azide as a preservative, appropriate care should be taken in handling. National Institute of Occupational Safety and Health has warning that sodium azide can react with lead, copper, brass or solder in the plumbing system and forms hydrazoic acid in acidic condition. Discard with copious amount of water. Avoid skin and eye contact with all laboratory products. Use appropriate lab. gear, lab coat , gloves and  safety glasses. Do not ingest any laboratory products. This product is not approved for administration in human or animals.

---------------------------------------------------------------------------------------------------------------------------------

For research use only; not for use in diagnostic procedures. FOR IN VITRO LABORATORY USE ONLY

“In vitro laboratory products for research”

Phone: + 1 425 367 4601; Fax: + 1 425 367 4817; cell (mobile) phone:  + 1 425 314 0199

Web site: www.immunobioscience.com; E-mail: baderbo@gmail.com

PRODUCT OF USA