**ELDRED TOWNSHIP**

**MONROE COUNTY, PENNSYLVANIA**

**IN ACCORDANCE WITH THE ELDRED TOWNSHIP WATER WELL ORDINANCE No. 2020-03**

**WELL DRILLER PERMIT APPLICATION**

Requirements:

1. Attach a complete dimensioned plot of the lot and location, include placement of the well on the plot plan and setbacks, include street names, any wetlands delineation; Show lot lines, and septic locations.

2. Provide the Parcel Identification Number. If this property has changed owners provide the date of change.

3. Submit a copy of specs for all construction.

4. All transactions must be check, money order, or credit/debit card and accompany a completed permit change.

5. Within 30 days of the completion of the well, the printed water well report from Well Driller shall be submitted to the Township. (<https://www.webdrillersecure.dcnr.state.pa.us>)

**ELDRED TOWNSHIP CONTRACTOR CERTIFICATION**

I, \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_make this certification as an authorized representative of

[Print]

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_[Property Owner]. I hereby acknowledge that I have received, read and understood the Eldred Township Ordinance No. 2020 – 03. I certify that I am a person licensed by the Commonwealth of Pennsylvania pursuant to the Water Well Drillers License Act (found at 32 P.S. §645.1 et.seq.) to drill dig, drive, bore, core, wash, jet, construct, alter or repair Water Wells in the Commonwealth of Pennsylvania.

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

State License No.: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Printed Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Doing Business As: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**ELDRED TOWNSHIP WELL PERMIT FEE SCHEDULE**

A. The application fee for a permit to construct a new well shall be $250.00, which shall include the initial and final inspection. In the event there is a need to perform a re-inspection prior to the issuance of certificate of occupancy, the fee for each re-inspection shall be $100.

B. The application fee for a permit to perform any other alteration to, or close, an existing well, shall be $100.00. If more than one plan review/inspection is required in connection with the permit, such additional plan review/inspection shall require an additional fee of $100.

C. In the event that a property owner desires to appeal any action of the Township Enforcement Officer under the Well Ordinance to the Township Board of Supervisors, the property owner shall pay an additional appeal fee of $250.00. No hearing on an appeal will be scheduled until the appeal fee is paid.

**WELL DRILLER PERMIT APPLICATION**

Make Checks Payable to Eldred Township

Property Owner Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Property Owner Phone Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Property Owner Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Property Location:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

14 Digit Parcel Identification Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Is the 911 Address Posted Correctly:

Yes [ ] No [ ]

Contractor Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor Email: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor Phone Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor Fax: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

[ ] New Well $250 [ ] Re-Inspection $100 [ ] Alteration, Close Existing Well $100 [ ] Appeal $250

If the contractor is not the well driller, complete the well driller information below.

Well Driller Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Well Driller Phone Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Well Driller Email: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Well Driller Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Well Driller Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I fully understand the provisions of this application and herby certify that all information submitted is true and correct to the best of my knowledge

Applicant Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Owner Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date of Application: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Permit Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Permit Status:

Approved [ ] Denied [ ] Reason (If Denied):

NAME: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Enforcement Officer Hanover Engineering Associates Inc.

**IN ACCORDANCE WITH ELDRED TOWNSHIP WELL ORDINANCE 2020-03.**

Permit Effective Dates: All permits shall be in effect as of the date of issuance and shall remain in effect for a period of one (1) year. After one (1) year and not more than three (3) years, permits are to be reviewed and must adhere to any changes made within this or supportive regulation as well as Minimum Required Isolation Distance not previously referenced on the previously submitted Site Plan. If construction has not been completed within the three-year period the permit shall expire, all fees paid shall be forfeited, and a new permit shall be required.

Fee: The fee for a Water Well permit shall be established from time to time by resolution of the Board of Supervisors.

Location: Water Wells shall be located at the following minimum horizontal isolation distances to existing or potential sources of pollution.

|  |  |
| --- | --- |
| **POTENTIAL POLLUTION SOURCE** | **MINIMUM REQUIRED ISOLATION DISTANCE**  **(feet)** |
| Animal enclosures and manure piles | 100 |
| Any clear water (roof/basement) drain | 10 |
| Building foundations | 10 |
| Cemetery or grave site | 50 |
| Chemical preparation/storage area | 300 |
| Chemicals; above- or below-ground storage | 100 |
| Fertilizers preparation/storage area | 300 |
| Hazardous spray materials preparation/storage area | 300 |
| Lakes, ponds, streams | 25 |
| Landfill, existing, proposed, or abandoned | 1,000 |
| Property lines | 10 |
| Railroad tracks | 50 |
| Rainwater pits | 25 |
| Road right of way, private | 10 |
| Road right of way, public | 25 |
| Salt piles | 300 |
| Salvage yard | 300 |
| Septic tanks | 50 |
| Sewage disposal systems, subsurface | 100 |
| Sewage disposal systems, surface | 100 |
| Sewage seepage pits, privies, cesspools | 100 |
| Sewage sludge or septage disposal sites | 300 |
| Sewer lines | 50 |
| Silos, farm | 100 |
| Spray irrigation sites | 300 |
| Storm drains | 25 |
| Storm water retention/stabilization basins | 25 |
| Water well, properly decommissioned | 10 |
| Water well, existing | 25 |
| Waste Treatment Facility | 300 |

**WATER WELL HORIZONTAL ISOLATION DISTANCE EXEMPTION**

A. Any minimum horizontal isolation distance requirement for the placement of water wells as set forth in (Ref-Subchapter) is not applicable if the Board of Supervisors finds that the installation of the water well in the location proposed does not appear to pose a threat of pollution to that water well.

B. The applicant shall submit a formal written request for a water well minimum horizontal isolation distance exemption to the Board of Supervisors, which request shall include:

(1) Appropriate groundwater studies.

(2) Payment of fees or costs incurred by the local agency to review the groundwater study.

(3) A release of liability on a form provided by the Township.

C. Upon receipt of the items required in Subsection B, the Board of Supervisors shall act upon an application for an exemption under this section within 45 days after receipt of a properly submitted, complete request for an exemption.

D. The Board of Supervisors, Township and SEO will incur no liability as a result of the Board of Supervisors granting an exemption under this section.

**SITE PLAN**

Attach a complete dimensioned plot of the lot and location, include placement of the well on the plot plan and setbacks, include street names, any wetlands delineation; Show lot lines, and septic locations.