8.5 Fire safety and emergency evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety Consultant.

Procedures

We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- The supervisor has received training in fire safety sufficient to be competent to carry out the risk assessment;

- Where we rent premises, we will ensure that we have a copy of the fire safety risk assessment that applies to the building and that we contribute to regular reviews.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures is:

- learly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- Practised regularly, at least once every six weeks.

- Records are kept of fire drills and of the servicing of fire safety equipment.

[

Emergency evacuation procedure

Every setting is different and the evacuation procedure will be suitable for each setting. It must cover procedures for practice drills including:

- An alarm is sounded.

- The children are lined up at the classroom fire door and led out to the assembly point.

- All staff members will accompany the children; the deputy/supervisor shall collect first aid box, register, tick list, medication and mobile phone.

- The fire Marshall shall check the allocated areas are clear and join the other children and staff at the assembly point.

- The lead practitioner shall call parents if unsafe to return to the building.

The fire drill record book must contain:

- The date and time of the drill.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

- Signed: ……………………………………….

- Name of signatory: ………………………….

- Role of signatory: …………………………...

- Date: ………………………………………….