## Introduction
Initial and Ongoing Demonstrations of Capability are discussed in the QSM section 19.4 and in individual analytical SOPs
Instructions for this Workbook are found in the Word document Microbiological DoCs Excel Workbook Instructions |  |  | The current version and effective Date of this workbook and instructions
|  |  | 1 | 2023-11-09
Worksheets | All Cells in Black font are data that is entered in by the user
All Cells in Red font are data that is calculated
All Cells in Green font are Notes and Instructions
WARNING: | Be sure not to delete the contents of the cell marked as nextrow in the various Data worksheets
Doing so causes the macros not to work
DANGER |  | Nothing in this workbook is protected and it is very possible to overwrite data and formulas.
BE VERY CAREFUL where you put anything. Check to see it the cell contains a formula or necessary information

## Compute R
| Paired Values | [5 empty] | Precision Criterion
Date | Units | Units | Pair # | Log 1 | Log 2 | Difference | Computation of R
1
|  |  | 2 |  |  |  | 0 | Meets minimum of 15 pairs | NOT ENOUGH
|  |  | 3 |  |  |  | Criterion at 3.27 x R
4
|  |  | 5 |  |  |  | Accuracy Criterion
|  |  | 6 |  |  |  | Average of all samples
7
|  |  | 8 |  |  |  | Standard deviation of all samples
9
|  |  | 10 |  |  |  | Standard deviation times Student t value
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## DoC Evaluation
Initial/Ongoing
Sample Set
| Analyst |  |  |  | Mean
| Date of Demonstration |  |  |  | Std. Dev
Method
Analytical SOP
Matrix
|  |  |  | Precision |  |  |  | Criterion
| Results | Log Results |  |  | Log 1 | Log 2 | Difference |  | Meets criterion
1 |  |  |  | 1v2 |  |  |  |  | FAIL
2 |  |  |  | 3v4 |  |  |  |  | FAIL
3 |  |  |  | 1v3 |  |  |  |  | FAIL
4 |  |  |  | 2v4 |  |  |  |  | FAIL
|  |  |  | 1v4 |  |  |  |  | FAIL
| Analysts Passes/Fails |  |  | 2v3 |  |  |  |  | FAIL
Demonstration
| FAIL |  |  | Accuracy |  | Criterion |  | to
|  |  |  | Log Results |  | Meets criterion
|  |  | 1 |  |  | PASS
|  |  | 2 |  |  | PASS
|  |  | 3 |  |  | PASS
|  |  | 4 |  |  | PASS
Evaluation of other samples
Any Failed Samples Yes/No or No other samples analyzed
No

## Student t
One sided Student's t values
Degrees | 99% CI | Formulas look for n-1 degrees of freedom.
of freedon
1 | 31.82
2 | 6.965
3 | 4.541
4 | 3.747
5 | 3.365
6 | 3.143
7 | 2.998
8 | 2.896
9 | 2.821
10 | 2.764
11 | 2.718
12 | 2.681
13 | 2.65
14 | 2.624
15 | 2.602
16 | 2.583
17 | 2.567
18 | 2.552
19 | 2.539
20 | 2.528
21 | 2.518
22 | 2.508
23 | 2.5
24 | 2.492
25 | 2.485
26 | 2.479
27 | 2.473
28 | 2.467
29 | 2.462
30 | 2.457
40 | 2.423
50 | 2.403
60 | 2.39
80 | 2.374
100 | 2.364
120 | 2.358
2.326