EMERGENCY ACTION PLAN

For

SECURITY AUTO SALES, INC.

SECURITY DODGE CHRYSLER JEEP RAM

345 MERRICK ROAD, AMITYVILLE, NY 11701

8/17/2021

CHEMICAL SPILL

Personal Protective Equipment (PPE) location:

MSDS: Service Managers Office

When a Large Chemical Spill has occurred:

- Immediately notify the designated official, Dylan Doyle (914) 574-1181

- Contain the spill with available equipment (e.g., pads, booms, absorbent powder, etc.).

- Secure the area and alert other site personnel.

- Do not attempt to clean the spill unless trained to do so.

- Attend to injured personnel and call the medical emergency number, if required.

- Call the local spill cleanup company or the Fire Department to perform a large chemical spill cleanup.

Name of Spill Cleanup Company: Able Environmental Services

Phone Number: (631) 567-6545

Evacuate building as necessary

When a small chemical spill has occurred: Notify Dylan Doyle

- If toxic fumes are present, secure the area (with caution tapes or cones) to prevent other personnel from entering

- Deal with the spill in accordance with the instructions described in the MSDS.

- Small spills must be handled in a safe manner, while wearing the proper PPE.

- Review the general spill cleanup procedures.

EMERGENCY NUMBERS

FIRE DEPARTMENT: 631-691-9081

AMBULANCE: 631-264-0400

POLICE: 631-264-0400

Or call 911

Evacuation/Fire Emergency Action Plan

In the case that a fire is discovered:

- Activate the nearest fire alarm

- Notify the local Fire Department by calling 631-691-9081

- If the alarm is not available, notify the site personnel about the fire emergency by voice communication and or phone paging

Fight the fire ONLY if:

- The Fire Department has been notified

- The fire is small and is not spreading to other areas

- Escaping the area is possible by backing up to the nearest exit

- The fire extinguisher is in working condition and personnel are trained to use it

Upon being notified about the evacuation, occupants must:

- Leave the building using the designated escape routes

- Assemble in the designated areas according to your department

Service Department-Car lot to the right of building

Sales and Parts Department- Getty station located across the street, 315 Merrick Rd, Amityville

- Remain outside until the designated official of your department announces it is safe to reenter  (Lauren Vigorito, Dylan Doyle, Matt Varricchio)

Designated officials must:

    - Disconnect utilities and equipment unless doing so jeopardizes his/her safety

    - Coordinate an orderly evacuation of personnel

    - Perform an accurate head count of personnel reported to the designated area

    - Provide the Fire Department and or police personnel with the necessary information about the facility

Emergency Lockdown Procedures

A Lockdown is implemented when there is a serious security risk (e.g., violent or armed intruder) to building occupants. You will be notified of a lockdown procedure by police and or designated officials.

If a lockdown occurs, secure an area as follows:

- Move immediately to the nearest room you feel is safe with as many people as possible

- Lock and barricade the door

- Turn off the lights or maintain minimal lighting

- Cover all windows with blinds, curtains, etc.;

- Keep back from windows and doors

- Turn off cell phones except to report injured people

- Keep calm and quiet

- Stay in the room until police arrive and you can be safely evacuated

When contacting authorities, report the following:

- Specific location, building name and address

- The number of people at your specific location

- If there are injuries, the number and types of injuries

- If you have seen an assailant or identified a threat:

- Location and number of suspects

- Direction of travel

- Their clothing and description

- Their identity if known

- Any weapons or accessories (e.g., backpack)

- Any unusual or threatening sounds (e.g., gunfire or explosion)

If a fire alarm is to sound:

- DO NOT respond normally as a fire alarm during a lockdown may be a ploy by an armed intruder

- Remain calm in you lockdown secure area, if safe to do so

- In case of fire, follow Fire/ Evacuation procedures.