Sitting Wall Guidelines

>  Sitting walls will only be permitted around the perimeter of

the patio (original or expanded) with the approval of the ARC.

>  Sitting walls must be constructed on a six(6) to eight (8) inch

compacted gravel or concrete footing adjacent to the patio

NOT on the patio.

>  Sitting walls must be constructed of interlocking blocks that

are meant for creating sitting walls.

>  Sitting walls must not touch the siding of the house.

>   Sitting walls are limited to a maximum height of twenty four (24)

inches .

>   Pillars are permitted at the ends/corners of the sitting wall,

provided the materials used match the sitting wall materials. Pillars

are limited in size to thirty(30) inches square by thirty-six(36)

inches tall as measured from the patio surface.

>  Sitting walls must have at least one thirty -six (36) inches wide

walkway or gate.

>  Homeowner will be responsible for any maintenance and/or

repairs.

>  Any required town permits are the responsibility of the homeowner.

April 20,2017