CITY OF NEWTON, ILLINOIS

ORDINANCE NO. 19-

ESTABLISHMENT OF NEW NET METERING POLICY

ADOPTED BY THE CITY COUNCIL

OF THE CITY OF NEWTON, ILLINOIS

THIS \_\_\_\_\_\_\_ DAY OF NOVEMBER, 2019

PUBLISHED IN PAMPHLET FORM BY AUTHORITY OF   
 THE CITY COUNCIL OF THE CITY OF NEWTON

JASPER COUNTY, ILLINOIS

THIS \_\_\_\_\_\_\_\_\_ DAY OF NOVEMBER, 2019

**CERTIFICATE OF PUBLICATION**

I, ROSETTA YORK, the duty qualified City Clerk of the City of Newton, Illinois, and the official custodian of records of said City do hereby certify that this Ordinance was published in pamphlet form by authority of the City Council on the \_\_\_\_\_\_\_\_ day of November, 2019.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ROSETTA YORK, City Clerk

ORDINANCE NO. 19-

A CITY OF NEWTON ORDINANCE

FOR ESTABLISHMENT OF NEW NET

METERING POLICY

BE IT ORDAINED by the City Council of the City of Newton, Jasper County,

Illinois that the current Net Metering Policy of the City set forth in Section 11-3-1(a), (b), Exhibit A and Exhibit B of the Newton City code are hereby repealed effective November 19, 2019.

BE IT FURTHER ORDAINED by the City of Newton, Jasper County, Illinois that the City hereby adopts the new Net Metering Policy set forth in Exhibit A attached hereto, the new Terms and Conditions for Interconnection set forth in Exhibit B attached hereto, the new Standard Distributed Generation Interconnection Request Application Form set forth in Exhibit C attached hereto, the new Interconnection Request Application Form set forth in Exhibit D attached hereto, and the new Certificate of Completion set forth in Exhibit E attached hereto, all of which are incorporated herein by this reference.

The effective date of the new Net Metering Policy and affiliated exhibits above described shall be November 19, 2019. Any electric generating facility operating within the City of Newton before the effective date of this new Ordinance, shall be grandfathered in and shall be governed by the old Net Metering Policy until the facility ceases to operate or there is a transfer of ownership, at which time the generating facility shall be governed by this new Ordinance.

Upon roll call vote the following Alderperson voted yea:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Upon roll call vote the following Alderperson voted nay:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Passed, approved and published in pamphlet form this \_\_\_\_\_\_ day of November, 2019.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

MARK BOLANDER, Mayor

ATTEST:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

ROSETTA YORK, City Clerk

**EXHIBIT A**

**Net Metering Policy**

Section 1: The City of Newton shall make available, upon request, net metering service to any customer taking service from The City of Newton and who meets the requirements set forth in this policy. For purposes of this policy “net metering” means service to an electric customer under which electric energy generated by that electric customer from an eligible on-site generating facility owned by that customer and, under some circumstances, delivered to the local distribution facilities, may be used to offset electric energy provided by the electric utility to the electric customer as provided for in this policy. For multi-unit residential and commercial buildings, if all units are on the same account it qualifies as a single customer for purposes of this policy. If individual units are separately metered and individual tenants have individual accounts, then the term “customer” only refers to the building owner and any usage by the owner. The utility cannot be responsible to allocate renewable generation facilities to individual accounts in a multi-unit residential or commercial building. Before the project starts construction, customer must complete the attached application form and receive approval from the Newton Municipal Electric Department. Before the project in service date, the contractor must complete and deliver the attached Certification of Completion to the Newton Municipal Electric Department.

Section 2: For purposes of this policy an eligible on-site generating facility shall be defined as a renewable generating facility such as a photovoltaic facility and small wind turbines. Other forms of renewable generation shall be considered on a case-by-case basis. In all cases, facilities interconnected must be deemed by the utility to be renewable to qualify for this policy.

Section 3: The electric generating facility must also abide by The City of Newton Interconnection Standards currently in place.

Section 4: Subject to the limitations set forth herein, the City of Newton shall make net metering service available upon request to any City of Newton residential electric customer with a qualifying generating facility of 10 kW capacity or less. For commercial and industrial accounts, the limit will be 20 kW. For all generating facilities, including those larger than these limits, the City of Newton reserves the authority to limit the size of a customer net metered installation to a size such that the electrical output will not, as a matter of routine operation, exceed the electric load of the service on which it is installed.

Section 5: Total net metered capacity interconnected under this policy for the City of Newton system shall not exceed 2% of the system’s peak as it existed in the prior calendar year. In the event that the system peak is reduced such that the existing net capacity exceeds the 2% level, those existing net metered customers shall be allowed to continue under this policy. However, no new interconnections will be allowed until such time as the system peak grows such that net metered capacity is again no greater than 2% of the system’s peak.

Section 6: The utility shall install a bi-directional meter to measure both the energy used by the customer from the utility and the energy provided by the customer to the utility. Energy generated by the customer-owned generator will offset the energy required by the customer’s load during the billing period.  Energy used by the customer from the utility, as reflected in the meter reading, shall be billed at the appropriate utility full retail rate. For any energy generated by the customer and provided to the utility for a given billing period, as reflected in the meter reading, a credit shall be applied to the customer’s bill based upon the utility’s avoided cost. Avoided cost shall be defined as the average cost in cents/kWh billed to the utility by its power supplier for the previous month.

Section 7: Any costs the City of Newton incurs associated with the net metering program, including but not limited to changes in metering (to include installation of a bi-directional meter), other physical facilities or billing-related costs, shall be borne by the participants in the net metering program participant.

Section 8: The City of Newton may develop such documents as are needed to implement this policy.

**EXHIBIT B**

**Terms and Conditions for Interconnection**

**The City of Newton shall make available, upon request, interconnection services to any customer that meets the required guidelines. Interconnection services in this ordinance refers to on-site generating facilities connected to the City of Newton electric distribution system in a manner that will allow excess electricity generated by the eligible on-site generating facility to be safely delivered onto the City of Newton electric distribution system.**

Guidelines for interconnecting to the utility system are as follows:

1. **Construction of the Distributed Generation Facility.** The interconnection customer may proceed to construct (including operational testing not to exceed 2 hours) the distributed

generation facility, once the conditional Agreement to interconnect a distributed generation facility has been signed by the utility.

1. **Final Interconnection and Operation.** The interconnection customer may operate the

distributed generation facility and interconnect with the utility's electric distribution system after all of the following have occurred:

* 1. Electrical Inspection: Upon completing construction, the interconnection customer shall cause the distributed generation facility to be inspected by the local electrical inspection authority, who shall establish that the distributed generator facility meets local code requirements.
  2. Certificate of Completion: The interconnection customer shall provide the utility with a copy of the Certificate of Completion with all relevant and necessary information fully completed by the interconnection customer, as well as an inspection form from the local electrical inspection authority demonstrating that the distributed generation facility passed inspection.
  3. The utility, at its discretion, has completed its witness test as per the following:
     1. Within 10 business days of the commissioning date, the (utility name) must, upon reasonable notice and at a mutually convenient time, conduct a witness test of the distributed generation facility to ensure that all equipment has been appropriately installed and that all electrical connections and metering have been made in accordance with the applicable codes.
     2. If the utility does not perform the witness test within the 10 business days after the commissioning date or such other time as is mutually agreed to by the Parties, the witness test is deemed waived unless the utility cannot do so for good cause. In these cases, upon utility request, the interconnection customer shall agree to another date for the test within 10 business days after the original scheduled date.

1. **Compliance.** The distributed generation facility shall be installed, operated and tested in accordance with the requirements of UL 1741 and The Institute of Electrical and Electronics Engineers, Inc. (IEEE), 3 Park Avenue New York, NY 10016-5997, Standard 1547 (2003) "Standard for Interconnecting Distributed Resources with Electric Power Systems." Photovoltaic installations must comply with Article 690, Solar Photovoltaic Systems, of the National Electric Code. All interconnection related protective functions and associated batteries shall be periodically tested at intervals specified by the manufacturer system integrator, or the authority that has jurisdiction over the Distributed Resources interconnection, or all tests shall be performed at a minimum of every three (3) years. Periodic test reports shall be maintained and submitted to the City of Newton Electric Department.
2. **Access.** The utility shall have direct, unabated access to the disconnect switch and metering equipment of the distributed generation facility at all times. The disconnect switch shall be clearly labeled and installed within 2 feet of the meter. The utility shall provide 5 business days notice to the customer prior to using its right of access except in emergencies.
3. **Metering.** Any required metering shall be installed at customer expense.
4. **Disconnection.** The utility may disconnect the distributed generation facility upon any of the following conditions, but must reconnect the distributed generation facility once the condition is cured:

a) For scheduled outages, provided that the distributed generation facility is treated in the same manner as utility's load customers;

b) For unscheduled outages or emergency conditions;

c) If the distributed generation facility does not operate in the manner consistent with this Agreement;

d) Improper installation or failure to pass the witness test;

e) If the distributed generation facility is creating a safety, reliability or a power quality problem; or

f) The interconnection equipment used by the distributed generation facility is de-listed by the Nationally Recognized Testing Laboratory that provided the listing at the time the interconnection was approved.

7) **Indemnification.** The interconnection customer shall indemnify and defend the city, utility and the directors, officers, employees, and agents from all damages and expenses resulting from any third party claim arising out of or based upon the interconnection customer's (a) negligence or willful misconduct or (b) breach of this Agreement. The utility shall indemnify and defend the interconnection customer and the interconnection customer's directors, officers, employees, and agents from all damages and expenses resulting from a third party claim arising out of or based upon the utility's (a) negligence or willful misconduct or (b) breach of this Agreement.

8) **Insurance.** The interconnection customer shall provide the utility with proof that it has a current homeowner's insurance or commercial building insurance policy, or other general liability policy, and, when possible, the interconnection customer shall name the utility as an additional insured on its homeowner's insurance or commercial building insurance policy, or similar policy covering general liability.

9) **Limitation of Liability.** Each Party's liability to the other Party for any loss, cost, claim, injury, liability, or expense, including reasonable attorney's fees, relating to or arising from any act or omission in its performance of this Agreement, shall be limited to the amount of direct damage actually incurred. In no event shall either Party be liable to the other Party for any indirect, incidental, special, consequential, or punitive damages of any kind whatsoever.

10) **Termination.** This Agreement may be terminated under the following conditions:

a) By interconnection customer - The interconnection customer may terminate this Agreement by providing written notice to the utility. If the interconnection customer ceases operation of the distributed generation facility, the interconnection customer must notify the utility.

b) By the utility - The utility may terminate this Agreement if the interconnection customer fails to remedy a violation of terms of this Agreement within 30 calendar days after notice, or such other date as may be mutually agreed to prior to the expiration of the 30 calendar day remedy period. The termination date may be no less than 30 calendar days after the interconnection customer receives notice of its violation from the utility.

11) **Modification of Distributed Generation Facility.** The interconnection customer must receive written authorization from the utility before making any changes to the distributed generation facility that could affect the utility's distribution system. If the interconnection customer makes such modifications without the utility's prior written authorization, the utility shall have the right to disconnect the distributed generation facility immediately.

12) **Permanent Disconnection.** In the event the Agreement is terminated, the utility shall have the right to disconnect its facilities or direct the interconnection customer to disconnect its distributed generation facility.

13) **Governing Law, Regulatory Authority, and Rules.** The validity, interpretation and enforcement of this Agreement and each of its provisions shall be governed by the Codes and Regulations of the City of Newton as well as the laws of the State of Illinois. Nothing in this Agreement is intended to affect any other agreement between the utility and the interconnection customer.

14) **Survival Rights.** This Agreement shall remain in effect after termination to the extent necessary to allow or require either Party to fulfill rights or obligations that arose under the Agreement.

15) **Assignment/Transfer of Ownership of the Distributed Generation Facility.** This Agreement shall terminate upon the transfer of ownership of the distributed generation facility to a new owner unless the transferring owner assigns the Agreement to the new owner, the new owner agrees in writing to the terms of this Agreement, and the transferring owner so notifies the utility in writing prior to the transfer of ownership.

16) **Notice.** The Parties may mutually agree to provide notices, demands, comments, or requests by electronic means such as e-mail. Absent agreement to electronic communication, or unless otherwise provided in this Agreement, any written notice, demand, or request required or authorized in connection with this Agreement shall be deemed properly given if delivered in person, delivered by recognized national courier service, or sent by first class mail, postage prepaid, to the person specified below:

**If to Interconnection Customer:**

Use the contact information provided in the interconnection customer's application. The interconnection customer is responsible for notifying the utility of any change in the contact party information, including change of ownership.

**If to utility:**

Use the contact information provided below. The utility is responsible for notifying the interconnection customer of any change in the contact party information.

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail A

**EXHIBIT C**

**City of Newton Standard Distributed Generation Interconnection**

**Interconnection Request Application Form**

**(Lab-Certified) Inverter-Based Distributed Generation Facilities 20 kW and Smaller**

**Interconnection Applicant Contact Information**

Customer Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Primary Contact: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Additional Contact Information (if different from primary contact)

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Equipment Contractor**

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Electrical Contractor (if Different from Equipment Contractor):**

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor License number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Active License? Yes No

Registered with Municipality? Yes No

Is the Interconnection Customer requesting Net Metering?

Yes No

**Distributed Generation Facility (“Facility”) Information**

Facility Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City of Newton serving Facility site:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Account Number of Facility site: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Inverter Manufacturer: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Is the inverter lab-certified as that term is defined in the Illinois Distributed Generation Interconnection Standard? Yes No

(If yes, attach manufacturer’s technical specifications and label information from a nationally recognized testing laboratory.)

Generation Facility Nameplate Rating: \_\_\_\_\_\_\_ (kW) \_\_\_\_\_\_\_ (kVA) \_\_\_\_\_\_\_ (AC Volts)

Prime Mover: Photovoltaic Turbine

Energy Source: Solar Wind

In-Service Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(If the In-Service Date changes, the interconnection customer must inform the utility as soon as it is aware of the changed date.)

**Insurance Disclosure**

The attached terms and conditions contain provisions related to liability and indemnification, and should be carefully considered by the interconnection customer. The interconnection customer shall carry general liability insurance coverage, such as, but not limited to, homeowner’s insurance. Whenever possible, the interconnection customer shall name the City of Newton as an additional insured on its homeowner’s insurance policy, or similar policy covering general liability.

**Customer Signature**

I hereby certify that: (1) I have read and understand the terms and conditions which are attached hereto by reference; (2) I hereby agree to comply with the attached terms and conditions; and (3) to the best of my knowledge, all of the information provided in this application request form is complete and true.

Applicant Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

……………………………………………………………………………………………………………

**Conditional Agreement to Interconnect Distributed Generation Facility**

By its signature below, the (utility) has determined the interconnection request is complete. Interconnection of the distributed generation facility is conditionally approved contingent upon the attached terms and conditions of this Agreement, the return of the attached Certificate of Completion, duly executed verification of electrical inspection and successful witness test.

Utility Representative Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name: \_\_\_­­­­­­­­­­­­­­­­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_-\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**EXHIBIT D**

**Interconnection Request Application Form**

**(Greater than 20 kW to 1MW)**

**Interconnection Applicant Contact Information**

Customer Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Primary Contact: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Alternative Contact Information (if different from Primary Contact Information)

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Facility Address (if different from above):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City of Newton serving Facility site: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Account Number of Facility site (existing utility customers): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Inverter Manufacturer: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Equipment Contractor**

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Electrical Contractor** (if different from Equipment Contractor)

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

License number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Electric Service Information for Customer Facility Where Generator Will Be Interconnected**

Capacity: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Amps) Voltage: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Volts)

Type of Service: Single Phase Three Phase

If 3 Phase Transformer, Indicate Type:

Primary Winding Wye Delta

Secondary Winding Wye Delta

Transformer Size: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Impedance: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Intent of Generation**

Offset Load (Unit will operate in parallel, but will not export power to utility)

Net Meter (Unit will operate in parallel and will occasionally export power into the distribution system)

**Generator & Prime Mover Information**

|  |  |  |
| --- | --- | --- |
| ENERGY SOURCE (Wind and Solar): | | |
| ENERGY CONVERTER TYPE (Wind Turbine, Photovoltaic Cell,): | | |
| GENERATOR SIZE:  kW or kVA | NUMBER OF UNITS: | TOTAL CAPACITY:  kW or kVA |
| GENERATOR TYPE (Check one):  Induction Inverter Synchronous Other | | |

**Distributed Generation Facility Information**

**In-Service Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**List interconnection components/systems to be used in the distributed generation facility that are lab-certified.**

Component/System NRTL Providing Label & Listing

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

3. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

4. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

5. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Please provide copies of manufacturer brochures or technical specifications.

**Energy Production Equipment/Inverter Information:**

Synchronous Induction Inverter Other \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Rating: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ kW Rating: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_kVA

Rated Voltage: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Volts

Rated Current: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Amps

System Type Tested (Total System):

Yes No; attach product literature

**Additional Information For Inverter-Based Facilities**

**Inverter Information:**

Manufacturer:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Type: Forced Commutated Line Commutated

Rated Output: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Watts \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Volts

Efficiency: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_% Power Factor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_%

Inverter UL 1741 Listed: Yes No

**DC Source / Prime Mover:**

Rating: \_\_\_\_\_\_\_\_\_\_\_\_\_kW Rating: \_\_\_\_\_\_\_\_\_\_\_\_\_kVA

Rated Voltage: \_\_\_\_\_\_\_\_\_\_\_\_\_ Volts

Open Circuit Voltage (if applicable):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Volts

Rated Current: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Amps

Short Circuit Current (if applicable): \_\_\_\_\_\_\_\_\_\_\_\_\_\_Amps

**Other Facility Information:**

One Line Diagram attached: Yes

Plot Plan attached: Yes

**Insurance Disclosure**

The attached terms and conditions contain provisions related to liability and indemnification, and should be carefully considered by the interconnection customer. The interconnection customer shall carry general liability insurance coverage, such as, but not limited to, homeowner’s insurance. Whenever possible, the interconnection customer shall name the City of Newton as an additional insured on its homeowner’s insurance policy, or similar policy covering general liability.

**Customer Signature**

I hereby certify that all of the information provided in this Interconnection Request Application Form is true.

Applicant Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Printed Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Utility Acknowledgement**

Receipt of the application fee is acknowledged and this interconnection request is complete.

Utility Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Printed Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**EXHIBIT E**

**Certificate of Completion**

To be completed and returned to the (position title) when installation is complete and final electric inspector approval has been obtained\*

**Interconnection Customer Information**

Customer Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Primary Contact: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Installer** Check if owner-installed

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Mailing Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Zip Code: \_\_\_\_\_\_\_\_\_\_\_

Telephone (Daytime): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (Evening): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fax Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-Mail Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Final Electric Inspection and Interconnection Customer Signature**

The distributed generation facility is complete and has been approved by the local electric inspector having jurisdiction. A signed copy of the electric inspector's form indicating final approval is attached. The interconnection customer acknowledges that it shall not operate the distributed generation facility until receipt of the final acceptance and approval by the utility as provided below.

Signed:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(*Signature of interconnection customer*)

Printed Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Check if copy of signed electric inspection form is attached

Check if copy of as built documents is attached (projects larger than 10 kVA only)

………………………………………………………………………………………………………………

**Acceptance and Final Approval for Interconnection (for utility use only)**

The interconnection agreement is approved and the distributed generation facility is approved for interconnected operation upon the signing and return of this Certificate of Completion by utility:

Utility waives Witness Test? (Initial) Yes (\_\_\_) No (\_\_\_)

If not waived, date of successful Witness Test: \_\_\_\_\_\_\_\_\_\_\_ Passed: (Initial) \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Utility Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Printed Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\* Prior to interconnected operation, the interconnection customer is required to complete this form and return it to the utility.