## Slide 1: Pithlachascotee River Basin Study
Anything Water!
by:
&
Prepared for:
The City of New Port Richey

## Slide 2: Introduction
Past and present activities include:
  Orange Lake Feasibility Study
  Sims Park Improvements
  Orange Lake Restoration Project
  Heights Stormwater Improvements
  Meadows Rehabilitation Project
  North Park Stormwater Improvements
The purpose of this study was to identify which areas of the stormwater system within the City of New Port Richey are largest nutrient and pollutant contributors to the Cotee River.
The results of the study will provide the City with an outline and information for the next strategic plan.
Objective

## Slide 3: Methods
Reviewed all stormwater basin, outfall diameters, and total number of outfalls per basin.
One upstream location and 7 outfalls were sampled a total of 10 times during both the wet and dry seasons.
Locations include: Upstream of NPR, DB#126, DB#102, DB#120, DB#95, DB#87, DB#60, and DB#19.

## Slide 4: Analysis
Heavy metals, nutrients, biologicals, and other indicator parameters were analyzed every sampling event.
Herbicides and pesticides were analyzed in 4 events.
Rain data was collected from the city’s system.
Land use data was reviewed in association with the contamination results.

## Slide 5: Average Loading
Runoff Coefficients

## Slide 6: Chromium
Main Source:
Gasoline combustion
Other Sources:
Electro-plating
Paints
Preservatives

## Slide 7: Copper
Main Source:
Gasoline Combustion
Vehicle brake pads
Architectural copper
Algaecides
Other Sources:
Roof top materials
Marine anti-fouling agents
Vehicle service & cleaning products
Wood preservatives
Exceeded the Class III Standard

## Slide 8: Lead
Main Source:
Gasoline Combustion (former additive)
Contaminated Soils
Paint

## Slide 9: Zinc
Main Source:
Galvanized metal surfaces
Roof Gutters
Motor oil & Hydraulic fluid
Tire wear
Brake pad dust
Other Sources:
Fertilizers & pesticides
Paints
Wood preservatives
Exceeded the Class III Standard

## Slide 10: Nitrogen
Nitrogen Species:
Ammonia
Nitrate
Nitrite
Sources:
Pet & Animal Waste
Fertilizers
Failed Septic Systems
Atmospheric deposition
Exceeded the NNC

## Slide 11: Phosphorus
Phosphorus Species:
Orthophosphate
Total Phosphorus
Sources:
Fertilizers
Vegetation decomposition
Gas combustion

## Slide 12: TSS
Total Suspended Solids:
All solid material flushed from roadways and paved areas, eroded land areas, and organic debris into the stormwater system
Sources:
Erosion of
pavement and soils
Pedestrian litter
Gas combustion
Construction materials
Road paint
Vegetative litter

## Slide 13: BMP Development Table

## Slide 14: East Gate Estates
Echo Lake = 84 ng/l
Swan Lake = 150 ng/l