Geneforce Emergency Power System Instructions

- Maintain the CHARGE button ON and the generator plugged into a 120V AC source.

- To provide electrical power, press the INVERT button.

- For standby power mode, maintain the INVERT button ON.

- To view the Battery State, disconnect the AC input plug, press the CHARGE button and then record.

- If the AC breaker trips, use the POWER SHARE to increase or decrease the charging amperage.

- When plugged into an AC source, the Geneforce automatically begins charging.