## Monthly & Quarterly
Refrigeration Preventive Maintenance Schedule
Monthly, Quarterly, and Annual Log
Year | Store #
Indicate Date Completed
MONTHLY |  |  | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
1. Inspect compressors, cooling fans, and compressor areas for cleanliness and ventilation.
2. Inspect electrical connections for corrosion, loose connections, or deterioration.
3. Check electrical circuits to assure proper overload protection.
4. Inspect visible refrigeration lines for corrosion, oil leaks, and loose clamps.
5. Check moisture indicator. If moisture is present, filter dryers may be changed or installed.
6. Check refrigerant levels.
7. Check operation of refrigeration alarm system (if applicable
QUARTERLY |  |  | Indicate Date Completed Jan: 1st Quarter; Indicate Date Completed Apr: 2nd Quarter; Indicate Date Completed July: 3rd Quarter; Indicate Date Completed Oct: 4th Quarter
1. Clean indoor and outdoor condenser units thoroughly with air hose or water.
2. Check cooling fans and motor mounts for cracks, tightness, correct operations.
3. Check systems, oil levels, and operation of oil recovery system.
ANNUAL (to be performed by a qualified technician) |  | Indicate date completed and extra service performed | bar: Indicate Date Completed Jan to Indicate Date Completed Oct
1. Check expansion valves and other controls. | bar: Indicate Date Completed Jan to Indicate Date Completed Oct
2. Perform spectrochemical analysis to determine quality of oil.
3. Inspect motor magnetic contactor and replace if needed. | bar: Indicate Date Completed Jan to Indicate Date Completed Oct
4. Check crankcase heater circuits on outdoor units.
5. Test low-pressure cutoff switch against manufacturer's recommendations. | bar: Indicate Date Completed Jan to Indicate Date Completed Oct
Manager Signature

## Daily Temp
Refrigeration Check Log
Frozen, Dairy, Meat, Produce Case and Walk-In
Each column is initialed by persons who perform check for all cases
Date | 7:00 | 12:00 | 16:00 | 20:00 | Comments