FISH CREEK SANITARY DISTRICT NO. 1

BOARD OF COMMISSIONERS MEETING

March 9, 2026

| Call to Order Approve Minutes Public Comment 2025 Financial Report - Draft Town Administrator Report Engineer Report General Liability Insurance Operators Report Clerk Correspondence Payment of Bills Open Discussion Adjourn | Meeting called to order at 8:25 a.m. by Board President, Bill Weddig. Also present: Board Secretary, Tony Bryzek; Board Treasurer, Dennis Steigenberger; Board Alternate, Greg Cote; Plant Operations Manager, Dave Alberts; Clerk, Jennifer Steber; Asst. Operations Manager, Patrick Johnson; Town Administrator, Travis Thyssen; George Thompson, Cedar Corporation Motion by Weddig to approve Minutes of the February 9 meeting as presented. Second by Bryzek. Motion passed. No comments. Due to illness, Leah Lasecki from CliftonLarsonAllen could not attend today’s meeting as planned. This agenda item is tabled until the April meeting. Travis reported the storm sewer project has begun. The water main for the dry hydrant line is in. The hydrants still need to be installed. They crossed main street with no issue. They probed down and over one foot (we wanted a minimum of 12” between the pipes) and they did not locate the force main in the trench so it should be good. One sewer manhole was hit, but it was addressed right away. He received applications for 3 new homes in Eagle Ledge and 6 new foundations in Redtail Ridge. TID projections are working out well. The Plan Commission voted down the rezoning request for parcels on Gibraltar Road. The Developer withdrew the petition and going to look at some other options. Bill stated that the parcels are not in the sanitary district, and if there is a request to be annexed the developer needs to understand that Northhaven has already paid for sewer and will not be participating in any shared costs of what extending the sewer may cost. Dennis added that an area to be annexed needs to be outlined, and 51% of land ownership within that area must agree with annexation for it to be approved. Bill stated the sanitary district will not financially contribute towards a sewer extension, and this was also relayed to the Spielman family when they disputed sewer connection during the Gibraltar Road/Highway 42 sewer extension. No report in addition to the following items: Peters Construction Quote for Water Flushing at Lift #2. The quote from Peters Construction exceeds the previously approved amount of $10,000. Dennis stated the quote seems quite high and requested a breakdown from Peters Construction and get a quote from a couple other contractors. The timeline is narrow, so having Peters Construction core the manhole at least and have another contractor finish the work at a later date was also discussed. Dave stated we cannot afford Peters quote, and that quote does not include the pump and electrical. We would easily exceed $20,000. Other areas to run the water line were discussed and the Board will do a site visit before the meeting adjourns today. George will get a price breakdown from Peters, and quotes from other contractors. A special meeting will likely be called to approve the final location and the quote for work. Addendum to Professional Services Agreement – WWTP Needs Assessment. George presented Addendum No. 9 to the agreement in the amount of $15,250.00 for a WWTP needs assessment. The Board requested the scope be scaled back to items A (Capacity), C (Safety) and E (Reliability), and asked George to revise the addendum and price to reflect the change. George will also compile a spreadsheet with his and Dave’s items. Motion by Bryzek that the notes from George and Dave apply to new addendum agreement. Second by Weddig. Motion passed. The correspondence from Continental Western Group was reviewed. Jennifer stated that an update came in late Friday, and there could be more developments early next week. Meanwhile, it has been about 12 years since the last time we shopped for insurance, and it would be good to check rates. Dave stated they are in the process of renewing the DNR permit. Staff is signed up for CPR refresher. Lift #7 is acting up just like Lift #5 was, so an upgrade is imminent. Lift #6 modem is still on order; currently, DC Broadband provides service at this location. A new mixer is needed; the leadtime is 16 weeks. Plug valves vs knife valves were installed in the plant. Cam locks to convert lift stations to adapt to the generator were installed. A manhole chimney was knocked off during construction; the onsite Cedar Corp representative took care of it right away. This line will be jetted in case of debris. Smoke test at Fred & Co. detected areas where odors were coming from. The same smoke test revealed that the grease trap covers at Cut are not sealed properly. Dave notified Cut of the discovery. The hard tokens/fobs arrived from Nicolet Bank, one for Jennifer, Dave, and Dennis. These will be set up when Krystal at Nicolet returns from vacation. No correspondence. Motion by Weddig to approve payment of bills. Second by Bryzek. Motion passed. Dennis will prepare a TID Phase 2 write-up for the Town’s annual meeting. This will be submitted to the Town if requested. Motion by Weddig to adjourn at 1:10 p.m. Second by Steigenberger. Motion passed. Respectfully submitted by: Jennifer Steber, Clerk |
| --- | --- |