## Instructions
Instructions on the use of the Internal Audit checklist
This checklist is provided to assist in the conduct of an internal audit as required by TNI V1M2 4.14. The checklist is not a detailed version of the standard itself, but reminds the auditor of important elements to check. Assumptions have been made in the development of the checklist. The foremost assumption is that the laboratory has developed all required and most other indicated Standard Operating Procedures stated in the Standard. As a reminder, the second worksheet of the checklist contains all references in the Standard to the need for either or both a policy and procedure. The Standard states in V1M2 4.8.2.5 that the laboratory is to have written procedures for all activities and that this is not limited to just analytical SOPs. The third worksheet provides a list of expected SOPs meeting the requirements of 4.8.2.5 and indirectly stated in the Standard.
In all cases, the Standard language is the requirement, not the contents of this checklist. In all cases where the checklist language differs from the Standard language, the Standard is to be followed.
Review is on Actions and Records
The expectation is that all documents exist, and it is likely that only a few of these indirectly specified documents are missing. The focus is on conformance to the existing SOPs and that evidence via records are available and complete. The checklist reminds what information is to be collected and what records are needed.
Expansion of the Checklist
The checklist only provides a single line for each question. Since the goal is to review all activities, It is likely that more than one process or analytical procedure will be under review. You may wish to consider creating copies of various worksheets or expanding to the right on any worksheet. You may wish to create additional copies of the checklist workbook as well.
A full set of instructions are in the Word dcoument "Instructions on the use of the Internal Audit checklist.DOCX"

## Required SOPs
Element | Policy/Procedure | Contents found in V1M2 unless otherwise noted | Notes | Exists | Identity and where located. Separate document or incoprorated in QSM (list section #)
Assigned authorities for implementing corrective action for nonconforming work | Policy and procedure | 4.11.1 | Who and how will any corrective action be implemented and assessed for efficacy.
Client notification timeframe regarding doubts on validity of data | Policy | 4.14.5 | Timeframe for notification and who will do it
Complaint resolution | Policy and procedure | 4.8 | Procedure on who will investigate and report to management and complaining party
Confidence | Policy and procedures | 4.1.5
Customer confidentiality | Policy and procedures | 4.1.5
Data integrity | Procedure | 5.2.7 | How will data integrity be implemented and maintained. Also includes training procedure
Define requirements for Technical Manager (ascension) | Procedure | 5.2 | Only need to establish conformance to current ELAP requirements
Document control | Procedure | 4.3 | How will documents be controlled, stored, made available, revised, and stored when obsolete
Electronic data protection | Procedure | 5.4.7.2 | How will electronic files be protected from inadvertent loss. Includes ability to read older files
Electronic signatures | Policy | 4.2.8.4 | Who gets to sign documents electronically
Feedback and corrective action re. departures from documented procedures | Policy and procedure | 4.2.8.4 | This covers when someone departs from written procedures no QC failures.
Handling of PTs | Procedure | V1M1 4.2 | How will PTs be handled including receipt, storage, preparation, and reporting. Does not include analytical procedures
Impartiality | Procedure | 4.1.5 | How will lab retain impartiality
Internal audits | Procedure | 4.14 | How will lab schedule and conduct internal assessments, then what to do with the outcomes.
Limits of detection and quantitation | Procedure | M4 1.5.2 | Procedure covering MDLs (LOD) and Limits of Quantitation (LOQ). May need additional procedures for determining a reporting limit (RL).
Management reviews | Procedure | 4.15 | How will lab schedule and conduct management reviews.
Permitted departures from documented procedures | Policy and procedure | 4.2.8.4 | If allowed, when and how may someone depart from written procedures
Personnel training and training needs | Policy and procedure | 5.2.2 | Description of training requirements for both new-hires and existing staff. Is more than data integrity training. Include Initial and Ongoing Demonstrations of Capability found in sections 1.6 of M3 thru M7.
Procedures for all laboratory activities | Procedure | 4.2.8.5 | Requires an SOP for all lab activities including administrative and support procedures. Not just analytical SOPs
Quality control | Procedure | 5.9 | Most will be in analytical SOPs but need equations and trend analyses
Quality system | Policy | 4.2.2 | Lab’s use and adherence to the contents of the quality system manual
Removal and replacement calibration points | Procedure | M4 1.7.1.1.(e) | Procedure covering the removal of interior calibration points. Can prohibit.
Review of requests, tenders, contracts | Policy and procedure | 4.4.1 | How will requests for new work be handled.
Review work | Procedure | 4.4 | Review procedure for new work requests
Sample acceptance policy | Policy | 5.8.6 | Under what conditions samples will be accepted, including what will be accepted but qualified and what will not be accepted. This includes preservation and temperature checks. Refer to M3 thru M7 at the end for additional sample receipt requirements/allowances.
Sample handling | Procedure | 5.8 | Sample storage, handling, and disposal.
Sampling | Procedure | 5.7 | Plans and procedures for sample collection only if the lab does sampling.
Selection and purchasing of services and supplies | Policy and procedure | 4.6.1 | How will you get what you need. Include package inspection, exemptions, returns, and dealing with delays. Includes how you will evaluate suppliers of critical materials and services.
Special cleaning procedures | Procedure | 5.3.5 | Procedures required for special cleaning or housekeeping practices above or outside the ordinary.
Traceability | Procedure | 5.6 | How you will trace calibrations back to either an IS standard, reference standard, or a certificate of accuracy. Also includes how you will connect various records together.
Uncertainty | Procedure | 5.4.6.2 | How you will determine method uncertainty. Must be done even if never asked for this measurement. Can begin with simply using either or both precision and accuracy. However, must evaluate all suspected sources of uncertainty so consider citing the GUM procedure.
Work does not conform to requirements | Policy and procedure | 4.9.1 | Procedures covering the elements in 4.9.1.(a) through (e).

## Suggested SOPs
Procedure | Notes | Exists | Identity and where located. Separate document or incoprorated in QSM (list section #)
Rounding | How will you round numbers
Significant figures | How will you determine the number of significant figures. Be aware that computer programs such as Excel carry 8 significant figures through all computations.
Dishwashing | General or special glassware or other cleaning procedures for laboratory ware.
Drinking water notification requirements | If you are required to notify a drinking water suppliers, then include the procedures for notification in your Reporting section of the QSM.
Allowed manual re-integration. | If you use a chromatographic system such as IC, then you need when manual re-integration is allowed and not allowed.
Temperature excursions when using data loggers | If you are using a data logger to track temperatures in incubators, oven, refrigerators, freezers, or any other place instead of discrete readings, then you will need to deal with minor excursions outside of control limits, such as when a door is open for a period or power fluctuations or outages. These would occur but not be recorded when only discrete readings are made.
Trends | V1M2 section 5.9.1 requires that QC data be collected in such a way that trends can be detected. Normally a control chart works for this, and your procedure would establish how to create a control chart and what would constitute a trend in a control chart. However, you may have to develop other means in certain cases.

## V1M1 PT
Internal assessment checklist: V1M1 - Proficiency Testing
Citation V1M1 or CCR 64802.15 | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
Were PT samples analyzed for all FoAs on the Scope of Accreditation where there is a corrosponding PT listed on the applicable FoPT Table?
Check that no violations of the requirements found in V1M1 4.1.5.(a) thru (d) occurred. Check YES if it happened and provide details of the event.
V1M1 4.2 | Sample Handling, Preparation and Analysis Requirements
Were PT sample preparation instructions followed. If NO, then list where there was a failure.
Were there any added QC, analysis of more replicates than stated in the analytical SOP, or other non-standard practices followed? If YES, then list all instances.
Were any results below the current LOQ (limit of quantitation or reporting limit) for the analyte? Did the value get reported to the stated PTRL in the FoPT table?
V1M1 4.3 | Reporting Requirements
Were PT results reported as required by the PT provider and ELAP, with numerical values as required, and to the PTRL if appropriate?
V1M1 4.4 | Record Retention
Analyses and supporting records retained and available for minimum of 5 years. List any missing records. State where they reside.
The laboratory shall make all records necessary to facilitate reconstruction of the preparation, processing, and reporting of analytical results for PT samples available for review upon request by the Primary AB.
V1M1 6 | REQUIREMENTS FOR CORRECTIVE ACTION
For failed PTs only. Is there a record of an investigation into cause, whether a random or systemic error, and record of the ordering and analysis of follow up PTs
For SYSTEMIC errors, is there an identifed root cause, corrective action initiated, and any follow up assessment of action efficacy.
CCR 64802.15 | ELAP PT REGULATIONS
PTs analyzed in the first 12 months of accreditation dated from the issuance date.
PTs analyzed in time for renewal application (no later than 90 days prior to expiration date).
64802.15.(h) | FIRST PT FAILURES ONLY
Notified ELAP within 45 calendar days of report from provider
Conducted investigation into cause. Determined Root Cause and action per Corrective Action Procedure
Requested and conducted analysis of second PT sample.
Notified ELAP of a successful score.
64802.15.(i) | NO PT SET AVAILABLE WITHIN 45 DAYS
Submitted plan to ELAP stating when PT sampe available.
Achieved acceptable score and reported to ELAP
64802.15.(j) | SECOND SUCCESSIVE PT FAILURES ONLY
Notified ELAP within 3 calendar days
Received suspension notice
Stopped analysis by affected FoA
Notifed clients of second failed PT
Completed investigation and determined Root Cause and action per Corrective Action Procedure

## V1M2 Management
Internal assessment checklist V1M2 section 4.2
Citation Volume 1 Module 2 (V1M2 - Management) | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M2 4 | MANAGEMENT REQUIREMENTS
Issues with undue influence from other parts of the organization. Has there been any reported cases where undue influence has been brought to bear.
V1M2 4.1.5, 4.1.7, and CCR 64812.00 | TECHNICAL MANAGER
Has there been a change in the Technical Manager? Is the change permanent or temporary?
Has a deputy who meets the qualifications for Technical Manager been identified?
CCR 64812.00.(a) | Technical Manager and deputy meet one of the following requirements
Minimum Bachelors degree and 3 years environmental laboratory experience.
Holds CWEA or CA/NV AWWA Lab Analysts certificate and has three years environmental laboratory experience.
Were there any absences over 15 calendar days? Were there any over 35 calendar days? If the later, then was ELAP notified?
V1M2 4.1.6 | QUALITY MANAGER
Is the Quality Manager and Technical Manager the same person?
If not the same person are there appointed deputies?
QA/QC experience and knowledge documented? Has there been any additions?
Arranged for or conducted internal assessment? Note how many are completed or in progress.
Reported instances relating to quality assurance/quality control to Technical Manager?
V1M2 4.2 | MANAGEMENT (ISO/IEC 17025:2005, Clause 4.2)
Any changes or addtions of policies and/or procedures to the quality system?
Has changes to the quality system been communicated to staff? When and how?

## V1M2 Quality Manual
Internal assessment checklist V1M2 4.2 Quality Manual and SOPs. Use to check QM and SOP contents during development
Citation V1 M2 section 4.2 | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M2 4.2 | Management (ISO/IEC 17025:2005, Clause 4.2)
Policies and procedures developed ensuring quality of tests?
Communicated to staff?
V1M2 4.2.2 | Quality Policies included in QM
When was last review of QM?
Where are quality policy statements found in QM
When where staff informed of or trained in the contents of the QM?
Does the QM contain or reference all support policies and procedures?
Are the Technical Manager and Quality Manager roles and responsibilities stated in the QM?
V1M2 4.2.8 | Data Integrity system
Is there a data integrity procedure contained or referenced in the QM?
When was the last review of the data integrity procedure?
V1M2 4.2.8.1 | All other parts of Data integrity system requirements are found in V1M2 section 5.2.7.
V1M2 4.2.8.1 | Data Integrity Investigations are found in V1M2 4.16
Does the QM contain the following?
Title
Laboratory name and address
Technical Manager and Quality Manager names and telephone contact information (can add e-mail)
Identification of laboratory sections
Those authorized to sign documents
Technical Manager and Quality Manager signatures and dates. Others may sign.
Contains or references lab quality policy and procedures
Commitment to ethical practices.
Table of contents, references, glossary, and acronyms
V1M2 4.2.8.4 | The quality manual shall contain or reference:
Statement where all instrument and equipment calibration, verification, and maintenance procedures
Description of laboratory facility and any special conditions that may apply.
PT program procedures
Reporting procedures
Where is the laboratory in the larger organization and a lab org chart (can be in the appendices).
Records retention procedures (see V1M2 4.13)
Document control procedures (see V1M2 4.3)
Job descriptions or where they can be found.
Use of traceable matereials
List of all methods found in the Scope of Accreditation (can attach current certificate).
Revview of work requests (see V1M2 4.4)
Sample receipt, handling, storage, and disposal. Can include sample collection if conducted by the lab. See V1M2 5.7 (collection) and V1M2 5.8 (receipt and handling).
Non-conforming work procedures
Allowed departures from procedures found in analytical or administrative SOPs. Only where allowed by the method or standard.
Client feedback and complaints (see V1M2 4.7 feedback and V1M2 4.8 complaints).
Confidentiallity where not overruled by law.
Internal assessments and data review procedures (see V1M2 4.14 and 4.15 internal assessments and V1M2 5.10 data reviews)
Training and Demonstrations of Capability procedures
Electronic signatures - if used.
V1M2 4.2.8.5 | Analytical and administrative procedures (SOPs)
Are they complete and sufficiently described to allow someone else to repeat the steps?
SOP has effective dates, version/revision numbers, and are signed. See V1M2 4.3 for more requirements.
Are referenced instrument instruction sheets for test kits and analytical instruments complete or do they need more detail?
Is there an SOP for each method?
V1M2 4.2.8.5 f) | Analytical SOPs are to include the elements found in V1M2 4.2.8.5.(f).(i) thru (xxiii). Administrative SOPs do not need to include those, but must contain complete and well organized instructions.
Method ID
Matrix
LODs (MDL) and LOQs (reporting or quantitation values)
List of analystes
Method summary
Defintions and acronyms
Any known interferences
Safety protocols
Equipment, instrument, materials, glassware/plasticware items needed
Reagents and standards including contents and, if necessary, preparation instructions.
Sample collection, preservation, holding times, and transport procedures
QC procedures for the method
Instrument and equipment calibrations
Detailed procedure. May be stepwise in outline form.
Formulas used and data review procedures
Method performance and criteria, and any other equipment requirements (such as incubator temperatures).
Waste minimization and spill prevention
Assessing data and all QC requirements including criterion
Actions to be taken if QC criterion not met or other operating conditions no met.
Use of data qualifiers - if desired or necessary (such as reporting BOD data)
Waste disposal
References to approved method, Quality Manual sections, federal or state regulations, and external documents used in the SOP.
Where necessary, tables or diagrams of the test procedure.

## V1M2 4-3 to 4-16
Internal assessment checklist V1M2 sections 4.3 to 4.16
Citation V1M2 section 4 | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M2 4.3 | Document Control
Reference to Document Control procedure (separate SOP or QSM reference)
V1M2 4.3.2 | Document Approval and Issue
All documents in use reviewed and provided to staff?
Status of Master Document List. Is it up-to-date?
V1M2 4.3.2.2 | Document control procedures
Are all documents, including those not lab controlled, available to staff where they are working?
When was the last time documents were reviewed? Is the review period defined in the procedure or in the QM?
Are obsolete documents removed from general availability and suitably marked?
Do all lab controlled documents contain an ID, version/revision number, effective date, and page #/total pages
V1M2 4.3.3 | Document Changes
Status of documents under revision. Where in the process are they?
Documents with allowed handwritten information. Are there any?
Any discovered handwritten corrections outside of what is allowed by procedure?
V1M2 4.4 | Review of Requests, Tenders and Contracts
Work request SOP. Identity or QSM section
Have there been any work requests that are not part of the current established work agreements?
Records of review and discussion with requestor?
Notice made regarding subcontracting
V1M2 4.5 | Subcontracting of Environmental Tests
Register of subcontract labs and copy of current accreditation
Is copy of report available and is it included or referenced in the report.
V1M2 4.6 | Purchasing Services and Supplies
Identity of agency general purchasing agreement and additional procedures established by the lab. Identity or QSM section
Packing slips examined and issues noted?
Records of material competency and quality? Examples, testing of micro media bacterial bottles. Are there certificates of accuracy?
List of vendors of critical services and supplies maintained
Evaluation process and record of evidence vendors are conforming.
V1M2 4.7 | Service to the Client
Any requests from customers relative to work provided? How was it handled?
Procedure for seeking feedback?
Any feedback received? How was it handled
V1M2 4.8 | Complaints
Reference to Complaint handling procedure. Identity or QSM section
Any complaints received and how were they handled?
V1M2 4.9 | Control of Nonconforming Environmental Testing Work
Non-conforming work procedure. Identity or QSM section
Any discovered non-conforming work? Dates and descriptions
Evaluation of any non-conforming work. Any issues relative to data quality or useability?
Client informed?
Action taken and current state of effectiveness
Has work been resumed?
V1M2 4.10 | Improvement
Has any suggestions for improvement been brought forward? If so, what is the status?
V1M2 4.11 | Corrective Action
Corrective action policy and procedure. Identity or QSM section.
Any corrective actions taken since the last assessment?
If Actions taken
Determined if the issues was systemic or random error. V1M2 4.11.7 states root cause not necessary unless error is desginated systematic. Skip the next sections if only random errors occurred.
Identified Root cause.
Selection and Implementation of Corrective Actions
Was action(s) taken?
Assessment of the efficacy of each action. Outcome of assessment.
Has action(s) been successful?
Are there still outstanding issues or actions under assessment?
V1M2 4.12 | Preventive Action
Have any preventive actions be identified?
If so, what action(s) was taken?
Assessment of the efficacy of each action. Outcome of assessment.
V1M2 4.13 | Control of Records
Records control procedure. Identity or QSM section
Records for all activities in the lab including those covering administrative and personnel funtions. Is location of each known and retriveable?
Any issues with legibility or completeness?
Records up to the stated holding time still available and retriveable?
Are records held securely? Have there been any issues with records retention?
Records backup and storage adequate? Any detected issues?
Access to archived information documented with an access log. Has there been access since the last assessment?
Technical Records
Records complete relative to all data collection, sample identities, calibrations, reagents and standards used, equipment and materials identification and any other information or observation demanded by the analytical method. Are there any missing elements?
Has a records integrity (data and connectivity) been assessed since the last internal audit?
Any issues discovered with data and observations not being recorded at the time they were made?
Are there issues with excessive error correction or failures to correct errors per the requirements (single crossout, date of correction, person correcting the record, explanation except for transcript errors),
Checks on electronic records including computer generated files, LIMs files, and Excel workbooks conducted since the last assessment. Are there any issues with the competency, backup, and retriveablity of the records?
V1M2 4.13.3 | Additional Requirements
Can sample analysis be reconstructed from the records only. Use data validation procedures to check.
Is there information in the record to show that all critical requirements found in the method were met? Target pHs, presence/absence of acids/bases/preservatives/chlorine residual, target temperatures for specified times met?
Are there older versions of software with supporting computer systems retained as needed? Examples include software needing Windows 7 or files stored on floppy drives or tapes.
Criteria to meet the requirements for historical construction. Do the records contain these unless the method does not create them.
V1M2 4.13.3.(f).(1) thru (xix) | Note any missing or not created by a method.
all raw data, whether hard copy or electronic, for calibrations, samples and quality control measures, including analysts’ worksheets and data output records (chromatograms, strip charts, and other instrument response readout records);
a written description or reference to the specific test method used, which includes a description of the specific computational steps used to translate parametric observations into a reportable analytical value;
laboratory sample ID code;
date of analysis;
time of analysis is required if the holding time is seventy-two hours or less
time of analysis is required when time critical steps are included in the analysis (e.g., extractions and incubations);
instrumentation identification and instrument operating conditions/parameters (or reference to such data);
all manual calculations;
analyst's or operator's initials/signature or electronic identification;
sample preparation, including cleanup, separation protocols, incubation periods or subculture, ID codes, volumes, weights, instrument printouts, meter readings, calculations, reagents;
test results;
standard and reagent origin, receipt, preparation, and use;
calibration criteria, frequency and acceptance criteria;
data and statistical calculations, review, confirmation, interpretation, assessment and reporting conventions;
quality control protocols and assessment;
electronic data security, software documentation and verification, software and hardware audits, backups, and records of any changes to automated data entries;
method performance criteria including expected quality control requirements;
proficiency test results;
records of demonstration of capability for each analyst; and
a record of names, initials, and signatures for all individuals who are responsible for signing or initialing any laboratory record.
Plan for transfer of records if lab closes or is sold. Required even of utility labs and would cover if lab is closed. Identity or QSM section
V1M2 4.14 | Internal Audits
Date of last full internal audit
Status of current interanl audit. Estimate how much is completed?
Is the audit on schedule?
If using an external source, when is the contracted entity to conduct the assessment?
Did the last full audit indicate any non-conformances?
Have those been acted on and completed?
Did any of those discovered in the current audit?
Action(s) planned for findings of non-conformace discovered in current audit?
Status of any action(s)?
Did any negatively impact data quality and were clients notified?
V1M2 4.15 | Management Reviews
Is this being conducted in conjunction with the internal audit?
If separate, who is conducting the current audit?
Were there any findings from the last full management audit?
What is the status of those actions?
Did any action require a corrective action process or lead to identification of a need for improvement?
When is the current management audit scheduled for?
V1M2 4.16 | Data Integrity Investigations
Have any investigation or allegation of data integrity occurred since the last internal audit?
If so, what action(s) was taken?
Did any lead to corrective action(s)?

## V1M2 Technical
TNI 2016 Standard Checklist: Volume 1 Module 2 - Technical Requirements
Citation Volume 1 Module 2 (V1M2 - Technical) | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
TECHNICAL REQUIREMENTS
V1M2 5.2 | Personnel
Have there been any new hires since the last internal assessment?
When was Data Integrity training conducted for each new hire? Was it during orientation
Current status of new hire's Initial Demonstration(s) of Capability.
Training procedure for all staff. Identify or QSM section.
Training records for all staff complete and up-to-date?
Training records including Initial and Ongoing Demonstrations of Capability (M4, M5, and M7 1.6) for weekend and holiday work done by operations or other agency staff not directly associated with the lab.
Last Data Integrity Training conducted for all staff.
When is the next Data Integrity training scheduled?
If the laboratory has input, have current job descriptions been reviewed and updated and needed?
Does the QSM or another document identify all staff and their status
Personnel records include copies of degrees (where relavent) or the current copy of the person's Laboratory Analyst certificate (CWEA or CA/NV AWWA)
Accessability of personnel records maintained by the agency.
V1M2 5.2.7 | Data Integrity Training | N/A | N/A
Is the course material, sign in sheet, and other related documents from the last Data Integrity training available?
Do staff have copies of certificates of attendence or completeion issued for the last Data Integrity training?
Is the next training session scheduled?
Has the course material been reviewed for relavency if there have been changes to the scope of accreditation?
Has the course material been reviewed for relavency if there have been changes to the recordkeeping system?
V1M2 5.3 | Accommodation and Environmental Conditions
Are there procedures to determine if the laboratory environment is effecting quality or introducing interferences?
Has any instance of contamination been detected since the last full internal assessment?
If so, what action(s) have been taken?
Is there an assessment of efficacy for these action(s)?
Are there monitoring systems for the laboratory environment (room temperature, humidity, light/dark, sterility, or other lab space requirements). Refer to method requirements. DOES NOT include refrigerator/freezer spaces.
Are there special housekeeping or cleaning requirements? Is there a procedure for these?
V1M2 5.4 | Environmental Test Methods and Method Validation
Does the lab use a method NOT from a reference method? If so, refer to V1M2 section 5.4 for method validation requirements
Document master list includes reference method citations?
Any modification to a reference method is either allowed by the reference method, or by federal regulation (40CFR part 136.6)
All method SOPs are reflective of the currently accredited reference method.
Validation of Methods
Have all method required demonstrations of capability been completed?
Are any due as a result of major repair, instrument replacement, or completely new staff? This is not the same as Demonstrations of Capability under M4, M5, or M7 section 1.6
V1M2 5.4.6 | Estimation of Analytical Uncertainty
Does the lab have a procedure for the determination of analytical uncertainty? Identity or QSM section.
Does the procedure include a means of determing uncertainty via a review of all sources of uncertainty in addition to using precision or accuracy/bias data?
Has the lab had any requests to determine and/or report analytical uncertainty beyond what is included in radiochemical or bioassessment procedures?
V1M2 5.4.7 | Control of Data
Where there any issues found relative to calculation checks or data transfers in the last full assessment?
If so, what action(s) have been taken?
Is there any software programs created by the lab outside of allowed modifications of commercial software?
If so, have they been evaluated?
Are the formula cells in Excel spreadsheets protected from change?
Is all software the current version (if allowed by the computer system and/or IT)? Are there plans to upgrade before the completion of the next internal audit?
Is all computer hardware including storage systems up-to-date (if allowed by software and/or IT)? Are there plans to upgrade before the completion of the next internal audit?
V1M2 5.5 | Calibration Requirements
Do all insturments and other measuring equipment meet the specifications found in the reference method? Are there planned replacements before the completion of the next internal assessment?
Records of demonstrations of competency, where required by the reference method, for all instruments available?
Records of any other demonstrations of competency performed as a result of major maintenance or repair of an instrument available?
Recoreds of instrument and equipment checks on receipt or by first use for all instruments and equipment where the reference method does not have a required demonstration of capability available?
Analytical SOPs contain all necessary calibration or standarization procedures?
Are there current versions of all equipment and instrument operating instructions, maintenance requirements, and service agreements (where available)?
Equipment and instrument list available and up-to-date?
Does the list contain the contents required in V1M2 5.5.5.(a) thru (h)? Record missing items.
Procedures covering the transport and return of equipment allowed outside of the lab or borrowed by other staff?
Any equipment or instrument non-operational? Has it been marked or tagged out?
Are calibrated devices marked as calibrated including limitations and the date of the next calibration? This does not include equipment or instruments that are calibrated through use of standards or calibration verifications.
Are correction factors posted with the equipment or on worksheets?
V1M2 5.5.13 | Additional Requirements and Clarifications
V1M2 5.5.13.1 | Support Equipment
All ovens, balances, incubators, refrigerators, freezers, and all other devices checked each day of use, are the records up-to-date? Have there been any issues with records since the last full internal audit?
Have all devices met specifications? Have there been any issues? Is there evidence that a device is on the verge of failing?
Has any device been removed from service since the last full internal audit? Status of device.
Records of maintenance and repair available?
Thermometer Calibrations
Records that working thermometers have been calibrated and that they have not exceeded the annual recalibration date exist? Do they show traceability to the IS (NIST)?
If used, are there records for reference thermometers showing that it is calibratied and has not exceeded the recalibration date set by the calibration laboratory?
Volumetric Calibrations
Are there any exemptions noted for volmetric devices that are used to measure sample or standard volumes? Are they explained in the analytical SOP or QSM?
Records of single use pipet volume checks (on receipt or at first use) available? See requirements in M5 for additional testing for serological pipets.
Records of quarterly mechanical volmetric device checks available? This includes mechanical burrettes used for titrations.
Any other identified devices?
Did any device exceed criterion? Dispostion of device.
Other devices
Are there any other devices identified as needing traceability to an IS? If so, identify and state if records of the calibration are available. Did any of thesed devices fail to meet criterion and if so, the disposition of the device.
V1M2 5.6 | Measurement Traceability
V1M2 5.6.2.2 | Testing Laboratory Requirements
Calibration of equipment and instruments are reviewed under the applicable requirements found in M4, M5, and M7.
V1M2 5.6.3 | Reference Standards and Reference Materials
V1M2 5.6.3.1 and 5.6.3.2 | Reference Standards and Materials
Review this section only if calibrations are against reference standards (certified reference materials or standard reference materials). This is not about standards that are made from stock standard solutions. Those will be covererd in M4, M5, and M7 where appropriate.
V1M2 5.6.4 | Additional Requirements and Clarifications
Were there any failures to generate ACCEPTABLE data for any PT sample analyzed since the last full internal audit?
If there were, what action(s) were taken and the outcome of those actions? Were they effective?
V1M2 5.6.4.2 | Documentation and Labeling of Standards, Reagents, and Reference Materials
Records for the purchase, receipt, checking and acceptance for all consumbable materials available? This includes reagents, standards, solvents, and media.
Records for standards, reagents, and media include the vendor, manufacturer, and Certificate of analysis are available?
The laboratory shall retain records for all standards, reagents, reference materials, and media, including the manufacturer’s Certificate of Analysis or purity (if available)
Records for receipt date, open date, expiration date, and disposal date (if required) are availabe?
Are there records of the storage conditions where the reference method requires specific conditions?
Records of all intermediate and working standards, and reagent preparations available?
All intermediate and working standards, and prepared reagents uniquly identified?
All containers of intermediate and working standards, and prepared reagents labelled with an expiration date (provided by the reference method or where none exist, then by the lab). Exemption is given for standards and reagents that are to be prepared fresh with each use.
All containers of prepared standards, reference materials, and reagents shall bear an expiration date.
Where required by the reference method, are reagents checked for required conditions?
Are there any standards or reagents past their expiration dates? If so, has there been a recorded re-verification of the material? If not, investigate as to why the standard or reagent is still in use.
V1M2 5.7 | Collection of Samples
This section only applies if the laboratory collects samples, even if part time.
Are sampling plans and sampling procedures current?
Are the plans and procedures available at the collection site?
Have there been any records of unusual conditions or observations of differences when compared to the plans and procedures?
V1M2 5.8 | Handling Samples and Test Items
Have there been any issues with sample reciept?
If the lab has its own CoC, are there any issues in the information and observations?
Has there been any issues relative to sample mixup or confusion on the identity of any sample or subsample?
If so, what action(s) have been taken?
Records of preservation checks available?
Any issues with these and what were the outcomes?
Sample storage areas montiored where required by the reference method or regulatory requirements? Any issues with storage conditions?
Have there been any issues with samples relative to their respective hold times?
Handling instructions provided with the item shall be followed.
Is there a record of sample disposal?
Samples being held for transport to a contract laboatory storage area monitored?
V1M2 5.9 | Quality Assurance for Environmental Testing
See the individual analytical SOPs and the requirments found in M4, M5, and M7
Is there a means of monitoring trends in QC data?
Has there been any detected trends in any QC data?
If so, what action(s) have been taken?
V1M2 5.1 | Reporting the Results
Are all reports of compliance data been reported as required?
Are the procedures for reporting current?
Are the elements found in V1M2 5.10.2 to 5.10.4 available even if not reported?
Any information listed in 5.10.2 to 5.10.4 which is not reported to the customer shall be readily available in the laboratory which carried out the tests and/or calibrations.
Drinking Water Laboratories only
Notification, microbiolgocial interference, and microbiolgocial lab error requirements found in CCR 64814.00.(c), (d), and (e)
Were there any notifications made since the last full internal assessment?
Was contact successful in all cases? Where there any issues?
Were there any interference issues reported? Interference is defined as turbidity with no gas that did not confirm in BGB in MTF methods, or issues with colonies in MF methods. There are no interference issues for enzyme substrate methods.
Were any laboratory errors reported since the last full internal assessment?
If issues with contacting a supplier, an interference, or lab error occurred, what action(s) were taken?
Were they successful?
(Sub)Contract Lab reports
Are copies of all contract lab reports available?
When required, were they included in the compliance report?
Have there been any issues with reports from any contract laboratory?
If so, what action(s) have been taken?
Were those action(s) succesful?

## V1M4 Chemistry
TNI 2016 Standard Checklist: Volume 1 Module 4 - Chemical Testing
Citation Volume 1 Module 4 (V1M4 - Chemistry) | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M4 1 | CHEMICAL TESTING
V1M4 1.5.2 | Limit of Detection and Limit of Quantitation (However Named)
LOD (MDL, DL, or similar name)
Have all LODs been created? Are the records available?
Has the procedure written in a SOP or is it part of each analytical SOP?
Drinking Water labs
Is the LOD determined under the current MDL procedure found in 40CFR 136 Appendix B for all analytes and test methods?
Are all LODs at or below the listed DLR in either state or federal regulations?
All labs
What is the status of the annual verfication process for all tests and analytes?
V1M4 1.5.2.1.2 | Ongoing Verification of the DL
Are there low-level QC checks and method blanks (where available or applicable)? Do they continue to show the validity of the LOD?
Has the LOD been reevaluated after major maintenance or repairs, or as required by the reference method?
V1M4 1.5.2.2 | LOQ (RL, ML, or other name)
Has a procedure for determining the LOQ been setup?
Has the LOQ changed since the last full internal audit?
Is there a verification analysis when the LOQ not based on the lowest standard in a calibration curve or other property required by the reference method? Examples include the minimum quantifiable residue for solids testing at 2 mg or the smallest burette volume recorded for a titration.
Have any LOQs changed since the last full internal audit?
V1M4 1.6 | Demonstration of Capability (DOC)
Question in V1M2 Technical worksheet covers both the initial and ongoing DoCs for this module.
V1M4 1.7 | Technical Requirements
V1M4 1.7.1 | Calibration
Are all analytical methods involving calibration via standards with established calibration curves? Calibration curves may be in use as long as a Continuing Calibration Verification meets criterion.
Have there been any issues with calibrating instruments or with verifying calibration curves initiall or continually (ICV or CCV)?
Are all computer generated calibration curves retained? Are they sufficiently connected to each analytical batch for which they were validated?
Does the lab allow the removal of any individual calibration point? If so, then identify the procedure or section in the QSM with the procedure.
Are the specified minimum number of standards as stated in V1M4 1.7.1.1.(f) used?
Are calibration curves assessed for Relative Error as required by V1M4 1.7.1.1.(k)? Note that the use of the Correlation Coefficient (R) or the commonly used R-squared is not allowed by TNI standards even if the method does.
Have there been any issues with meeting the Relative Error criterion?
Are there any limitations via hardware or software that prevent the use of the minimum number of standards. Note this is not based on any reference method citations.
Are there any analytical SOPs allowing quantification above the highest standard? If so, has a determination of a Linear Dyamic Range as required by the reference method been established and maintained?
Have there been any issues with conformance to Initial or Continuing Calibration verifications?
If so, then what action(s) were taken?
1.7.2 | Quality Control
V1M4 1.7.2.1 | Negative Control – Method Performance: Method Blank
Do all analytical SOPs have Negative Controls established? Criterion for the outcome? Note, Negative Controls are not possible where the method uses it to correct measurements, sets the instrument zero point, or where it is impractical (pH and all electrometric methods).
Have there been any issues with Negative Controls meeting criterion? If so, does it indicate a contamination issue?
What is the Negative Control frequency relative to batch size? Does it meet the requirements of V1M4 1.7.2.1.(b)?
V1M4 1.7.2.2 | Positive Control – Method Performance: Laboratory Control Sample (LCS)
Do all analytical SOPS have Positive Controls establshed? Criterion for the outcome?
Have there been any issues with Positive Controls meeting criterion?
What is the Positive Control frequency relative to batch size? Does it meet the requirements of V1M4 1.7.2.2.2?
V1M4 1.7.2.3 | Sample Specific Controls
Do all analytical SOPs have duplicate or other replicate sample analysis specified?
Are criterion established for all replicate analyses?
Have there been any issues with replicate analyses meeting criterion? If so, what action(s) were taken?
Have matrix spike analyses been specified for all methods where possible?
Is the analysis of a matrix spike duplicate used in place of a replicate sample?
Have criterion been established for recovery of a matrix spike and the precision of the matrix spike duplicate, if used?
Have there been any issues with matrix spike recoveries and/or precision meeting criterion? If so, what action(s) were taken.
For reference methods specifying a surrogate and/or internal standard, have those been incorporated into the analytical SOP?
Have criterion been established for the recovery of the surrogate or internal standard?
Have there been issues with meeting the criterion? If so, what action(s) were taken?
V1M4 1.7.2.4 | Data Reduction
Have the computation of results from raw data been verified and calculations checked?
V1M4 1.7.2.5 | Reagent Quality, Water Quality and Checks
Is the source of reagent grade water examined for any constituent or physical property?
V1M4 1.7.2.5 b) | If so, have they been met?
V1M4 1.7.2.5 c) | If there have been issues, what action(s) have been taken?
V1M4 1.7.3 | Data Acceptance/Rejection Criteria DO NOT include accounting for BOD testing failures
V1M4 1.7.3.1 | Negative Control – Method Performance: Method Blank
Do the analytical SOPs descirbe procedures to be followed if the Negative Control does not meet criterion?
Has any result or set of results been marked as qualified as a result of a failed Negative control?
V1M4 1.7.3.2 | Positive Control – Method Performance: Laboratory Control Sample (LCS)
Do the analytical SOPs describe procedures to be followed if the Postive Control does not meet criterion?
Has any result or set of results been marked as qualified as a result of a failed Positive control?
V1M4 1.7.3.3 | Sample Specific Controls
V1M4 1.7.3.3 a) | Matrix Spike; Matrix Spike Duplicates
Do the analytical SOPs describe procedures to be followed if the replicate analysis, matrix spike recovery, or matrix spike precision does not meet criterion?
Has any result or set of results been marked as qualified as a result of a failed replicate analysis, matrix spike recovery or matrix spike precision?
V1M4 1.7.3.3 c) | Surrogate Spikes
V1M4 1.7.3.3 c) | Do the analytical SOPs describe procedures to be followed if the replicate analysis, matrix spike recovery, or matrix spike precision does not meet criterion?
V1M4 1.7.3.3 c) | Has any result or set of results been marked as qualified as a result of a failed replicate analysis, matrix spike recovery or matrix spike precision?
V1M4 1.7.3.3 c) | Overall
V1M4 1.7.4 | Has any Negative Control, Positive Control, replicate analysis, matrix spike recovery, matrix spike precision, surrogate or internal standard QC data show evidence of trends?
V1M4 1.7.4 | Sample Receipt Requirements
Discuss and review these under V1M2 section 5.8

## V1M5 Micro
TNI 2016 Standard Checklist: Volume 1 Module 5 - Microbiological Testing
Citation Volume 1 Module 5 (V1M5 - Micro) | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M5 1 | MICROBIOLOGICAL TESTING
V1M5 1.6. | Demonstration of Capability (DOC)
Question in V1M2 Technical worksheet covers both the initial and ongoing DoCs for this module.
V1M5 1.7 | Technical Requirements
V1M5 1.7.1 | Calibration
Identity of all SOPs covering support equipment calibration and operation.
V1M5 1.7.2 | For instruments that are continuous monitors, such as in-line specific conductance meters:
Identity of SOP covering calibration of inline monitoring systems
Records of monthly calibration verifications available?
V1M5 1.7.3 | Quality Control
Quality and Sterility of Standards, Reagents, Materials, and Media
V1M5 1.7.3.1 a) | Sterility Checks
Records of sterility checks for each lot of purchased media and each batch of lab prepared media
Records of sterility checks for each batch of lab prepared MF funnels and each lot of purchased MF funnels
Records of sterility checks for each batch of lab prepared sample bottles and each lot of purchased sample bottles
Records of sterility checks for each batch of lab prepared dilution water and each lot of purchased dilution water.
Records of sterility checks on each lot of purchased MF filters.
The laboratory shall perform a sterility check on at least one (1) filter from each new lot of membrane filters with nonselective growth media.
V1M5 1.7.3.1 b) | Media
Records showing media expiration dates provided by the manufacturer avaiable?
Records showing media expiration dates for lab prepared media available?
Have there been any instances in which media was used past its stated expiration date since the last full internal audit?
V1M5 1.7.3.1 d). | Reagent Grade Water
Records of the monitoring of reagent grade water produced by the laboratory available? Has all testing been completed since the last full internal assessment?
Records of monitoring of reagent grade water purchased available? Vendor provided certificates are acceptable.
| Last date the Bacterial Water Quality Test conducted? | X
Have there been any changes to the system used to generate reagent grade water since the last full internal audit?
Is the water generated still meeting the requirements for High or Medium quality water as set in Std Methods, 22nd edition, section 1080.
Dilution water, however used, includes buffer water and/or peptone water.
All dilution waters
Records of dilution water checks for final pH and volume per batch of lab prepared water or per lot of purchased water available?
V1M5 1.7.3.2 | Method Blanks
Have required sterility checks been conducted for all MF methods as required by the reference method?
Have any issues been discovered since the last full internal audit?
Have required sterility checks been conducted for all HPC methods as required by the reference method?
Have any issues been discovered since the last full internal audit?
For pour plate technique, method blanks of the medium shall be made by pouring, at a minimum, one (1) uninoculated plate for each lot of pre-prepared, ready-to-use media and for each batch of medium prepared in the laboratory.
V1M5 1.7.3.3 | Test Variablity/Reproducibility
For all methods reporting either CFU/mL, CFU/100mL, or MPN/100mL are records avaiable of the monthly analyst recount assessment?
Were all assessments for all analyst authorized to conduct the method?
Were all assessments within 10% (highest-lowest/average) for 2 or more, or within 5% for a single analyst?
V1M5 1.7.3.6 | Selectivity
Records showing media tested against Positive Cultures and Negative Cultures available?
For purchased ready to use media, are the manufacturer's certificates used and can they be found?
Records of known cultures maintained?
Microorganisms may be single use preparations or cultures maintained for their intended use by documented procedures that demonstrate the continued purity and viability of the organism.
V1M5 1.7.3.7 | Constant and Consistent Test Conditions
V1M5 1.7.3.7 b) i | Temperature Measuring Devices
See responses under V1M2 Technical 5.5.13.1 regarding thermometer calibrations.
V1M5 1.7.3.7 b) ii | Sterilization Equipment
V1M5 1.7.3.7 b) ii. a. | Autoclaves - IF USED for Media production. Does not apply for waste disposal. For waste disposal, show autoclave reached desired temperature and use tape on all items.
Autoclave run logs available? Do they contain items sterilized, date, max temperature, time at temperature, total time (close to open)?
If a continuous temperature system used, are the records kept?
Testing using a thermotolerant organism records available?
Autoclave maintenance logs available?
The laboratory shall maintain records of autoclave operations for every cycle.
See V1M2 Technical 5.5.13.1 regarding testing of the mechanical timer of the autoclave. Required traceability to IS.
Ovens. Only if an Oven is used to sterilize materials such as MF filter funnels or serological pipets.
Oven run logs availabe? Do they show date, time in/out, temperature, and contents
Testing using a thermotolerant organism records available?
V1M5 1.7.3.7 b) iii. | Volumetric Equipment
See V1M2 Technical 5.5.13.1 regarding volumetric testing frequencies.
Do the records of volume verification show that the target volume was within 2.5% of the measured volume?
Have there been any issues with mechanical dispensers or lots of purchased volumetric supplies since the last full internal audit?
V1M5 1.7.3.7 b) iv. | UV Instruments used to sterilize. Does not apply to viewers for enzyme substrate methods.
Records of quarterly sterility checks available? Have there been any issues since the last full internal audit?
Maintenance records including bulb assessment and replacement available?
V1M5 1.7.3.7 b) v. | Incubators, Water Baths
Temperature records available for all incubators and water baths?
Are data loggers or other continuous recording devices used? Have there been issues with excursions from specified temperatures not allowed by the Continuous Temperature SOP?
During periods when samples are under test, the laboratory shall have a system in place to monitor and document the temperature of incubators and water baths twice daily, at least four hours apart.
V1M5 1.7.3.7 b) vi. | Labware (Glassware and Plasticware) Covers the use of reused items and washing procedure. Does not cover single use items or glassware washing for other purposes.
Last date the Inhibitory Residue test performed?
Has there been a change in the detergent formulation since the last full internal audit?
Has there been a change in the washing procedure (handwashing to machine washing or reverse, or a new washing machine) since the last full internal audit?
If so, has washing SOP been updated?
If so, has the Inhibitory Residue test been conducted?
Records of use of pH indicator per batch of washed items?
V1M5 1.7.5 | Sample Handling
Review this subject under V1M2 Technical 5.8
Are there records supporting the conformance with the four requirements found in V1M5 1.7.5.2.(a) thru (d)?

## Module 7
Citation | Does the laboratory comply with this section? | Yes | No | Comments or discussion. Record detailed information in the audit report
V1M7 | TOXICITY TESTING
V1M7 1.6 | Demonstration of Capability (DOC)
Covered by questions in V1M2 Technical 5.2
V1M7 1.7 | Technical Requirements
Method SOP
Use the reference method as a guide for this section. It is usually very detailed in what is to be done and under what conditions tests are to be conducted.
When was the last review of the analytical SOP against the reference method made?
When was the last observation of the test in action conducted by another person and against the method procedures found in the analytical SOP? Have any issued been identified as a result of this review?
V1M7 1.7.1 | Quality Control
The resulting data shall be recorded in such a way that trends are detectable and, where practicable, statistical techniques shall be applied to the reviewing of the results.
V1M7 1.7.1.1 | Essential Quality Control Procedures
In general and with few exceptions, TNI standards do not add to or replace those found in the reference method. The questions below are to ensure that records are examined and, as noted above, trends are detected and acted on.
Review of Positive (SRT) and Negative (Controls) Control records. Any changes or deivations noted since the last full internal audit?
Is the frequency of SRTs and Controls within the frequency stated in V1M7 1.7.1.2.(a)
Records of test chamber and ambient environmental conditions are available? These may include pH, SC, hardness, DO, temperature, and photo periods.
Records of the calibration of all support equipment are available? Standardization reviews should be done under V1M2 Technical 5.5.
1.7.1.2 | Test Organisms
Records of concurrent SRT testing of purchased organisms or a copy of the most recent test provided by the vendor is available? Most recent is no older than 6 months from the date of the assessment.
1.7.1.6 | Constant and Consistent Test Conditions
Have there been any issues with maintaining ambient and test chamber conditions since the last full internal audit?
Is there a record of the species identification provided by the vendor or an outside specialist? Does the record include taxonomic reference (citation and page(s))?
Is the air supply maintained and a record of maintenance on filters available?
Has the type, source, or quantity of any food provided to test organisms changed since the last full internal assessment? Were there any issues recorded with the food source or food consumption by test organisms?
V1M7 1.7.2 | Data Acceptance/Rejection Criteria
When was the last review and validation of all calculations including those for statistical analysis checked?
Were any issues identified? Is so, what action(s) were taken?
V1M7 1.7.3 | Sample Handling
Review all sample receipt and handling under V1M2 Technical section 5.8.