447 Career Lane        Shippenville, PA 16254

814.226.4391    Fax 814.226.7350

Building and Grounds Committee

Minutes

February 26, 2024

Members Present:	Todd MacBeth, Abby Simcheck, Traci Wildeson, Shane Wolbert

Members Absent:

Call to Order:		6:05 pm by Traci Wildeson

Project Discussion

- Roof Replacement/Restoration

  - Discussion and review of the presentations by Tremco & Garland in December

  - Tremco Poly Fluid Restoration

    - Increased waterproofing to 140 mils.

    - 25-year QA warranty for all issues except negligence

    - Preventative maintenance at 2, 5, 10, 15, 20 years

    - Estimate $1, 167, 796

  - Garland Poly Urea Restoration

    - 15-20-year warranty

    - Inspections with infrared scans at intervals after installation

    - Estimate $800,000 - $1,000,000

  - Garland Bitumen Restoration

    - Increased waterproofing to 300 mils

    - 40-year warranty

    - Preventative maintenance with infrared scans

    - Estimate $1,250,000 - $1,750,000

  - RH Macron

    - Shane contacted and are scheduled to look at the roof in March

    - Contractor – will need to purchase the product from another vendor

    - Options – rubber, heat welded, or modified bitumen

- Roof Preventative Maintenance

  - Tremco 5-year or annual agreement

    - Annual physical and visual inspection

    - Includes repairs and “roof housekeeping”

    - $15,523 for 5 year or $3, 104.60 per year *can cancel 5-year agreement anytime

- Exterior Masonry Restoration

  - Allegheny Restoration

  - $146,900 for the entire building

- Public School Facility Improvement Grant

  - Opens in March 2024

  - 75% grant with a 25% match

  - Would need 70% of the vocational reimbursement in 24/25 in addition to the funds that are currently in this account from 23/24 to pay for the 25% match

HVAC

- AHS Locker Room unit

  - Stallion Mechanical ordered the unit

  - Installation Spring/Summer

  - ARP ESSER 2.5% Set-Aside Grant

Boiler

- Fractured section

- Waiting on quotes from Rabe & Renick

- CS&E is scheduled to come in this week to look at the boiler

Next Meeting: June 24, 2024

Adjournment: 6:53pm

Respectfully submitted:

Traci Wildeson RN, BSN, MSEd

Director of Career & Technical Education