SPECIAL MEETING

October 16, 2018

Aurora, MN

A Special Meeting of the Town of White Board of Supervisors was called to order by Chairman Jon Skelton on Tuesday, October 16, 2018 at 5:30 P.M. at the City/Town Government Center:

ROLL CALL:

Present:  	Supervisors – Anttila, Skelton, Kippley; Clerk-Knaus;

Absent:	Treasurer – Shuck;

Also Present:     	  Aurora:  Dave Worshek, Doug Gregor, Becky Lammi, Dave Lislegard, Jim Lakso, Wayne

Thuringer; SEH:  Mike Larson, Matt Reid, Trevor Thompson; NTS:  Dennis Schubbe

1.) Trevor Thompson from SEH gave a brief progress report on the project to date.  The pilot study is scheduled for the week of October 29 where the trailer will be at the Lake Mine Pit.  SEH has coordinated with Wayne Thuringer and permission has been granted from the DNR to use the lease site at the boat landing in which the Township has in place with the DNR.  Reid will forward the written permission letter from the DNR for the Township files.  SEH has reached out to St. Louis County on the two parcels being considered for the plant location.  St Louis County indicated no plant would be allowed on either of these sites, only infrastructure.  This leaves Pineville as the only remaining option for the plant location.  The Township owns land in Pineville.  This would mean more cost for infrastructure because of the distance to Lake Mine, however there would be cost savings from no land acquisition costs.  A map was provided to SEH of Scenic Acres and the water flow is adequate with a six inch line.  However, for fire flow, it should be higher and they are recommending ten inch lines.  Lines could be bored under the swamp or adjacent to the access road.  A permit meeting needs to be scheduled with the DNR.  SEH will schedule this.

2.) Dennis Schubbe, NTS representative, presented an estimated cost of $153,085.00 for work at St. James Pit through 2022.  Work completed consists of modeling and gathering data to find out the stability of the walls and if the pit were to rise from discontinuing use from the City of Aurora.  Larson brought up by doing this work, the City may be accepting liability and the pit is technically waters of the state and Aurora received a permit to use.  Once Aurora discontinues use, whose responsibility is it to monitor of fix if the waters rise?  The DNR needs to be consulted before a decision is made to hire NTS for these services.

IT WAS MOVED BY SKELTON, SUPPORTED BY KIPPLEY TO TABLE THIS DISCUSSION WITH NTS AND SCHEDULE A MEETING WITH THE DNR AS SOON AS POSSIBLE.  UNANIMOULSY CARRIED

IT WAS MOVED BY SKELTON, SUPPORTED BY ANTTILA DIRECTING THE SMALL GROUP COMMITTEE TO MEET WITH NTS AND THE DNR AND BRING INFORMATION BACK TO THE WHOLE COMMITTEE.  UNANIMOUSLY CARRIED

3.) The Township Clerk provided a summary of the personnel changes happening within the Township’s water and wastewater personnel over the next few months.  Robillard is retiring and two employees have an interest in receiving training and obtaining licensure in the near future.  This may take up to a year or longer.  Until then, the Township does not have a licensed water/wastewater employee to oversee the operations and sign off on necessary reporting.  The Township would like to contract with the City of Aurora to work under Thuringer’s license.  The City of Aurora is agreeable to providing this service.

IT WAS MOVED BY SKELTON, SUPPORTED BY ANTTILA DIRECTING CLERK KNAUS TO WORK WITH CLERK LAMMI, WAYNE THURINGER AND ATTORNEY KEARNEY ON FORMING AN AGREEMENT BETWEEN THE CITY OF AURORA AND TOWN OF WHITE FOR THE CITY OF AURORA TO PROVIDE WATER/WASTEWATER SERVICES TO THE TOWNSHIP.  UNANIMOUSLY CARRIED

IT WAS MOVED BY SKELTON, SUPPORTED BY ANTTILA TO ADJOURN THE MEETING AT 6:25 P.M.  UNANIMOUSLY CARRIED

ATTEST: 	 	 	 	 	 	APPROVED:

______________________________________ 	____________________________________

Jodi L. Knaus, Clerk 	 	 	 	                           Jon Skelton, Chairman