Trinity Assistance Corporation

AMERICANS WITH DISABILITIES ACT (ADA) TRANSITION PLAN

ADA Transition Plan

This  ADA Transition Plan reflects Trinity Assistance Corporation long-term commitment to ADA compliance,  and  details  the  stages  of Trinity Assistance Corporation plan and timeline for: (1) evaluating  accessibility by identifying any structural barriers associated with public facilities; (2) identifying accommodations and/or modifications that can be provided to make programs  and services  accessible; and  (3) prioritizing the remediation of any deficiencies and formulating a budget and schedule for those improvements.

This Draft ADA Transition Plan will be revised and updated as the steps of the Plan are

completed.

INTRODUCTION

ADA regulations prohibit discrimination against individuals on the basis of disability and

require state  and local governments to make  their programs and services accessible to

persons with disabilities. These requirements focus on providing accessibility by

addressing and eliminating structural barriers associated with public facilities.

As detailed below, Trinity Assistance Corporation has made a significant and long-term commitment to improving the accessibility of its public facilities. The purpose of this Plan is to ensure that  Trinity Assistance Corporation identifies prohibited structural barriers to its public facilities, and, where structurally  feasible, schedules  and  implements ADA-required improvements in order to remove those barriers.

The ADA requires that the Transition Plan include the following components:

1) Identification of physical barriers in a public entity’s facilities that limit the accessibility of 
     its programs, activities, or services to individuals with disabilities;

2) Identification of the methods to be used to remove any barriers limiting accessibility;

3) A schedule for completion of the necessary steps to achieve accessibility in public    
    facilities; and

4) The name of the public entity’s ADA Coordinator.

STEP 1:   IDENTIFICATION OF PHYSICAL BARRIERS IN NAME OF AGENCY’S

FACILITIES

The first phase of the ADA Transition Plan is to evaluate the Trinity Assistance Corporation’s public facilities for accessibility. Officials from Planning, Public Works, and Human Resources Departments will coordinate to conduct accessibility evaluations of the following facilities:

 Sidewalks, crosswalks, and curb ramps

 Publicly accessible buildings

 Parking lots serving publicly accessible buildings.

For each facility evaluated, a Survey of Trinity Assistance Corporation Public Facilities (“the Survey”)

will be completed. Any deficiencies, suggested improvements, and observations relating to structural feasibility of improvements will be noted and recorded on the Survey.

An Inventory of Public Facilities (“the Inventory”) will also be created, and will serve as the central database for identified structural barriers, suggested improvements, and comments relating to structural feasibility of improvements.

Evaluation of Sidewalks, Crosswalks, and Curb Ramps

The Survey will contain the following ratings to assess the condition of each Trinity Assistance Corporation sidewalk, crosswalk, and curb ramp:

Rating 1 – Not Applicable: A facility not considered to require accessibility, for example,

limited-access highways.

Rating 2 – Not Accessible: Significant discontinuity such as steps, no ramps, more than

100 feet of unpaved walkway, heaving, vertical displacement, other severe distress,

flooding, etc.

Rating 3 – Partially Accessible: Not designed to current standards, problems with geometry 
of sidewalks, ramps and landings, no detectable warnings, handrails, etc.

Rating 4 – Accessible: May need additional improvements, for example circuitous routes, insufficient width, etc.

Rating 5 – Fully Accessible: Designed to current standards, but reasonable accommodations may still be required for individual cases.

Evaluation of Parking Lots and Publicly Accessible Buildings

For the evaluation of publicly accessible buildings and the parking lots serving those

buildings, the Survey will incorporate relevant portions of the ADA Checklist for Existing

Facilities (based on the 2010 ADA Standards for Accessible Design), produced by the

Institute for Human Centered Design.

Schedule for Completion

Trinity Assistance Corporation officials from its Planning, Public Works, and Human Resources Departments will be coordinating over the next several months to evaluate public buildings, parking lots, sidewalks, crosswalks, and curb ramps. Numerous facilities will be subject to this evaluation, and consequently this will be a substantial undertaking for the reviewing officials. The evaluations will be scheduled so as to evaluate outdoor facilities prior to the winter months (to avoid snow cover that may impede a thorough review), with any remaining evaluations of outdoor facilities to be completed in provide projected date for completion.  Evaluations of indoor facilities will continue during the winter months. Therefore, it is estimated that Step 1 will be completed by provide estimated completion date.

STEP 2: IDENTIFICATION OF METHODS TO REMOVE BARRIERS

The second phase of the Trinity Assistance Corporation ADA Transition Plan is to develop a method to remove barriers. This includes identification of the nature of needed improvements and a determination regarding structural feasibility of improvements under the ADA standards, and prioritization of necessary improvements.

Once the necessary improvements have been identified and prioritized, this information,

along with a list of any improvements determined to be physically unfeasible, will be

presented   at a public meeting of the Trinity Assistance Corporation Compliance Committee. It is the Trinity Assistance Corporation practice to provide public notice of the dates and agendas of Compliance Committee meetings on the Trinity Assistance Corporation’s website. This will provide the public with an opportunity to participate in the formulation of the ADA Transition Plan.

A. Nature of Improvements and Structural Feasibility

The nature of necessary improvements will be determined during Step 1 – the accessibility evaluation of Trinity Assistance Corporation facilities – and will be incorporated into the ADA Transition Plan after completion of Step 1. Any improvements that Trinity Assistance Corporation officials determine are not structurally feasible, based on ADA regulations, will also be incorporated into the Plan.

B. Priority of Improvements

Sidewalks; Crosswalks; Curb Ramps

With respect to sidewalks, crosswalks and curb ramps, the primary focus of this ADA

Transition Plan is to address all ADA noncompliant facilities, defined as those locations

that have a rating of “2” and “3” on the scale discussed above.

The priority of improvements to these facilities will be as follows:

1) Those serving publicly accessible Trinity Assistance Corporation facilities;

2) Those serving commercial and employment centers; and

3) Those serving other areas.

Parking Lots and Publicly Accessible Buildings

The priority of improvements to parking lots and publicly accessible spaces in Trinity Assistance Corporation buildings will be based on the severity of the accessibility barrier and the frequency of public presence at the facility. Notably, the general assessment of the Trinity Assistance Corporation Code Enforcement Officer is that Trinity Assistance Corporation facilities where public meetings take place are in substantial compliance with the ADA. All new construction or renovations to existing facilities have complied with ADA standards. As such, the Trinity Assistance Corporation does not expect that its publicly accessible buildings and parking lots will require major structural improvements.

STEP 3: SCHEDULE FOR COMPLETION OF NECESSARY IMPROVEMENTS

Once the Inventory of Public Facilities has been completed, and necessary

improvements have been prioritized as provided above, the Trinity Assistance Corporation will formulate an estimated budget for the improvements. The schedule for improvements will depend heavily upon the number and severity of the deficiencies identified during the accessibility evaluation, and the costs associated with the improvements. The Trinity Assistance Corporation however, reiterates its commitment to making its public facilities accessible to all persons, regardless of disability. The Trinity Assistance Corporation ADA Transition Plan will outline a specific schedule for improvements after Completion of Step 2, and this schedule will reflect the Trinity Assistance Corporation commitment to ADA compliance.

ADA COORDINATOR

The Trinity Assistance Corporation ADA Coordinator is Nerissa Denaro, CEO Coordinator’s Title. Provide ADA Coordinators contact information:
Name: Nerissa Denaro

ADA Coordinator

Trinity Assistance Corporation

Address 3545 Buffalo Road

Telephone Number: (585) 861-6817 Ext.3

Email Address: nerissadenaro@trinityassistance.org